## CWFP
PERF Score 1 | Municipality | Project Number | Project Description | Est. Project Costs | Region | CME | Federal Equivalency 2
150 | ABRAMS SD #1 | 4488-05 | Construct Force Main & Regionalize with Neighboring Municipality | 6900000 | NE | Hannes | No
150 | ARKANSAW SD #1 | 5614-02 | New Lift Station and Forcemain to pump to Village of Durand WWTP | 3178000 | WC | Cameron | No
150 | ARLINGTON, VILLAGE OF | 4519-04 | Regionalize with MMSD - Force Main & Pump Station | 4500000 | SC | Zettl | No
150 | ARLINGTON, VILLAGE OF | 4519-06 | Regionalize with Poynette - Force Main & Pump Station | 4500000 | SC | Zettl | No
150 | BUTTE DES MORTS CONSOLIDATED SD #1 | 2004-02 | Regionalization: Lift Station Improvements, Sampler, New Forcemain | 4000000 | NE | Hannes | No
150 | CAMP DOUGLAS, VILLAGE OF | 4586-05 | Construct Lift Station & Forcemain - Regionalize with New Lisbon | 5100000 | WC | Cameron | No
150 | DEKORRA, TOWN OF | 4616-03 | Install Pumping Station & Force Main to Regionalize w/Poynette | 3400000 | SC | Zettl | No
150 | GRAND VIEW SD #1 | 5294-02 | Regionalize with Drummond SD via Trucking | 2750000 | NO | Andruczyk | No
150 | HEWITT, VILLAGE OF | 4097-06 | Regionalization: Pump Station Upgrade and New Forcemain | 1900000 | WC | Cameron | No
150 | KOSSUTH SD #2 | 5639-02 | Construct Force Main - Regionalize with Manitowoc | 3999000 | NE | Hannes | No
150 | MAPLEWOOD SD | 5099-05 | Regionalization with Forestville - Lift Station & Force Main | 3800000 | NE | Hannes | No
150 | POTTER, VILLAGE OF | 5102-04 | Regionalization with the Village of Hilbert | 4750000 | NE | Hannes | No
150 | ROCKDALE, VILLAGE OF | 5163-05 | Install Pump Station & Force Main to Regionalize w/Cambridge | 3400000 | SC | Zettl | No
150 | STETSONVILLE, VILLAGE OF | 4145-09 | Regionalization - Upgrade Lift Station, New Forcemain, Abandon WWTP | 5250000 | NO | Andruczyk | No
120 | SUN PRAIRIE, CITY OF | 4236-99 | Upgrade WWTP - Enhanced Biosolids - Phase 2 | 62550000 | SC | Zettl | Yes
120 | WAUKESHA, CITY OF | 4062-14 | Install Facility Plan Modifications PH III | 24000000 | SE | Binder | Yes
112 | MEDFORD, CITY OF | 4575-04 | Upgrade WWTP - screening, grit removal, chem feed | 7911600 | NO | Andruczyk | No
109 | SHULLSBURG, CITY OF | 4604-11 | WWTP Upgrade | 6000000 | SC | Zettl | No
104 | MADISON MSD | 4010-72 | Improve/Stabilize Dikes In and Around Lagoons | 4000000 | SC | Zettl | Yes
104 | MADISON MSD | 4010-79 | Upgrade WWTP - Flow Splitter Improvements | 7538965 | SC | Zettl | Yes
104 | MADISON MSD | 4010-80 | Upgrade WWTP - East Primary Influent Channel Air Piping Replacement | 4000000 | SC | Zettl | Yes
104 | MADISON MSD | 4010-81 | Upgrade WWTP - West Blower Replacements | 10000000 | SC | Zettl | Yes
104 | MADISON MSD | 4010-83 | Upgrade WWTP - East Blower Replacement | 10000000 | SC | Zettl | Yes
104 | MADISON MSD | 4010-84 | Replace Nine Springs Electrical Equipment | 12000000 | SC | Zettl | Yes
104 | MADISON MSD | 4010-86 | Modify/Replace Aeration Equipment | 45000000 | SC | Zettl | Yes
104 | MADISON MSD | 4010-91 | Rehabilitation of East Plant's Primary Tanks | 7000000 | SC | Zettl | Yes
103 | KEWASKUM, VILLAGE OF | 4396-07 | Construct New Tertiary Filter System | 5550000 | SE | Binder | No
102 | LAKE MILLS, CITY OF | 4828-07 | Construct New WWTP | 63000000 | SC | Zettl | No
102 | LAKE MILLS, CITY OF | 4828-09 | WWTP - Extensive Upgrades throughout Entire Plant | 39000000 | SC | Zettl | No
102 | RIPON, CITY OF | 4539-11 | WWTF Upgrades | 10000000 | NE | Hannes | No
100 | CAMP DOUGLAS, VILLAGE OF | 4586-04 | Construct New WWTP | 10000000 | WC | Cameron | No
100 | WALWORTH COUNTY MSD | 4288-12 | Remove and Replace Primary Clarifier | 8000000 | SE | Binder | Yes
100 | WALWORTH COUNTY MSD | 4288-13 | Water Reclamation Facility HVAC and Roof Improvements | 1000000 | SE | Binder | Yes
99 | EAST TROY, VILLAGE OF | 4278-01 | Upgrade WWTP | 10000000 | SE | Binder | No
99 | SUPERIOR, VILLAGE OF | 4515-03 | Relocate Outfall Piping for WWTP | 4200000 | NO | Andruczyk | No
98 | BIRNAMWOOD, VILLAGE OF | 4191-04 | Construct New Seepage Pond for WWTP | 2272000 | NE | Hannes | No
98 | CAMPBELLSPORT, VILLAGE OF | 4625-10 | Upgrade WWTP - Phosphorus Removal | 1730400 | NE | Hannes | No
95 | DOUSMAN, VILLAGE OF | 4277-06 | Install BPR/Completion of WWTF Effluent Reuse | 1500000 | SE | Binder | No
95 | MONROE, CITY OF | 4852-14 | WWTP Expansion Project to Double Capacity & Comply with P-limits | 43500000 | SC | Zettl | No
95 | WATERTOWN, CITY OF | 4145-06 | Biosolids Dryer Addition | 10000000 | SC | Zettl | Yes
95 | WATERTOWN, CITY OF | 4145-05 | WWTP Improvements | 9100000 | SC | Zettl | Yes
92 | DORCHESTER, VILLAGE OF | 4020-09 | Upgrade WWTP | 5000000 | WC | Cameron | No
92 | GREEN BAY MSD | 4198-98 | Improve Pumping & Headworks - DPF - Phase 2 | 25000000 | NE | Hannes | Yes
92 | GREEN BAY MSD | 4198-76 | Replace Primary & Secondary Clarifier Mechanisms - De Pere Facility | 10500000 | NE | Hannes | Yes
92 | JAMESTOWN SD #2 | 5595-02 | Upgrade WWTP | 2000000 | SC | Zettl | No
92 | RANDOM LAKE, VILLAGE OF | 4456-04 | Reconstruct WWTP | 10000000 | SE | Binder | No
91 | PLATTEVILLE, CITY OF | 4419-19 | WWTP MCC and SCADA Upgrade | 4000000 | SC | Zettl | No
91 | PLATTEVILLE, CITY OF | 4419-12 | Upgrade RAS/WAS Pumps | 2000000 | SC | Zettl | No
91 | PLATTEVILLE, CITY OF | 4419-13 | Upgrade Raw Influent Pumps | 2500000 | SC | Zettl | No
91 | PLATTEVILLE, CITY OF | 4419-16 | Upgrade Anaerobic Digestion System | 5000000 | SC | Zettl | No
91 | PLATTEVILLE, CITY OF | 4419-14 | Upgrade Pumping System | 2000000 | SC | Zettl | No
91 | PLATTEVILLE, CITY OF | 4419-17 | Upgrade Tertiary Filtration System | 6000000 | SC | Zettl | No
90 | ABRAMS SD #1 | 4488-04 | Construct New WWTP | 6400000 | NE | Hannes | No
90 | COLUMBUS, CITY OF | 4239-10 | Upgrade Biosolids Storage Building & Replace Biosolids Belt | 2980000 | SC | Zettl | No
90 | DODGEVILLE, CITY OF | 4464-04 | Construct Waste Receiving Tank & Associated Site Improvement | 750000 | SC | Zettl | No
90 | OCONOMOWOC, CITY OF | 4163-06 | Upgrade WWTP for Capacity & Replace Aging Equipment | 10000000 | SE | Binder | No
89 | BRILLION, CITY OF | 4397-06 | Upgrade WWTP -Phosphorus Compliance, Address Aging Components/Capacity | 23941968 | NE | Hannes | No
88 | BLOOMER, CITY OF | 4317-09 | Replace Lift Station #1 | 3000000 | WC | Cameron | No
88 | BLOOMER, CITY OF | 4317-08 | Construct New Grit Removal Bed and Septage Receiving Facility | 800000 | WC | Cameron | No
88 | LOMIRA, VILLAGE OF | 4349-08 | WWTP Improvements | 2100000 | SC | Zettl | No
88 | WARRENS, VILLAGE OF | 5140-04 | WWTP Improvements | 1000000 | WC | Cameron | No
87 | AUGUSTA, CITY OF | 4545-08 | Automate Phosphorus Removal Processes | 200000 | WC | Cameron | No
87 | ST. JOSEPH SD #1 | 4954-02 | Update WWTP for Phosphorus Compliance | 2500000 | WC | Cameron | No
86 | HILLSBORO, CITY OF | 4549-07 | Upgrade WWTP | 10000000 | WC | Cameron | No
85 | GENOA CITY, VILLAGE OF | 4281-02 | Wastewater Treatment Plant Improvements | 7500000 | SE | Binder | No
85 | IRON RIVER SD #1 | 4296-03 | Stabilize and Upgrade Lift Station | 385000 | NO | Andruczyk | No
85 | OAKFIELD, VILLAGE OF | 4148-05 | Upgrade WWTP - Headworks, Biological Trtmt, Phosphorus, Disinfection | 15055675 | NE | Hannes | No
84 | BLACK CREEK, VILLAGE OF | 4332-06 | Upgrade WWTP - Phosphorus Compliance | 25000000 | NE | Hannes | No
84 | GREEN BAY MSD | 4198-65 | Replace Pump Station, Headworks & Grit Removal - GBF | 60000000 | NE | Hannes | Yes
84 | GREEN BAY MSD | 4198-69 | Construct Sludge Storage Tanks - GBF | 19000000 | NE | Hannes | Yes
84 | HILBERT, VILLAGE OF | 4201-09 | Upgrade WWTP - Tertiary Treatment Building | 3000000 | NE | Hannes | No
84 | IRON RIDGE, VILLAGE OF | 4727-11 | Construct New WWTP - Mechanical SBR | 8000000 | SC | Zettl | No
84 | IRON RIDGE, VILLAGE OF | 4727-10 | Upgrade Headworks - Replace Pumps; Install New Screen | 1500000 | SC | Zettl | No
84 | LAKELAND SD #1 - ONEIDA | 5272-06 | Upgrade WWTP | 26425900 | NO | Andruczyk | No
84 | LIVINGSTON, VILLAGE OF | 4673-07 | Upgrade WWTP | 4100000 | SC | Zettl | No
84 | MINERAL POINT, CITY OF | 4513-11 | Upgrade WWTP | 1500000 | SC | Zettl | No
84 | MINERAL POINT, CITY OF | 4513-14 | Rehab WWTF | 4000000 | SC | Zettl | No
83 | GRAFTON, VILLAGE OF | 4454-19 | Construct Upgrades to Biosolids Processing & WAS Processing/Storage | 7400000 | SE | Binder | No
83 | KIELER SD #1 | 4394-08 | Install New WWTF | 6000000 | SC | Zettl | No
83 | MAYVILLE, CITY OF | 4012-11 | Upgrade WWTP (throughout) & Influent Lift Station | 34084000 | SC | Zettl | No
82 | CHELSEA SD | 4291-04 | Improve WWTP - sand filter, steel building, pumps, electrical | 300000 | NO | Andruczyk | No
82 | ELK MOUND, VILLAGE OF | 4041-06 | Upgrade WWTP for Phosphorus Compliance & Replace Aging Systems | 5000000 | WC | Cameron | No
82 | ELK MOUND, VILLAGE OF | 4041-07 | Construct Chem Feed System for P Compliance | 600000 | WC | Cameron | No
82 | ELLSWORTH, VILLAGE OF | 4170-05 | Upgrade WWTP for Phos Removal & Centrate Treatment | 4500000 | WC | Cameron | No
82 | FREEDOM SD #1 | 4487-06 | Upgrade WWTP - TSS Compliance & Sludge Handling | 11500000 | NE | Hannes | No
82 | JUNEAU, CITY OF | 4629-03 | WWTP Improvements | 2200000 | SC | Zettl | No
82 | LA CROSSE, CITY OF | 4105-09 | Upgrade UV Disinfection System | 7000000 | WC | Cameron | Yes
81 | OREGON, VILLAGE OF | 4324-07 | Upgrade WWTP - Phase 1 | 23000000 | SC | Zettl | No
81 | OREGON, VILLAGE OF | 4324-06 | Upgrade WWTP-Pumping Station, Headworks, Aeration, etc. | 20000000 | SC | Zettl | No
80 | BEAVER DAM, CITY OF | 4377-14 | WWTP Upgrade | 10000000 | SC | Zettl | No
80 | STITZER SD | 5561-01 | Upgrade WWTP – Phosphorus Removal, Effluent Valves | 2500000 | SC | Zettl | No
79 | JAMESTOWN SD #3 | 4257-03 | Upgrade WWTP | 2000000 | SC | Zettl | No
79 | ROXBURY SD #1 | 4418-04 | Upgrade WWTP- Rehab Septic Tanks; Install Non-Potable Well | 343700 | SC | Zettl | No
79 | SEYMOUR, CITY OF | 4714-03 | Upgrade WWTP - Phase 1 | 8017890 | NE | Hannes | No
79 | VIROQUA, CITY OF | 4052-18 | Upgrade Blower Building | 500000 | WC | Cameron | No
79 | VIROQUA, CITY OF | 4052-13 | Upgrade WWTP | 500000 | WC | Cameron | No
78 | BENTON, VILLAGE OF | 4254-05 | WWTP Improvements | 4000000 | SC | Zettl | No
78 | DEERFIELD, VILLAGE OF | 4743-02 | WWTP Improvements | 6250000 | SC | Zettl | No
78 | MORRISON SD #1 | 4116-03 | Install Chemical Feed System for Phosphorus Removal | 150000 | NE | Hannes | No
78 | POTTER, VILLAGE OF | 5102-03 | Upgrade WWTP - Construct Chemical Feed Facility/Phosphorus | 150000 | NE | Hannes | No
78 | RIO, VILLAGE OF | 5421-02 | Upgrade WWTP - Hydraulics; Pretreatment Grinder | 500000 | SC | Zettl | No
77 | MERCER SD #1 | 4302-02 | WWTP Upgrade | 5000000 | NO | Andruczyk | No
77 | POTOSI, VILLAGE OF | 4140-04 | WWTP Upgrade | 5000000 | SC | Zettl | No
77 | STOCKBRIDGE, VILLAGE OF | 4686-03 | Construct New Sludge Storage Tank | 804937 | NE | Hannes | No
77 | TENNYSON, VILLAGE OF | 4605-05 | WWTP Upgrade | 5000000 | SC | Zettl | No
76 | BAGLEY, VILLAGE OF | 4401-03 | Upgrade WWTP for Phosphorus Removal & UV Disinfection | 5000000 | SC | Zettl | No
76 | REEDSVILLE, VILLAGE OF | 4512-06 | Upgrade WWTP - Entire Treatment Trane | 3500000 | NE | Hannes | No
75 | BLUFFVIEW SD | 5348-03 | Upgrade WWTF | 2000000 | SC | Zettl | No
75 | CHILI SD #1 | 5680-01 | Upgrade WWTP for Phosphorus Treatment | 190000 | WC | Cameron | No
75 | HAMMOND, VILLAGE OF | 4346-02 | WWTP Upgrade | 7940300 | WC | Cameron | No
75 | HIGHLAND, VILLAGE OF | 4390-06 | Upgrade WWTP for Phosphorus Compliance/Add Sludge Storage System | 4400000 | SC | Zettl | No
75 | LAKE GENEVA, CITY OF | 5613-04 | Construct New WWTP Hauled Waste Receiving Facility | 1800000 | SE | Binder | No
74 | BARNEVELD, VILLAGE OF | 4763-04 | Upgrade UV System | 1000000 | SC | Zettl | No
74 | CURTISS, VILLAGE OF | 4099-11 | Construct Chemical Treatment | 1979505 | WC | Cameron | No
74 | CURTISS, VILLAGE OF | 4099-10 | Upgrade Aging WWTP | 13433700 | WC | Cameron | No
74 | GRANTSBURG, VILLAGE OF | 4584-07 | Improve WWTP - S Lift Station, Lagoon, Chem Feed, Automation | 5441880 | NO | Andruczyk | No
74 | NEWBURG, VILLAGE OF | 4267-02 | Install WWTP upgrades for TMDL permit limits | 3297225 | SE | Binder | No
74 | OWEN, CITY OF | 5139-10 | WWTP Improvements | 995000 | WC | Cameron | No
74 | STEVENS POINT, CITY OF | 4001-16 | WWTP Improvements | 12000000 | WC | Andruczyk | Yes
74 | STURGEON BAY, CITY OF | 4027-06 | Upgrade Thermophilic Digester | 3285320 | NE | Hannes | No
74 | STURGEON BAY, CITY OF | 4027-04 | Upgrade WWTP Biosolids System | 1710454 | NE | Hannes | No
74 | STURGEON BAY, CITY OF | 4027-09 | Headworks Improvement and Receiving Station/Equalization | 3500000 | NE | Hannes | No
74 | STURGEON BAY, CITY OF | 4027-08 | Aeration System Improvements | 5000000 | NE | Hannes | No
73 | BLOOMINGTON, VILLAGE OF | 4601-08 | WWTP Improvements | 5000000 | SC | Zettl | No
73 | LODI, CITY OF | 4461-03 | WWTP Upgrade | 5000000 | SC | Zettl | No
72 | ARLINGTON, VILLAGE OF | 4519-05 | Replace/Upgrade WWTP | 4500000 | SC | Zettl | No
72 | ARLINGTON, VILLAGE OF | 4519-02 | Upgrade WWTP - Septic Tanks, Electrical, Process Equip, etc | 1500000 | SC | Zettl | No
72 | FOND DU LAC, CITY OF | 4028-23 | Fond du Lac WTRRF Admin Building Renovation | 6821000 | NE | Hannes | Yes
72 | FOND DU LAC, CITY OF | 4028-22 | Improve Mixed Liquor Splitter Structure | 2900000 | NE | Hannes | Yes
72 | HORICON, CITY OF | 4628-22 | Upgrade WWTF | 30000000 | SC | Zettl | No
72 | LARSEN WINCHESTER SD | 5235-02 | WWTP Upgrade for Ammonia and Phosphorus | 4920000 | NE | Hannes | No
71 | NORTH LAKE POYGAN SD | 5227-02 | Construct Chemical Feed Facilities for Phosphorus | 350000 | NE | Hannes | No
71 | ROCKLAND SD #1 | 2006-06 | Upgrade WWTP - Chemical Feed for Phosphorus | 724680 | NE | Hannes | No
71 | STEPHENSVILLE SD #1 | 4514-04 | Replace & Upgrade Lift Station at WWTP | 395000 | NE | Hannes | No
70 | ALBANY, VILLAGE OF | 4517-10 | Systemwide Sewer Rehabilitation (Lining and Manhole Replacement) | 684000 | SC | Zettl | No
70 | ASHLAND, CITY OF | 4525-23 | Improve SS - 16th St E, 18th Ave W | 555000 | NO | Andruczyk | No
70 | ASHLAND, CITY OF | 4525-22 | Replace SS/Improve Lift Station – Stuntz Ave, 7th Ave E, 9th Ave E | 341414 | NO | Andruczyk | No
70 | AVOCA, VILLAGE OF | 4152-05 | Upgrade WWTP for Phosphorus Compliance | 3300000 | SC | Zettl | No
70 | EVANSVILLE, CITY OF | 4739-08 | Upgrade WWTP for Aeration Capacity | 2500000 | SC | Andruczyk | No
70 | KELLY LAKE SD #1 | 4192-03 | Upgrade WWTP - Recirculating Sand Filter to Mechanical Process | 3445000 | NE | Hannes | No
70 | NEW AUBURN, VILLAGE OF | 5218-11 | Replace Force Main from WWTP to Seepage Cells | 850000 | WC | Cameron | No
70 | PESHTIGO, CITY OF | 4122-06 | Rehab Sanitary Sewer - West of Peshtigo River | 1800000 | NE | Hannes | No
70 | RACINE, CITY OF | 4285-28 | Install North Main and Goold Conveyance Facility | 34500000 | SE | Binder | Yes
70 | RACINE, CITY OF | 4285-25 | Phase II WWTP Upgrade | 6500000 | SE | Binder | Yes
70 | TWO RIVERS, CITY OF | 4107-61 | Replace Sanitary Sewer 2025 - Numerous Streets | 1000000 | NE | Hannes | No
70 | WESTBORO SD #1 | 4178-06 | Replace Sanitary Sewer - Second & Center Street | 1800707 | NO | Andruczyk | No
70 | WISCONSIN RAPIDS, CITY OF | 4076-09 | Rehab SS on 2nd Ave South and Gaynor Avenue to Lift Station | 6000000 | WC | Cameron | No
70 | WOODVILLE, VILLAGE OF | 5222-02 | WWTP Improvements | 7250000 | WC | Cameron | No
68 | ATHENS, VILLAGE OF | 4620-03 | Upgrade WWTP for Phosphorus Compliance | 2117680 | WC | Andruczyk | No
68 | MAINE, VILLAGE OF | 5669-04 | WWTP Upgrade | 3590000 | WC | Andruczyk | No
68 | SPARTA, CITY OF | 4005-03 | Upgrade WWTP for Phosphorus Compliance | 17000000 | WC | Cameron | No
68 | WHITEHALL, CITY OF | 5141-10 | Construct New WWTP on Existing Site | 16000000 | WC | Cameron | No
67 | MILWAUKEE MSD | 3308-01 | Replace SS Bldg Roof PH V S06048C01 | 2006000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3326-01 | Replace SS Blower Branch Piping S02017C01 | 4000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3323-01 | Improve HVAC System - Buildings 378 & 380 (S06050) | 4000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3303-01 | Replace SS Grit Equipment S01015C01 | 10000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3306-01 | Install SS Disinfection Process Improvements S03005C01 | 31000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3314-01 | Install SS Digester Mixing PH II - Digesters 9 & 11 | 25100000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3327-01 | Gravity Thickening & Acid Phase Digestion S04039C01 | 24500000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3319-01 | Rehab Walkways of Secondary Clarifiers 1,2,3,&4 (S06055) | 1600000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3330-01 | Improve W3 Flushing Water System Fire Flow S06053C01 | 2200000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3328-01 | Replace SS WRF Feeder, LCUS, & MCCs S06054C01 | 16700000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3337-01 | DAF and DAF Support Systems Rehabilitation at South Shore WRF (S04042) | 8000000 | SE | Binder | Yes
67 | OSHKOSH, CITY OF | 4130-17 | Upgrade WWTP - Construct Tertiary Filtration for Phosphorus | 27880000 | NE | Hannes | Yes
67 | REWEY, VILLAGE OF | 5663-04 | WWTP Outfall Replacement | 200000 | SC | Zettl | No
67 | REWEY, VILLAGE OF | 5663-02 | WWTP Improvements | 2000000 | SC | Zettl | No
67 | STODDARD, VILLAGE OF | 4043-08 | Construct New Disinfection System | 182500 | WC | Cameron | No
67 | TWO RIVERS, CITY OF | 4107-56 | Rehab WWTP Outfall | 80000 | NE | Hannes | No
67 | TWO RIVERS, CITY OF | 4107-63 | Replace WWTP Utility Tunnel | 400000 | NE | Hannes | No
66 | ARENA, VILLAGE OF | 4599-06 | Upgrade WWTP | 1235000 | SC | Zettl | No
66 | BLACK EARTH, VILLAGE OF | 4358-07 | Upgrade Dane-Iowa WWTP | 1000000 | SC | Zettl | No
66 | JUNCTION CITY, VILLAGE OF | 4588-06 | Improve WWTP - New Equipment, Chem Storage/Dosing, SCADA | 2534000 | WC | Andruczyk | No
66 | MAZOMANIE, VILLAGE OF | 4144-06 | Upgrade WWTP | 1000000 | SC | Zettl | No
66 | MILLADORE, VILLAGE OF | 4723-04 | Upgrade WWTP - Chem Addition for Phosphorus Removal | 400305 | WC | Cameron | No
66 | REEDSBURG, CITY OF | 4139-11 | Construct New WWTP on New Site | 77756450 | SC | Zettl | No
65 | ALMA, CITY OF | 5103-03 | Replace Lift Station #4; Line Receiving Sanitary Sewer | 830000 | WC | Cameron | No
65 | ASHLAND, CITY OF | 4525-26 | Improve Main Lift Station & Turner Rd Lift Station | 2000000 | NO | Andruczyk | No
65 | BAGLEY, VILLAGE OF | 4401-05 | Replace SS - Jackley Lane, Walnut & Chicago Street | 850000 | SC | Zettl | No
65 | BARRON, CITY OF | 4013-08 | Improve Main Lift Station - 14th St | 5206790 | NO | Andruczyk | No
65 | BENTON, VILLAGE OF | 4254-04 | WWTP Interceptor (Highway 11 to WWTF) | 500000 | SC | Zettl | No
65 | CAMPBELL, TOWN OF | 5412-07 | Rehab Sanitary Sewer - 2025 Priority A | 560000 | WC | Cameron | No
65 | CASCADE, VILLAGE OF | 4160-03 | Upgrade WWTP for Permit Compliance; Improve SCADA | 5200000 | SE | Binder | No
65 | CASSVILLE, VILLAGE OF | 4095-14 | Replace Sanitary Sewer along S.T.H. '133' (C.T.H. 'VV' to Forest Lane) | 5000000 | SC | Zettl | No
65 | CASSVILLE, VILLAGE OF | 4095-12 | Replace Sanitary Sewer along Jack Oak Rd (Crawford St to S.T.H. '133') | 2200000 | SC | Zettl | No
65 | CASSVILLE, VILLAGE OF | 4095-13 | Replace Sanitary Sewer Bluff St (Furnace Branch Bridge to S.T.H. '133) | 650000 | SC | Zettl | No
65 | DUNN SD #1 | 4404-02 | Rehab Sanitary Sewer and Upgrade Lift Stations | 2885000 | SC | Zettl | No
65 | ELKHORN, CITY OF | 4552-10 | Replace Nettesheim Sewage Pump Station | 4100000 | SE | Binder | No
65 | FERRYVILLE, VILLAGE OF | 4313-05 | Replace Sanitary Sewer - STH 35 | 1400000 | WC | Zettl | No
65 | HIGHLAND, VILLAGE OF | 4390-07 | Rehab/Replace Sanitary Sewer & Manholes | 500000 | SC | Zettl | No
65 | MARSHFIELD, CITY OF | 4053-08 | Forcemain Replacement from Northeast Pump Station | 7907500 | WC | Cameron | No
65 | MILWAUKEE MSD | 3296-01 | Install JI Odor Control and Equalization/Blend Facility J04077C01 | 3000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3290-01 | Install JI Aeration System Improvements J02012C01 | 4500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3299-01 | Install JI HVAC Improvements-Bldgs 234, 235, 243 & 256 J06083C01 | 9000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3320-01 | Upgrade HVAC at D&D Facility | 16500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3291-01 | Install JI Disinfection System Improvements J03006 | 24000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3325-01 | Replace Process Air Compressor (J02016) | 26000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3329-01 | Replace Dryer Exhaust Duct Header J04057 | 11000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3310-01 | Install JI Preliminary Treatment Facility Odor Control J01030C01 | 8550000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3332-01 | Replace Feeder Cables J06094C01 | 13500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3336-01 | Upgrade Conveyance System PLC and Controls - K01017C01 | 22500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3333-01 | Install JI Chaff System Improvements - Phase 2 J04064C02 | 16000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3331-01 | Upgrade D&D Ferric Chloride & Polymer System J04084C01 | 3200000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3339-01 | Primary Sludge Pumping and Scum Processing Equipment J01031 | 7300000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3338-01 | ISS Pump VFD Replacements J01032 | 1600000 | SE | Binder | Yes
65 | MILWAUKEE, CITY OF | 4428-33 | 2025 Replacement & Rehab of Sanitary/Combined Sewers | 10082000 | SE | Binder | Yes
65 | OCONTO, CITY OF | 4000-08 | Replace/Rehabilitate Sanitary Sewer- First St, Brazeau Ave, Pecor St | 1002225 | NE | Hannes | No
65 | PHELPS SD NO. 1 | 4489-04 | Upgrade WWTP | 2480100 | NO | Andruczyk | No
65 | SALEM LAKES, VILLAGE OF | 5596-09 | Valmar Sewer Improvements Project (New Lift Station with Force Main) | 11000000 | SE | Binder | No
65 | SALEM LAKES, VILLAGE OF | 5596-07 | Valmar Sewer Improvements Project (new grinders) | 3100000 | SE | Binder | No
65 | STITZER SD | 5561-03 | Rehab/Replace Sanitary Sewer & Manholes | 500000 | SC | Zettl | No
65 | TWO RIVERS, CITY OF | 4107-60 | Rehab Sanitary Sewer 2024 - Lining on Numerous Streets | 1000000 | NE | Hannes | No
65 | TWO RIVERS, CITY OF | 4107-62 | Replace SS on Harbor St, 16th St & Emmet St | 2600000 | NE | Hannes | No
65 | TWO RIVERS, CITY OF | 4107-64 | Replace Sanitary Sewer Laterals | 1500000 | NE | Hannes | No
65 | UNITY, VILLAGE OF | 4623-04 | Upgrade WWTP Lagoon System | 5000000 | WC | Andruczyk | No
65 | VIROQUA, CITY OF | 4052-11 | Replace Sanitary Sewer - Center Ave, Court St, Jefferson St, Terhune S | 1000000 | WC | Cameron | No
65 | VIROQUA, CITY OF | 4052-14 | Replace J. Street (Lincoln) Lift Station | 750000 | WC | Cameron | No
65 | VIROQUA, CITY OF | 4052-17 | Sewer Replacement on Court Street and Western Avenue | 702000 | WC | Cameron | No
65 | VIROQUA, CITY OF | 4052-16 | Sewer Replacement on East Court Street | 640000 | WC | Cameron | No
65 | WHITING, VILLAGE OF | 4676-03 | Replace Force Main & Convert to Gravity Sewer - Sherman Ave | 298865 | WC | Andruczyk | No
64 | ARCADIA, CITY OF | 4667-15 | Upgrade Aeration System & Baffles - Ponds #1 & #2 | 2500000 | WC | Cameron | No
64 | BOYCEVILLE, VILLAGE OF | 4175-06 | Upgrade WWTP - Aeration System, Sludge Removal & Upgrade LS #3 | 11672075 | WC | Cameron | No
64 | EPHRAIM, VILLAGE OF | 5216-05 | WWTP Improvements | 4700000 | NE | Hannes | No
64 | FARMINGTON SD TOWN OF (FORMER MINDORO) | 4506-08 | Upgrade WWTP for Phosphorus Compliance | 1200000 | WC | Cameron | No
64 | GREENLEAF, VILLAGE OF | 5337-05 | Upgrade WWTP - Tertiary Treatment for P Compliance | 3600000 | NE | Hannes | No
64 | HAZEL GREEN, VILLAGE OF | 4421-05 | Upgrade WWTP | 4400000 | SC | Zettl | No
64 | NEILLSVILLE, CITY OF | 4169-04 | Rehab WWTP and Main Lift Station | 15000000 | WC | Cameron | No
64 | NEW LISBON, CITY OF | 4036-07 | Upgrade WWTP | 1500000 | WC | Cameron | No
64 | SISTER BAY, VILLAGE OF | 5415-04 | Construct Biosolids Management Facility | 15000000 | NE | Hannes | No
64 | TAYLOR, VILLAGE OF | 4715-03 | Upgrade WWTP - Aeration, Chem Addition, Fine Screen | 4500000 | WC | Cameron | No
64 | TAYLOR, VILLAGE OF | 4715-06 | Upgrade WWTP - Aeration, Chem Addition | 750000 | WC | Cameron | No
63 | COON VALLEY, VILLAGE OF | 4722-08 | WWTP Upgrade | 1500000 | WC | Cameron | No
63 | ELROY, CITY OF | 4369-13 | Upgrade WWTP | 7000000 | WC | Cameron | No
63 | GREEN LAKE SD | 4370-02 | WWTP - Effluent Spray Irrigation | 3529480 | NE | Hannes | No
63 | HEWITT, VILLAGE OF | 4097-05 | Upgrade WWTP for Phosphorus Treatment | 500000 | WC | Cameron | No
63 | ONTARIO, VILLAGE OF | 4423-02 | Upgrade WWTP - Add Chem Phosphorus Removal; Sludge Handling | 1000000 | WC | Cameron | No
63 | VALDERS, VILLAGE OF | 4327-02 | Upgrade WWTP Tertiary Treatment | 2600000 | NE | Hannes | No
62 | BAILEYS HARBOR, TOWN OF | 4193-03 | Upgrade WWTF | 1500000 | NE | Hannes | No
62 | BELOIT, CITY OF | 4608-14 | WPCF Tertiary Phosphorous Filtration | 14000000 | SC | Zettl | Yes
62 | MAIDEN ROCK, VILLAGE OF | 5681-01 | WWTP Improvements and UV Disinfection | 437000 | WC | Cameron | No
62 | NORTH BEND SD #1 | 5602-01 | Upgrade WWTP - Improve Stabilization Ponds | 275000 | WC | Cameron | No
62 | OMRO, CITY OF | 5032-07 | Biosolids Storage Tank Addition | 2500000 | NE | Hannes | No
62 | POPLAR, VILLAGE OF | 4304-03 | Upgrade WWTP - New Permit Limits & Replace Aging Infrastructure | 4600000 | NO | Andruczyk | No
62 | PRESCOTT, CITY OF | 4061-14 | WWTP Improvements | 30000000 | WC | Cameron | No
62 | PRESCOTT, CITY OF | 4061-13 | Construct New WWTP | 46000000 | WC | Cameron | No
62 | ROCKLAND, VILLAGE OF | 4011-02 | Improvements - WWTP | 5500000 | WC | Cameron | No
62 | SOUTH MILWAUKEE, CITY OF | 4468-11 | Upgrade Influent Lift Station (LS#6) & Fine Screening Building | 3050000 | SE | Binder | Yes
62 | SOUTH WAYNE, VILLAGE OF | 4059-05 | Upgrade WWTP for Phosphorus Removal | 360000 | SC | Zettl | No
61 | ASHLAND, CITY OF | 4525-27 | WWTP Improvements (Headworks and Oxidation Ditch) | 2000000 | NO | Andruczyk | No
61 | ASHLAND, CITY OF | 4525-28 | WWTP Solids Handling Improvements | 5100000 | NO | Andruczyk | No
61 | CHIPPEWA FALLS, CITY OF | 4536-06 | Upgrade Gravity Thickener, RAS Pumping, & Electrical | 2938000 | WC | Cameron | No
61 | CHIPPEWA FALLS, CITY OF | 4536-05 | Upgrade WWTP - Blowers, Activated Sludge Pumps, Electr., etc | 3305000 | WC | Cameron | No
61 | DARLINGTON, CITY OF | 4366-10 | WWTP Improvements | 6000000 | SC | Zettl | No
61 | FAIRCHILD, VILLAGE OF | 4388-06 | Replace Black Creek Lift Station (LS#6) | 632000 | WC | Cameron | No
61 | HOLLANDALE, VILLAGE OF | 4044-06 | Upgrade WWTP | 6000000 | SC | Zettl | No
61 | INDEPENDENCE, CITY OF | 5106-07 | Construct New WWTP at Existing Site | 10000000 | WC | Cameron | No
61 | INDEPENDENCE, CITY OF | 5106-08 | Upgrade WWTP for Phosphorus Treatment | 1800000 | WC | Cameron | No
61 | JEFFERSON, CITY OF | 4510-17 | Upgrade WWTP for Phosphorus Compliance | 40000000 | SC | Zettl | No
61 | JEFFERSON, CITY OF | 4510-15 | Upgrade WWTP - Biosolids & Unit Processes | 17500000 | SC | Zettl | No
61 | JEFFERSON, CITY OF | 4510-14 | Upgrade WWTP Unit Processes | 50000000 | SC | Zettl | No
61 | JEFFERSON, CITY OF | 4510-13 | Upgrade Biosolids Treatment and Processing | 10000000 | SC | Zettl | No
61 | JEFFERSON, CITY OF | 4510-20 | Construct New WWTP | 126500000 | SC | Zettl | No
61 | JOHNSON CREEK, VILLAGE OF | 4705-04 | Upgrade Sludge Dewatering & Drying Equipment | 3950000 | SC | Zettl | No
61 | OGEMA SD #1 | 4098-04 | Lagoon Cover Replacement Project | 3300000 | NO | Andruczyk | No
61 | OSCEOLA, VILLAGE OF | 4180-18 | Upgrade WWTP- Sludge Thickener & Blower | 1000000 | NO | Andruczyk | No
60 | ASHLAND, CITY OF | 4525-29 | Replace Sewer Jetter Truck | 600000 | NO | Andruczyk | No
60 | BARRON, CITY OF | 4013-07 | Upgrade WWTP | 7000000 | NO | Andruczyk | No
60 | CAMERON, VILLAGE OF | 4216-09 | Upgrade WWTP | 7000000 | NO | Andruczyk | No
60 | COLFAX, VILLAGE OF | 5413-03 | Construct Chemical Storage Building | 486000 | WC | Cameron | No
60 | DALLAS, VILLAGE OF | 4110-05 | WWTP Upgrade | 2500000 | NO | Andruczyk | No
60 | KINGSTON, VILLAGE OF | 5271-03 | WWTP - Phosphorus Removal Filters | 800000 | NE | Hannes | No
60 | LONE ROCK, VILLAGE OF | 4534-04 | Upgrade WWTP | 3665701 | SC | Zettl | No
60 | NEW AUBURN, VILLAGE OF | 5218-12 | WWTP SCADA System | 165000 | WC | Cameron | No
60 | NORTH BEND SD #1 | 5602-03 | New Generator at Main Lift Station | 250000 | WC | Cameron | No
60 | PARDEEVILLE, VILLAGE OF | 4373-06 | Upgrade WWTP - Influent L.S., Lagoon Aeration System, SCADA | 1500000 | SC | Zettl | No
60 | PRAIRIE DU CHIEN, CITY OF | 4174-08 | Replace Aeration Piping & Upgrade for Phosphorus Removal | 11500000 | WC | Zettl | No
60 | RICHMOND SD #1 - ST CROIX | 4171-09 | Upgrade WWTP - New Liner for Pond & Flow Meters | 845500 | WC | Cameron | No
60 | SAUK PRAIRIE SEWERAGE COMMISSION | 5644-01 | Replace Influent Pumps, Emergency Generator, & Electrical Distribution | 720000 | SC | Zettl | No
60 | SUPERIOR, CITY OF | 4186-30 | Combined Sewer Replacement - Hammond Ave | 3767373 | NO | Andruczyk | Yes
60 | WAUSAU, CITY OF | 4138-17 | Construct Equalization Tank to Contain Landfill Leachate | 3000000 | WC | Andruczyk | Yes
60 | WAUSAU, CITY OF | 4138-10 | WWTP Headworks - Influent Screens | 5000000 | WC | Andruczyk | Yes
59 | ADAMS, CITY OF | 4211-06 | Upgrade WWTP | 10000000 | WC | Cameron | No
59 | AMERY, CITY OF | 4338-11 | Upgrade WWTP | 17478891 | NO | Andruczyk | No
59 | BOSCOBEL, CITY OF | 4154-05 | Improve WWTP - Upgrade/Replace Aging Components | 4000000 | SC | Zettl | No
59 | LA FARGE, VILLAGE OF | 5324-05 | Install UV Disinfection and Upgrade SCADA | 250000 | WC | Cameron | No
59 | LAKE DELTON, VILLAGE OF | 5036-21 | Upgrade WWTP | 5000000 | SC | Zettl | No
59 | PESHTIGO, CITY OF | 4122-08 | Upgrade WWTP - Screening, Grit, Clarifiers, Phosphorus & Sludge | 5600000 | NE | Hannes | No
59 | PORTAGE, CITY OF | 4248-14 | Upgrade WWTP - Phosphorus, Upgrade Equip, Add Biosolids Drying | 55000000 | SC | Zettl | No
59 | RIDGELAND, VILLAGE OF | 5546-02 | Install Spray Irrigation System | 350000 | WC | Cameron | No
59 | SHELDON, VILLAGE OF | 4108-05 | Upgrade WWTP - Electric, UV Disinfect, Building Rehab, New Equip, etc | 2065128 | NO | Andruczyk | No
59 | WESTFIELD, VILLAGE OF | 4002-10 | Upgrade Headworks Building | 2015000 | NE | Hannes | No
59 | WISCONSIN DELLS, CITY OF | 4151-12 | Upgrade WWTP | 5000000 | SC | Zettl | No
58 | ALMA, CITY OF | 5103-05 | Phosphorus Treatment | 215025 | WC | Cameron | No
58 | BELL SD #1 | 5627-01 | Wastewater Receiving Station | 3800000 | NO | Andruczyk | No
58 | GENOA, VILLAGE OF | 4672-06 | WWTP Improvements | 2500000 | WC | Cameron | No
58 | LAKE TOMAHAWK SD #1 | 4414-01 | Upgrade WWTP - Chemical Feed | 2500000 | NO | Andruczyk | No
58 | OSCEOLA, VILLAGE OF | 4180-17 | WWTP Improvements | 1000000 | NO | Andruczyk | No
58 | VIOLA, VILLAGE OF | 5293-04 | Install Phosphorus Removal System & Improve Lagoon Treatment | 3500000 | SC | Zettl | No
57 | CRIVITZ, VILLAGE OF | 4086-08 | Upgrade WWTP | 9000000 | NE | Hannes | No
57 | GAYS MILLS, VILLAGE OF | 4172-08 | Construct New Treatment Facility & Main Lift Station | 9000000 | WC | Zettl | No
57 | GRATIOT, VILLAGE OF | 4359-05 | Upgrade WWTP for Phosphorus Compliance | 2000000 | SC | Zettl | No
57 | SOLDIERS GROVE, VILLAGE OF | 4360-07 | Upgrade WWTP - Phosphorus Compliance & Aging Equipment | 5000000 | WC | Zettl | No
56 | CASSVILLE, VILLAGE OF | 4095-10 | Upgrade WWTP for Phosphorus Compliance/Add Septage Receiving | 5000000 | SC | Zettl | No
56 | DE SOTO, VILLAGE OF | 4434-04 | Replace Aging WWTP | 3553000 | WC | Cameron | No
56 | MADELINE SD | 4578-03 | Upgrade WWTP | 3777000 | NO | Andruczyk | No
56 | MARSHFIELD, CITY OF | 4053-07 | Construct Braem Park Wet Detention Basin | 933900 | WC | Cameron | No
56 | SCHOFIELD, CITY OF | 5684-01 | Construct Kort Street Wet Detention Basin | 613200 | WC | Andruczyk | No
56 | WHITEWATER, CITY OF | 4558-10 | Construct Underground Wet Detention Basin - Starin Park | 3624300 | SE | Binder | No
55 | ARGYLE, VILLAGE OF | 4090-04 | Install Chem Feed for Phosphorus Removal | 1000000 | SC | Zettl | No
55 | AUGUSTA, CITY OF | 4545-09 | Replace Sanitary Sewers - Baldwin St Area | 1040000 | WC | Cameron | No
55 | BEAVER DAM, CITY OF | 4377-15 | Replace Sanitary Sewer - Front & Beaver Streets | 2000000 | SC | Zettl | No
55 | BOSCOBEL, CITY OF | 4154-06 | Replace Sanitary Sewer - Wisconsin Ave, Parker and Brindley St | 2900000 | SC | Zettl | No
55 | BOYD, VILLAGE OF | 5097-02 | Replace SS - Patten & St John Street | 1600000 | WC | Cameron | No
55 | CAZENOVIA, VILLAGE OF | 5417-03 | Modify WWTP for Capacity and Phosphorus | 7500000 | SC | Zettl | No
55 | CRANDON, CITY OF | 4654-07 | Replace Sanitary Sewer - US Highway 8, Glen St to N Lake St | 2089703 | NO | Andruczyk | No
55 | CRANDON, CITY OF | 4654-09 | Rehab Sanitary Sewer - Lake, Madison, Prospect, Washington | 936000 | NO | Andruczyk | No
55 | EAGLE RIVER, CITY OF | 4079-11 | Replace Sanitary Sewer - Spruce Street (Main St to Silver Lake Rd) | 1785890 | NO | Andruczyk | No
55 | EAGLE RIVER, CITY OF | 4079-10 | Replace Sanitary Sewer - 3rd Street (Sheridan to Spruce) | 1293418 | NO | Andruczyk | No
55 | EDGERTON, CITY OF | 4483-16 | Replace Sanitary Sewer along West Rollin Street | 2000000 | SC | Zettl | No
55 | EDGERTON, CITY OF | 4483-20 | Replace Sanitary Sewer along Washington Street | 1250000 | SC | Zettl | No
55 | EDGERTON, CITY OF | 4483-19 | Replace Sanitary Sewer along Albion Street | 750000 | SC | Zettl | No
55 | HAYWARD, CITY OF | 4037-09 | Replace Sanitary Sewer - Beal Ave, Davis Ave, Railroad | 690000 | NO | Andruczyk | No
55 | HORICON, CITY OF | 4628-24 | Replace Sanitary Sewer - Walnut St and North Cedar St | 2000000 | SC | Zettl | No
55 | LUCK, VILLAGE OF | 5519-02 | Replace Lift Stations - Holiday, Holdt, Butternut & Lake Ave | 750000 | NO | Andruczyk | No
55 | MUKWONAGO, VILLAGE OF | 5416-06 | Replace Rochester Street Sanitary Sewer Relay | 2217200 | SE | Binder | No
55 | PHILLIPS, CITY OF | 4436-06 | Replace Sanitary Sewer - Avon Ave | 1900000 | NO | Andruczyk | No
55 | PLYMOUTH SD #1 | 5592-01 | Upgrade Main Lift Station, Rehab Sanitary Sewers | 1462470 | SC | Zettl | No
55 | PRAIRIE DU CHIEN, CITY OF | 4174-10 | Replace Sanitary Sewer - Illinois St | 1082997 | WC | Zettl | No
55 | SHELL LAKE, CITY OF | 4712-09 | Replace & Relocate Bosch Lift Station | 999800 | NO | Andruczyk | No
55 | WASHBURN, CITY OF | 4187-05 | Replace Sanitary Sewer - STH 13, 8th Ave, 4th St, Washington Ave | 2100000 | NO | Andruczyk | No
55 | WAUZEKA, VILLAGE OF | 4361-07 | Replace Sanitary Sewer - S Dousman St | 846005 | WC | Zettl | No
52 | WESTON, VILLAGE OF | 5685-01 | Construct WisDOT ROW Wet Detention Basin | 2857500 | WC | Andruczyk | No
50 | ABBOTSFORD, CITY OF | 4505-11 | Replace Sanitary Sewer - North 1st St | 150000 | WC | Cameron | No
50 | ABBOTSFORD, CITY OF | 4505-10 | Replace Sanitary Sewer - N 5th Street | 500000 | WC | Cameron | No
50 | ALMA, CITY OF | 5103-04 | Replace Sanitary Sewer - River Street | 460000 | WC | Cameron | No
50 | ARCADIA, CITY OF | 4667-11 | Replace Sanitary Sewer - Main Street | 984800 | WC | Cameron | No
50 | ARENA, VILLAGE OF | 4599-08 | Rehabiliate Sanitary Sewer and Primary Lift Station | 500000 | SC | Zettl | No
50 | ARENA, VILLAGE OF | 4599-07 | Upgrade Main Lift Station | 615000 | SC | Zettl | No
50 | ARGYLE, VILLAGE OF | 4090-03 | Replace Sanitary Sewer on Fairview Avenue | 600000 | SC | Zettl | No
50 | ARLINGTON, VILLAGE OF | 4519-07 | Replace Sanitary Sewer Mains & Service Laterals - Ellickson St | 500000 | SC | Zettl | No
50 | ARLINGTON, VILLAGE OF | 4519-08 | Replace Sanitary Sewer Mains & Service Laterals - Reagles Street | 500000 | SC | Zettl | No
50 | AUGUSTA, CITY OF | 4545-10 | Contruct New Lift Station - Spring St; Replace SS - Main St | 600000 | WC | Cameron | No
50 | BARRON, CITY OF | 4013-09 | Replace Lift Station - Lake St | 600000 | NO | Andruczyk | No
50 | BARRON, CITY OF | 4013-06 | Replace Sanitary Sewer - La Salle Ave (Mill Street to 7th Street) | 1247619 | NO | Andruczyk | No
50 | BAYFIELD, CITY OF | 4080-08 | Replace Sanitary Sewer-Manypenny, 9th, Rittenhouse, 7th, 6th, 5th, 4th | 2270000 | NO | Andruczyk | No
50 | BEAVER DAM, CITY OF | 4377-13 | Replace Sanitary Sewer - Madison St (Curie St to Chatam St) | 1000000 | SC | Zettl | No
50 | BIRNAMWOOD, VILLAGE OF | 4191-05 | Line and Replace Sanitary Sewer | 1328000 | NE | Hannes | No
50 | BLACK EARTH, VILLAGE OF | 4358-05 | Replace Sanitary Sewer - Multiple Streets | 1905000 | SC | Zettl | No
50 | BLACK EARTH, VILLAGE OF | 4358-06 | Upgrade Main Lift Station | 750000 | SC | Zettl | No
50 | BLACK EARTH, VILLAGE OF | 4358-09 | Upgrade Center Street Lift Station | 750000 | SC | Zettl | No
50 | BLACK EARTH, VILLAGE OF | 4358-08 | Upgrade Stephanie Court Lift Station | 750000 | SC | Zettl | No
50 | BLANCHARDVILLE, VILLAGE OF | 5578-05 | Replace Sanitary Sewer - State Highway 78 | 740000 | SC | Zettl | No
50 | BLANCHARDVILLE, VILLAGE OF | 5578-06 | Replace Sanitary Sewer - Wilson St | 750000 | SC | Zettl | No
50 | BLOOMER, CITY OF | 4317-07 | Replace Lift Station #2 | 660000 | WC | Cameron | No
50 | BLUE RIVER, VILLAGE OF | 4374-05 | Replace Sanitary Sewer - Jay, Lake, and Main St | 924000 | SC | Zettl | No
50 | BLUFFVIEW SD | 5348-05 | Upgrade Lift Station #3 | 600000 | SC | Zettl | No
50 | BLUFFVIEW SD | 5348-04 | Rehabilitate Sanitary Sewer - District | 400000 | SC | Zettl | No
50 | BOYCEVILLE, VILLAGE OF | 4175-08 | Upgrade Lift Stations #1 & #2 & SCADA related to Lift Stations | 2750000 | WC | Cameron | No
50 | BOYCEVILLE, VILLAGE OF | 4175-09 | Sewer Lining Railroad Avenue, Main St, 1st St, STH 79, Tiffany St | 1500000 | WC | Cameron | No
50 | BRAZEAU SD #1 | 4410-03 | Reconstruct Sanitary Sewer Areas 1 and 2 | 2441011 | NE | Hannes | No
50 | BRAZEAU SD #1 | 4410-04 | Reconstruct Sanitary Sewer Areas 3 and 4 | 2100000 | NE | Hannes | No
50 | BROCKWAY SD #1 | 5636-01 | Replace Force Main - Lincoln Street | 511030 | WC | Cameron | No
50 | BRODHEAD, CITY OF | 4141-11 | Upgrade Sanitary Sewer - W 3rd Ave & 13th St | 1500000 | SC | Zettl | No
50 | BRODHEAD, CITY OF | 4141-12 | Upgrade Sanitary Sewer - 12th St Area | 1500000 | SC | Zettl | No
50 | BUTTERNUT, VILLAGE OF | 5299-04 | Replace Sanitary Sewer - Minnesota, S. 4th St, N. 3rd St, Illinois St | 1100000 | NO | Andruczyk | No
50 | CADOTT, VILLAGE OF | 4529-06 | Improve SS - Highway X | 169500 | WC | Cameron | No
50 | CAMBRIA, VILLAGE OF | 4724-06 | Sewer Reconstruction on E. Edgewater St. (HWY P) | 280000 | SC | Zettl | No
50 | CAMERON, VILLAGE OF | 4216-10 | Replace Sanitary Sewer - Sunnyside Ave | 282754 | NO | Andruczyk | No
50 | CAMPBELLSPORT, VILLAGE OF | 4625-09 | Replace SS - Ladwig, Poplar & Railroad Street | 637849 | NE | Hannes | No
50 | CAMPBELLSPORT, VILLAGE OF | 4625-11 | Replace Sanitary Sewer - Martin and Cherry St | 1600000 | NE | Hannes | No
50 | CHELSEA SD | 4291-05 | Improve Collection System - manhole/sewer rehab, replace lift stations | 250000 | NO | Andruczyk | No
50 | CLINTONVILLE, CITY OF | 4524-06 | Replace Sanitary Sewer Main on 16th Street | 423101 | NE | Hannes | No
50 | CLINTONVILLE, CITY OF | 4524-07 | Replace Sanitary Sewer on Harriet Street | 423101 | NE | Hannes | No
50 | COLEMAN, VILLAGE OF | 4189-07 | Reconstruct Main Street Sanitary Sewers | 1967770 | NE | Hannes | No
50 | COON VALLEY, VILLAGE OF | 4722-07 | Sewer Replacement on HWY 14/61 | 778000 | WC | Cameron | No
50 | COON VALLEY, VILLAGE OF | 4722-06 | Replace Sewer on Central/Church/Ander./Hiaw./David./Lier/Laff./Roosev. | 850000 | WC | Cameron | No
50 | DALLAS, VILLAGE OF | 4110-07 | SS Replacement/Rehab Hardiman,Creek,Market,Lee,Russell,1st,2nd,2nd,4th | 750000 | NO | Andruczyk | No
50 | DALLAS, VILLAGE OF | 4110-06 | Lift Station Improvements including SCADA | 500000 | NO | Andruczyk | No
50 | DARIEN, VILLAGE OF | 4276-03 | Replace Sharon Street Lift Station | 1200000 | SE | Binder | No
50 | DEER PARK, VILLAGE OF | 4484-02 | Replace/Rehab Sanitary Sewers & Manholes | 1070604 | WC | Cameron | No
50 | DICKEYVILLE, VILLAGE OF | 5418-07 | Replace Sanitary Sewer - N Church St | 850000 | SC | Zettl | No
50 | DODGEVILLE, CITY OF | 4464-08 | Replace Sanitary Sewer - 100-500 Block Chapel Street | 1961667 | SC | Zettl | No
50 | DODGEVILLE, CITY OF | 4464-07 | Replace Sanitary Sewer - 600-800 Block of Chapel Street | 1886667 | SC | Zettl | No
50 | DODGEVILLE, CITY OF | 4464-06 | Replace Sanitary Sewer - Virginia Terrace, Merrimac St, Walnut St | 1178667 | SC | Zettl | No
50 | DOUSMAN, VILLAGE OF | 4277-05 | Replace SS-Ludwig,Edwards,Tabot,Franklin,William,Bischel, & Gramling | 2655750 | SE | Binder | No
50 | EAST TROY, VILLAGE OF | 4278-04 | School Street Lift Station Improvements | 2500000 | SE | Binder | No
50 | ELKHORN, CITY OF | 4552-11 | Rehab Sanitary Sewer - Basin 2 | 1712440 | SE | Binder | No
50 | ELKHORN, CITY OF | 4552-05 | Reline SS - Centralia Street (Phase 3) | 465000 | SE | Binder | No
50 | ELROY, CITY OF | 4369-08 | Replace Sewers b'twn Western Ave & Wisconsin St under STH71 | 320000 | WC | Cameron | No
50 | ELROY, CITY OF | 4369-14 | Interceptor | 1500000 | WC | Cameron | No
50 | EMBARRASS, VILLAGE OF | 5215-02 | Replace Sanitary Sewer - WI DOT STH 22 | 1845000 | NE | Hannes | No
50 | EPHRAIM, VILLAGE OF | 5216-04 | Upgrade Lift Station #1 and Replace Lift Station #2 | 3300000 | NE | Hannes | No
50 | EVANSVILLE, CITY OF | 4739-07 | Replace Lincoln Lift Station | 1300000 | SC | Zettl | No
50 | FAIRCHILD, VILLAGE OF | 4388-04 | Upgrade Lift Stations #1, #3, #4, & #5 | 1500000 | WC | Cameron | No
50 | FAIRCHILD, VILLAGE OF | 4388-05 | Replace Main Lift Station (LS#2) | 1200000 | WC | Cameron | No
50 | FALL CREEK, VILLAGE OF | 4546-08 | Sewer Reconstruction on E.Tyler Ave, White St, and E Truman Ave | 1290000 | WC | Cameron | No
50 | FARMINGTON SD TOWN OF (FORMER MINDORO) | 4506-10 | Replace Sanitary Sewer - CTH 'DE' North Bound to Lift Station #2 | 400000 | WC | Cameron | No
50 | FARMINGTON SD TOWN OF (FORMER MINDORO) | 4506-07 | Replace Main Lift Station | 600000 | WC | Cameron | No
50 | GALESVILLE, CITY OF | 4038-07 | Replace Sanitary Sewer - 5th/6th/7th St, Gale, McKinley, Clark Avenues | 284040 | WC | Cameron | No
50 | GAYS MILLS, VILLAGE OF | 4172-10 | Expand Collection System from Existing WWTP to New WWTP | 1500000 | WC | Zettl | No
50 | GENOA, VILLAGE OF | 4672-05 | Replace Water Street Lift Station | 500000 | WC | Cameron | No
50 | GILLETT, CITY OF | 4378-08 | Replace Sanitary Sewer - Robin Hood Lane | 950000 | NE | Hannes | No
50 | GILLETT, CITY OF | 4378-09 | Replace Sanitary Sewer - STH 22 (STH 32 to Finnegan Lake Road) | 1500000 | NE | Hannes | No
50 | GLIDDEN SD | 4577-05 | Replace Sanitary Sewer - STH 13 | 1411100 | NO | Andruczyk | No
50 | GRAFTON, VILLAGE OF | 4454-20 | Upgrade 9th Ave Lift Station, Interceptor, Forcemain | 2800000 | SE | Binder | No
50 | GRATIOT, VILLAGE OF | 4359-09 | Replace SS - Noble, Cole, & Gratiot Street | 1372776 | SC | Zettl | No
50 | GREEN BAY MSD | 4198-77 | Rehab East River Interceptor | 10000000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-67 | Rehab East Fox River & Fox River Crossing Interceptors | 12500000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-75 | Rehab Interceptors - East River, East Fox River & Fox River Crossing | 22500000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-79 | Rehab West Fox River Interceptor | 6000000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-74 | Rehab East Bayshore & Old Plank Lift Stations | 8000000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-70 | Upgrade East River Lift Station & Force Main | 12200000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-80 | Relay Ninth Street Interceptor (Manhole NSI-045 to Manhole NSI-031) | 5000000 | NE | Hannes | Yes
50 | HAWKINS, VILLAGE OF | 4573-05 | SCADA System Upgrade | 350000 | NO | Andruczyk | No
50 | HAZEL GREEN, VILLAGE OF | 4421-04 | Replace Sanitary Sewer - Oak, Elm, and Maple St | 2175000 | SC | Zettl | No
50 | HIGHLAND, VILLAGE OF | 4390-05 | Replace Sanitary Sewers - Isabell and Grand Street | 1091201 | SC | Zettl | No
50 | HILLSBORO, CITY OF | 4549-06 | Rehab Collection System; Reduce I/I | 500000 | WC | Cameron | No
50 | HILLSBORO, CITY OF | 4549-08 | Sewer Replacement along STHWs 33/80 | 750000 | WC | Cameron | No
50 | HORICON, CITY OF | 4628-23 | Replace Sanitary Sewer - Juneau, Nebraska, and Center St | 2000000 | SC | Zettl | No
50 | HURLEY, CITY OF | 4183-06 | Replace Sanitary Sewer - 2nd Ave | 1846539 | NO | Andruczyk | No
50 | IRON RIDGE, VILLAGE OF | 4727-05 | Replace Sanitary Sewer, Laterals, Manholes - N Main St | 1300000 | SC | Zettl | No
50 | IRON RIDGE, VILLAGE OF | 4727-09 | Rehab Sanitary Sewer | 1300000 | SC | Zettl | No
50 | JEFFERSON, CITY OF | 4510-19 | Construct New Forcemain - Between Existing WWTP & New WWTP | 16000000 | SC | Zettl | No
50 | JEFFERSON, CITY OF | 4510-18 | Upgrade Lift Stations | 2700000 | SC | Zettl | No
50 | JOHNSON CREEK, VILLAGE OF | 4705-05 | Upgrade Midge Street Lift Station | 200000 | SC | Zettl | No
50 | JUNCTION CITY, VILLAGE OF | 4588-05 | Line Sanitary Sewers; Reroute Section of Sewer | 765000 | WC | Andruczyk | No
50 | JUNEAU, CITY OF | 4629-05 | Replace Sanitary Sewer on Oak St | 1900000 | SC | Zettl | No
50 | JUNEAU, CITY OF | 4629-06 | Replace Sanitary Sewer on South Main Street | 300000 | SC | Zettl | No
50 | KENDALL, VILLAGE OF | 4173-07 | Replace Sanitary Sewer - STH 71 | 500000 | WC | Cameron | No
50 | KEWASKUM, VILLAGE OF | 4396-09 | Improve Knights Ave LS | 1000000 | SE | Binder | No
50 | KEWAUNEE, CITY OF | 4462-10 | Replace Sanitary Sewer - Main Street | 244111 | NE | Hannes | No
50 | KEWAUNEE, CITY OF | 4462-08 | Replace Sanitary Sewer - Dodge St | 1050255 | NE | Hannes | No
50 | KIELER SD #1 | 4394-05 | Replace/Rehab Sanitary Sewers along County Highway HHH | 500000 | SC | Zettl | No
50 | LA CROSSE, CITY OF | 4105-08 | Upgrade Hagar and Pammel Lift Stations | 1943000 | WC | Cameron | Yes
50 | LA CROSSE, CITY OF | 4105-07 | Construct New Parallel Isle La Plume Siphon and Line Existing One | 6000000 | WC | Cameron | Yes
50 | LA CROSSE, CITY OF | 4105-05 | La Crosse Street Reconstruction from Oakland St. to Losey Blvd | 441500 | WC | Cameron | Yes
50 | LA CROSSE, CITY OF | 4105-06 | South Ave Reconstruction Green Bay Street to Ward Ave | 248600 | WC | Cameron | Yes
50 | LA FARGE, VILLAGE OF | 5324-08 | Replace Sanitary Sewer - Penn St, Highland St, Oak St, Pine St | 1600000 | WC | Cameron | No
50 | LA POINTE, TOWN OF | 5667-01 | Relocate RV Disposal Station & Connect to Madeline SD Sewer | 485000 | NO | Andruczyk | No
50 | LA VALLE, VILLAGE OF | 5420-01 | Replace Main Lift Station | 550000 | SC | Zettl | No
50 | LADYSMITH, CITY OF | 4574-14 | Replace Sanitary Sewer - Lindoo Ave | 1096770 | NO | Andruczyk | No
50 | LADYSMITH, CITY OF | 4574-19 | Replace Sanitary Sewer - Corbett Ave, E 4th St to E 6th St | 951548 | NO | Andruczyk | No
50 | LAKE DELTON, VILLAGE OF | 5036-08 | Upgrade Pump Station #3 | 1000000 | SC | Zettl | No
50 | LAKE DELTON, VILLAGE OF | 5036-12 | Upgrade/Replace Pump Stations #12, 13, & 15 | 1000000 | SC | Zettl | No
50 | LAKE DELTON, VILLAGE OF | 5036-14 | Upgrade PS #10 & New Collection System | 850000 | SC | Zettl | No
50 | LAKE DELTON, VILLAGE OF | 5036-15 | Upgrade Pump Station #2 | 700000 | SC | Zettl | No
50 | LAKE GENEVA, CITY OF | 5613-03 | Reconstruct SS Relay w/Reconstruction of Main Street (STH 50) | 500000 | SE | Binder | No
50 | LAKE GENEVA, CITY OF | 5613-02 | Upgrade Lift Station/Force Main - SE area | 4000000 | SE | Binder | No
50 | LAKE MILLS, CITY OF | 4828-08 | Upgrade WWTP - Effluent Pump Station and Force Main to Crawfish River | 11000000 | SC | Zettl | No
50 | LAKE MILLS, CITY OF | 4828-06 | Upgrade WWTP - New Treatment Plant Force Main to new WWTP site | 10700000 | SC | Zettl | No
50 | LAKE PEWAUKEE SD | 4659-02 | Construct new LS#13, Rehab LS#11, & New Forcemain (Cnty Hwy SS) | 13826306 | SE | Binder | No
50 | LANCASTER, CITY OF | 4331-09 | Replace Sanitary Sewer - W. Maple St, County Highway 'A', & Wilson St | 1927501 | SC | Zettl | No
50 | LAONA SD #1 | 4073-02 | Replace Sanitary Sewer - USH 8 | 1600000 | NO | Andruczyk | No
50 | LODI, CITY OF | 4461-05 | Replace Sanitary Sewer - Sauk Street | 930000 | SC | Zettl | No
50 | LODI, CITY OF | 4461-04 | Replace Sanitary Sewer - Fair Street | 1155000 | SC | Zettl | No
50 | LOMIRA, VILLAGE OF | 4349-07 | Replace Sanitary Sewer on Church St | 2383900 | SC | Zettl | No
50 | LONE ROCK, VILLAGE OF | 4534-06 | Replace Lift Station #2 | 525000 | SC | Zettl | No
50 | MADISON MSD | 4010-66 | Rehab Northeast Interceptor - Truax Extension | 8950000 | SC | Zettl | Yes
50 | MADISON MSD | 4010-74 | West Interceptor Shorewood Relief - Phase 3 | 8500000 | SC | Zettl | Yes
50 | MADISON MSD | 4010-77 | Rehab Pump Station 17 Force Main Relief - Phase 2 | 10537511 | SC | Zettl | Yes
50 | MADISON MSD | 4010-78 | Rehab Pump Station 17 | 5725321 | SC | Zettl | Yes
50 | MADISON MSD | 4010-82 | Northeast Interceptor - Waunakee Ext Capacity Improvements (Phase I) | 10677308 | SC | Zettl | Yes
50 | MADISON MSD | 4010-93 | West Interceptor Rehabilitation - Babcock Hall to Dayton Street | 1540000 | SC | Zettl | Yes
50 | MADISON MSD | 4010-92 | West Interceptor Rehabilitation - Farley Avenue to Marshall Court | 825000 | SC | Zettl | Yes
50 | MADISON MSD | 4010-90 | Improve Nine Springs Valley Interceptor - Phase 2 | 9650000 | SC | Zettl | Yes
50 | MADISON MSD | 4010-94 | Improve Nine Springs Valley Interceptor - Phase 1 | 10125000 | SC | Zettl | Yes
50 | MAPLE BLUFF, VILLAGE OF | 5642-01 | Upgrade Marina Pump Station | 600000 | SC | Zettl | No
50 | MAPLEWOOD SD | 5099-03 | Rehab Collection System | 2100000 | NE | Hannes | No
50 | MARATHON COUNTY | 5668-01 | Construct On-Site Leachate RO Treatment System for PFAS (EC3) | 6000000 | WC | Andruczyk | Yes
50 | MARINETTE, CITY OF | 4699-13 | Reconstruct Sewer Main - Main Street | 311504 | NE | Hannes | No
50 | MARINETTE, CITY OF | 4699-17 | Purchase PFAS Dewatering Treatment Equipment (EC2) | 1500000 | NE | Hannes | Yes
50 | MARINETTE, CITY OF | 4699-16 | Replace Sanitary Sewer - Parnell St (EC1) | 1600000 | NE | Hannes | Yes
50 | MARINETTE, CITY OF | 4699-18 | Replace Sanitary Sewer - Todd St, Paul St, & Several Alleys (EC1) | 900000 | NE | Hannes | Yes
50 | MARKESAN, CITY OF | 5100-08 | Replace Sanitary Sewer – Grand,W.Caroline,W.Charles,S.Bridge,Millard | 1300000 | NE | Hannes | No
50 | MARSHALL, VILLAGE OF | 4234-04 | Replace Sanitary Sewer - Various Streets | 500000 | SC | Zettl | No
50 | MARSHFIELD, CITY OF | 4053-06 | Upgrade Northeast Pump Station | 1980000 | WC | Cameron | No
50 | MARY LANE SD | 5682-01 | Replace or Line Forcemain along Marks and Reddelien Road | 3300000 | SE | Binder | No
50 | MAUSTON, CITY OF | 4413-12 | Upgrade Lift Stations & SCADA - Phase 2 | 2500000 | WC | Cameron | No
50 | MAYVILLE, CITY OF | 4012-12 | Replace Sanitary Sewer - Muzzy & Allen St | 488261 | SC | Zettl | No
50 | MAYVILLE, CITY OF | 4012-14 | Replace Sanitary Sewer - Grove St | 349969 | SC | Zettl | No
50 | MAZOMANIE, VILLAGE OF | 4144-04 | Replace Sanitary Sewer - State St | 1236000 | SC | Zettl | No
50 | MAZOMANIE, VILLAGE OF | 4144-07 | Replace Sanitary Sewer - Crescent Street | 150000 | SC | Zettl | No
50 | MAZOMANIE, VILLAGE OF | 4144-05 | Upgrade Main Lift Station | 750000 | SC | Zettl | No
50 | MCFARLAND, VILLAGE OF | 4693-02 | Upgrade Lift Station No. 2 & Associated Force Main | 2000000 | SC | Zettl | No
50 | MENASHA, CITY OF | 5101-10 | Replace Sanitary Sewer - River Walkway | 1750000 | NE | Hannes | No
50 | MENASHA, CITY OF | 5101-05 | Rehab Sanitary Sewer - Phase 5 | 1800000 | NE | Hannes | No
50 | MENASHA, CITY OF | 5101-07 | Rehab Sanitary Sewer System - Phase 4-1 | 1600000 | NE | Hannes | No
50 | MENASHA, CITY OF | 5101-11 | Replace Sanitary Sewer - Lakecrest Drive Trunk | 3000000 | NE | Hannes | No
50 | MENASHA, CITY OF | 5101-09 | Replace Sanitary Sewer - Garfield Ave | 1750000 | NE | Hannes | No
50 | MENASHA, CITY OF | 5101-08 | SS - Fox River Crossing and Connecting Interceptor Sewers | 3000000 | NE | Hannes | No
50 | MERCER SD #1 | 4302-03 | Upgrade Lift Stations | 3000000 | NO | Andruczyk | No
50 | MERRILLAN, VILLAGE OF | 4087-05 | Replace Sanitary Sewer - Mill St, Hayden St, Center St | 416537 | WC | Cameron | No
50 | MILWAUKEE MSD | 3324-01 | Upgrade Greenfield Park & Underwood Creek Pump Stations (C03014) | 13000000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3284-01 | Install Oklahoma Avenue MIS Capacity Improvements C03013C01 | 24200000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3282-02 | Basin H MIS Remed and Sewer Rehab - Phase 2 - C05041C04 | 2000000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3289-01 | Rehab Martha Washington/Highlands Area MIS C04005C01 | 6250000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3288-01 | Construct Mill Rd Relief Sewer C04010C01 | 86500000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3286-01 | Rehab Franklin Muskego Force Main - C02010C01 | 1600000 | SE | Binder | Yes
50 | MINERAL POINT, CITY OF | 4513-12 | Rehab Lift Stations | 1500000 | SC | Zettl | No
50 | MINERAL POINT, CITY OF | 4513-13 | Replace Sanitary Sewer - South St | 1850000 | SC | Zettl | No
50 | MISHICOT, VILLAGE OF | 4015-11 | Replace/CIPP Sanitary Sewer - South Main Street | 400000 | NE | Hannes | No
50 | MISHICOT, VILLAGE OF | 4015-10 | Replace/CIPP Sanitary Sewer - South Rockway Street | 500000 | NE | Hannes | No
50 | MONROE, CITY OF | 4852-17 | Replace Sanitary Sewer on 6th St, 11th St, 16th St, 16th Ave | 2455000 | SC | Zettl | No
50 | MONTELLO, CITY OF | 4089-04 | Upgrade Mill Street Lift Station | 920000 | NE | Hannes | No
50 | MONTELLO, CITY OF | 4089-06 | Repl Manholes; Line SS Inter between STH 22 & Mill St. LS | 720000 | NE | Hannes | No
50 | MONTICELLO, VILLAGE OF | 4016-05 | Replace Sanitary Sewers - E. Lake Ave | 1600000 | SC | Zettl | No
50 | MUSCODA, VILLAGE OF | 4258-06 | Replace Sanitary Sewer - Industrial Dr & Howard St | 2467651 | SC | Zettl | No
50 | MUSCODA, VILLAGE OF | 4258-05 | Replace Sanitary Sewer - Iowa St and Elm St | 2310000 | SC | Zettl | No
50 | NECEDAH, VILLAGE OF | 4212-06 | Upgrade Lift Stations | 1000000 | WC | Cameron | No
50 | NECEDAH, VILLAGE OF | 4212-07 | STH 80 Sewer Rehab | 250000 | WC | Cameron | No
50 | NEKOOSA, CITY OF | 4042-05 | Replace Sanitary Sewer - Elmwood Ln | 249877 | WC | Cameron | No
50 | NEKOOSA, CITY OF | 4042-06 | Replace Sanitary Sewer - Fairview Ln | 299947 | WC | Cameron | No
50 | NEKOOSA, CITY OF | 4042-07 | Replace Sanitary Sewer - Glendale St | 307790 | WC | Cameron | No
50 | NEKOOSA, CITY OF | 4042-08 | Replace Sanitary Sewer - Elmwood, Fairview & Glendale | 857615 | WC | Cameron | No
50 | NESHKORO, VILLAGE OF | 4040-03 | SS Rehab - Park, State, Spring & Pearl Streets | 1000000 | NE | Hannes | No
50 | NEW AUBURN, VILLAGE OF | 5218-13 | SCADA at Lift Stations | 105000 | WC | Cameron | No
50 | NEW AUBURN, VILLAGE OF | 5218-09 | North Street and Central Street Reconstruction | 2039607 | WC | Cameron | No
50 | NIAGARA, CITY OF | 4120-07 | Replace Sanitary Sewer and Laterals - Hill Street and Forest Street | 538042 | NE | Hannes | No
50 | NORTH BEND SD #1 | 5602-02 | Improvements of Lift Station | 250000 | WC | Cameron | No
50 | NORTH FREEDOM, VILLAGE OF | 4156-03 | Replace Sanitary Sewer, Manholes, Public Laterals - High St | 650000 | SC | Zettl | No
50 | NORTH FREEDOM, VILLAGE OF | 4156-04 | Replace Lift Station | 550000 | SC | Zettl | No
50 | NORWALK, VILLAGE OF | 4068-07 | Sewer Replacement on McGary, North, Wisc., Roosevelt, South, Main Sts. | 2957815 | WC | Cameron | No
50 | NORWAY SD #1 | 4082-06 | Replace Lift Station 5 | 3300000 | SE | Binder | No
50 | NORWAY SD #1 | 4082-07 | Lift Station No. 12 and 14 Improvements | 3200000 | SE | Binder | No
50 | OAKFIELD, VILLAGE OF | 4148-06 | Replace Sanitary Sewer - CTH Y (Main St) | 750000 | NE | Hannes | No
50 | OCONTO FALLS, CITY OF | 4121-13 | Replace and Upgrade Sanitary Sewer System - Columbia Street | 2800000 | NE | Hannes | No
50 | OCONTO FALLS, CITY OF | 4121-10 | Construct New Columbia LS/Abandon Hillside LS & Columbia LS | 2300000 | NE | Hannes | No
50 | OCONTO, CITY OF | 4000-09 | Lift Station Improvements for Backup Power | 404800 | NE | Hannes | No
50 | OMRO, CITY OF | 5032-05 | Replace Sanitary Sewer Siphon - River Bend Park | 300000 | NE | Hannes | No
50 | OREGON, VILLAGE OF | 4324-09 | Replace Sanitary Sewer - North Oak St | 1900000 | SC | Zettl | No
50 | OREGON, VILLAGE OF | 4324-08 | Rehab Lift Station - Richards Rd | 1500000 | SC | Zettl | No
50 | ORFORDVILLE, VILLAGE OF | 5291-03 | Replace Sanitary Sewers - S Wright St (Olson Dr to Beloit St) | 875000 | SC | Zettl | No
50 | OSSEO, CITY OF | 4734-07 | Replace Sanitary Sewer - HW10 | 774000 | WC | Cameron | No
50 | OSSEO, CITY OF | 4734-09 | Sewer Rehab on West Street and Elevator Street | 340000 | WC | Cameron | No
50 | PARK FALLS, CITY OF | 4329-20 | Replace Lymantown Lift Station | 500000 | NO | Andruczyk | No
50 | PARK FALLS, CITY OF | 4329-21 | Rehab SS - N 1st Ave and 1st Ave S | 927718 | NO | Andruczyk | No
50 | PATCH GROVE, VILLAGE OF | 4603-04 | Improve Sanitary Sewer System to Reduce Inflow & Infiltration | 557130 | SC | Zettl | No
50 | PESHTIGO, CITY OF | 4122-10 | Improve East Drainage District Wastewater Collection System | 1200000 | NE | Hannes | No
50 | PESHTIGO, CITY OF | 4122-07 | Upgrade Lift Stations at Chicago Ct & Oak St | 800000 | NE | Hannes | No
50 | PITTSVILLE, CITY OF | 5135-06 | Rehab/Relay Cat Creek Interceptor Sewer | 867100 | WC | Cameron | No
50 | PLUM CITY, VILLAGE OF | 4426-05 | Maple Street Sanitary Sewer Reconstruction | 665000 | WC | Cameron | No
50 | PLUM CITY, VILLAGE OF | 4426-04 | CTH S Sanitary Sewer Reconstruction | 1033000 | WC | Cameron | No
50 | POPLAR, VILLAGE OF | 4304-04 | Upgrade Collection System & Lift Stations | 1500000 | NO | Andruczyk | No
50 | PORT EDWARDS, VILLAGE OF | 4135-04 | Replace Sanitary Sewer - 2nd St | 3327000 | WC | Cameron | No
50 | PORT EDWARDS, VILLAGE OF | 4135-05 | Replace Sanitary Sewer - Market Ave | 1425000 | WC | Cameron | No
50 | POUND, VILLAGE OF | 5259-03 | Reconstruct Colburn Street | 429035 | NE | Hannes | No
50 | POYNETTE, VILLAGE OF | 4336-13 | Replace Sanitary Sewer - Lincoln, Cleveland, & Grant Streets | 160000 | SC | Zettl | No
50 | PRINCETON, CITY OF | 4149-06 | Replace Sanitary Sewer - S Clinton St, S Howard St, Howard St, WI St | 1500000 | NE | Hannes | No
50 | PULASKI, VILLAGE OF | 4126-09 | Replace Sanitary Sewer on Williams Street | 677000 | NE | Hannes | No
50 | RANDOLPH, VILLAGE OF | 5219-03 | Rehab/Replace Sanitary Sewer - Location TBD | 800000 | SC | Zettl | No
50 | RANDOLPH, VILLAGE OF | 5219-08 | Replace SS - 1st St (Randolph to Huron), 2nd St (W. Stroud to Huron) | 4000000 | SC | Zettl | No
50 | REEDSBURG, CITY OF | 4139-16 | Construct Gravity Interceptor, Force Main & Outfall | 10000000 | SC | Zettl | No
50 | REEDSVILLE, VILLAGE OF | 4512-07 | Lift Station Improvements - Manitowoc LS and Park Street LS | 500000 | NE | Hannes | No
50 | REESEVILLE, VILLAGE OF | 4249-06 | Replace Sanitary Sewer - Garfield and Sharp Ave, Dewey St | 587267 | SC | Zettl | No
50 | REWEY, VILLAGE OF | 5663-03 | Sewer Replacement/Rehab - C.T.H. 'G' (Reid Street - Lift Station A) | 200000 | SC | Zettl | No
50 | RHINELANDER, CITY OF | 4132-15 | Replace Sanitary Sewer - Balsam, Spruce, Birch, Sanns, & Hemlock Strs | 2537000 | NO | Andruczyk | No
50 | RHINELANDER, CITY OF | 4132-13 | Replace SS - Lincoln, Shepard, Carr, & Newell Strs | 2656000 | NO | Andruczyk | No
50 | RHINELANDER, CITY OF | 4132-14 | Replace Sanitary Sewer - Highland Area | 5412900 | NO | Andruczyk | No
50 | RHINELANDER, CITY OF | 4132-17 | Replace SS -Messer, Rose, Evergreen ,Freemont, Hodag Park & Lake Shore | 2398000 | NO | Andruczyk | No
50 | RHINELANDER, CITY OF | 4132-11 | Replace Sanitary on Phillips from (Thayer to Lennox)&(Dave to Pelican) | 1613000 | NO | Andruczyk | No
50 | RHINELANDER, CITY OF | 4132-18 | Replace SS - Shepard St & Coolidge Ave (Lincoln St to Timber Dr) | 2350000 | NO | Andruczyk | No
50 | RIB LAKE, VILLAGE OF | 4438-07 | Replace Sanitary Sewer - 2nd Street, 3rd Street, and Church Street | 1700000 | NO | Andruczyk | No
50 | RICE LAKE, CITY OF | 4451-04 | Replace Sanitary Sewer - Phipps Avenue (Allen St to W Messenger St) | 450000 | NO | Andruczyk | No
50 | RICHLAND CENTER, CITY OF | 4060-13 | Rehab Square Lift Station | 1000000 | SC | Zettl | No
50 | RICHLAND CENTER, CITY OF | 4060-12 | Rehab Lift Station - West Side | 1000000 | SC | Zettl | No
50 | RICHLAND CENTER, CITY OF | 4060-11 | Replace Force Main - Alison Park Lift Station | 450000 | SC | Zettl | No
50 | RICHMOND SD #1 - ST CROIX | 4171-10 | Repair Sanitary Sewer - Multiple Locations | 150900 | WC | Cameron | No
50 | RIDGEWAY, VILLAGE OF | 4706-08 | Replace Sanitary Sewer - Main St | 1600000 | SC | Zettl | No
50 | RIDGEWAY, VILLAGE OF | 4706-06 | Replace Sanitary Sewer - Meudt Ct & Richards St | 765850 | SC | Zettl | No
50 | RIDGEWAY, VILLAGE OF | 4706-09 | Rehab/Replace Sanitary Sewer & Manholes | 500000 | SC | Zettl | No
50 | RIO, VILLAGE OF | 5421-03 | Replace Sanitary Sewer - Lincoln Avenue | 2452000 | SC | Zettl | No
50 | RIPON, CITY OF | 4539-09 | Replace Sanitary Sewer - Hamburg Street | 250000 | NE | Hannes | No
50 | RIPON, CITY OF | 4539-10 | Replace Sanitary Sewer - Griswold Street | 450000 | NE | Hannes | No
50 | RIPON, CITY OF | 4539-05 | Replace Sanitary Sewer - Pacific St | 1000000 | NE | Hannes | No
50 | RIPON, CITY OF | 4539-04 | Replace Sanitary Sewer - Houston St | 300000 | NE | Hannes | No
50 | SALEM LAKES, VILLAGE OF | 5596-05 | Rehabilitate Sanitary LS 201 and 203 | 2500000 | SE | Binder | No
50 | SALEM LAKES, VILLAGE OF | 5596-08 | Yaws Sewer Improvements Project (New Lift Station with Force Main) | 3000000 | SE | Binder | No
50 | SALEM LAKES, VILLAGE OF | 5596-06 | Yaws Sewer Improvements Project (new grinders) | 1300000 | SE | Binder | No
50 | SAUK PRAIRIE SEWERAGE COMMISSION | 5644-02 | Improve Sanitary Sewer System | 800000 | SC | Zettl | No
50 | SCANDINAVIA, VILLAGE OF | 4711-12 | Replace Sewage Lift Station | 800000 | NE | Hannes | No
50 | SHAWANO LAKE SD #1 | 5683-01 | Upgrade/Rehab Lift Stations & Collection System | 1100000 | NE | Hannes | No
50 | SHEBOYGAN, CITY OF | 4019-22 | Southside Sanitary Interceptor Sewer System - Phases 1 & 2 | 33100000 | SE | Binder | Yes
50 | SHELDON, VILLAGE OF | 4108-06 | Rehab Sanitary Sewer; Upgrade Main Lift Station | 2065128 | NO | Andruczyk | No
50 | SHELL LAKE, CITY OF | 4712-10 | Replace West Lake Drive Lift Station | 850000 | NO | Andruczyk | No
50 | SHULLSBURG, CITY OF | 4604-10 | Replace Sanitary Sewer - S. Henry, S. Lafayette, & E. Church St | 1512110 | SC | Zettl | No
50 | SOUTH WAYNE, VILLAGE OF | 4059-10 | Replace Sanitary Sewer - Prospect, High, & Division St | 2700000 | SC | Zettl | No
50 | SPENCER, VILLAGE OF | 4224-06 | Replace Lift Station - Hemlock Street | 350000 | WC | Andruczyk | No
50 | SPENCER, VILLAGE OF | 4224-07 | Upgrade Lift Station - Pine Street | 350000 | WC | Andruczyk | No
50 | SPENCER, VILLAGE OF | 4224-08 | Replace Sanitary Sewer - Park & LaSalle Street | 900000 | WC | Andruczyk | No
50 | SPOONER, CITY OF | 4471-08 | Sewer Rehabilitation - CIPP Lining (multiple streets) | 520000 | NO | Andruczyk | No
50 | ST. CROIX FALLS, CITY OF | 4444-09 | Septage Receiving Station & Sanitary Sewer Extension | 1870000 | NO | Andruczyk | No
50 | STANLEY, CITY OF | 4507-04 | West Maple St. and South McKnight St. Sanitary Sewer Reconstruction | 1202040 | WC | Cameron | No
50 | STANLEY, CITY OF | 4507-05 | W. 8th Avenue Forcemain Replacement | 1587000 | WC | Cameron | No
50 | STEPHENSVILLE SD #1 | 4514-03 | Replace Town Hall Lift Station & Portions of Upstream Gravity Sewer | 745360 | NE | Hannes | No
50 | STOCKBRIDGE, VILLAGE OF | 4686-04 | Relocate Sanitary Sewer along STH 55 | 140000 | NE | Hannes | No
50 | STODDARD, VILLAGE OF | 4043-10 | Sewer Replacement on Division Street | 170700 | WC | Cameron | No
50 | STOUGHTON, CITY OF | 4078-22 | Replace Sanitary Sewer - 4th St - Milwaukee to Isham | 373000 | SC | Zettl | No
50 | STOUGHTON, CITY OF | 4078-25 | Replace Sanitary Sewer - State Highway 51 (Harrison to Roby) | 713000 | SC | Zettl | No
50 | STOUGHTON, CITY OF | 4078-24 | Replace Sanitary Sewer - State Highway 51 (Page to Harrison) | 540000 | SC | Zettl | No
50 | STRATFORD, VILLAGE OF | 4622-05 | Replace Sanitary Sewer - Legion St | 1328000 | WC | Andruczyk | No
50 | STRATFORD, VILLAGE OF | 4622-04 | Replace Sanitary Sewer - Legacy St | 1374500 | WC | Andruczyk | No
50 | STURGEON BAY, CITY OF | 4027-07 | Rehabilitate Collection System | 500000 | NE | Hannes | No
50 | SULLIVAN, VILLAGE OF | 4235-02 | Upgrade Lift Station - Palmyra St | 750000 | SC | Zettl | No
50 | TAYLOR, VILLAGE OF | 4715-04 | Repair Sanitary Sewer - Bridge Street | 613000 | WC | Cameron | No
50 | THORP, CITY OF | 4669-12 | Replace SS - Main, Thorp, & Clark Streets | 550000 | WC | Cameron | No
50 | THORP, CITY OF | 4669-10 | Replace SS - Main, School, Thorp, & Clark Streets | 1620000 | WC | Cameron | No
50 | TOMAHAWK, CITY OF | 4051-07 | Replace Sanitary Sewer - Nelson Drive | 275000 | NO | Andruczyk | No
50 | TOMAHAWK, CITY OF | 4051-08 | Replace Sanitary Sewer - Spirit Avenue | 450000 | NO | Andruczyk | No
50 | UPPER ST CROIX LAKE SD | 4460-02 | Upgrade Wastewater Collection System | 541881 | NO | Andruczyk | No
50 | VIROQUA, CITY OF | 4052-15 | Sewer Reconstruction on Western Avenue | 230000 | WC | Cameron | No
50 | WALWORTH COUNTY MSD | 4288-11 | Construct Williams Bay No. 2 Force Main | 6500000 | SE | Binder | Yes
50 | WATERFORD SD #1 | 5662-01 | Upgrade Lift Stations | 8040000 | SE | Binder | No
50 | WATERLOO, CITY OF | 4682-07 | Replace Sanitary Sewer - E. Madison St and STH 89 | 1570000 | SC | Zettl | No
50 | WATERTOWN, CITY OF | 4145-04 | Replace Allerman Lift Station Including Forcemain | 4400000 | SC | Zettl | Yes
50 | WAUPACA CHAIN O LAKES SD #1 | 4518-02 | Replace Lift Stations | 3000000 | NE | Hannes | No
50 | WAUPACA, CITY OF | 4344-14 | Bowlby Lift Station Replacement | 3800000 | NE | Hannes | No
50 | WAUTOMA, CITY OF | 4205-04 | Replace Sanitary Sewer - Oxford Street (Division to Elm Street) | 1623600 | NE | Hannes | No
50 | WEST BARABOO, VILLAGE OF | 4746-03 | Replace Sanitary Sewer - Shaw Street | 400000 | SC | Zettl | No
50 | WESTBY, CITY OF | 4550-11 | Replace Sanitary Sewer - Prairie, Oak, Melby, Park, West Ave, Central | 5745000 | WC | Cameron | No
50 | WESTFIELD, VILLAGE OF | 4002-06 | Replace Sanitary Sewer - Lawrence St | 775000 | NE | Hannes | No
50 | WESTFIELD, VILLAGE OF | 4002-08 | Replace 500' of Influent SS Interceptor Main | 230000 | NE | Hannes | No
50 | WEYERHAEUSER, VILLAGE OF | 5567-04 | Rehab Sanitary Sewer - Alleys 1 to 6 | 975110 | NO | Andruczyk | No
50 | WILSON SD #1 | 5666-01 | Rehabilitate the Interceptor System | 2650000 | SE | Binder | No
50 | WINDSOR, VILLAGE OF | 5640-02 | Replace Sanitary Sewer - CTH CV (Windsor Rd to STH 19) | 3300000 | SC | Zettl | No
50 | WINDSOR, VILLAGE OF | 5640-03 | Replace Sanitary Sewer - CTH CV | 530000 | SC | Zettl | No
50 | WISCONSIN DELLS, CITY OF | 4151-11 | Replace Sanitary Sewer - USH 12 | 600000 | SC | Zettl | No
50 | WISCONSIN DELLS, CITY OF | 4151-10 | Install Utility Building & SCADA System | 4105000 | SC | Zettl | No
47 | ST. NAZIANZ, VILLAGE OF | 4007-07 | Relocate Existing WWTP Outfall | 4000000 | NE | Hannes | No
35 | BUFFALO CITY, CITY OF | 4671-01 | Construct New Wastewater Collection System | 15000000 | WC | Cameron | No
30 | GREEN LAKE SD | 4370-03 | Sanitary Sewer Extension - Area 9 | 2308250 | NE | Hannes | No
25 | DARLINGTON, CITY OF | 4366-09 | Sewer Extension for New Municipal Well | 3070000 | SC | Zettl | No
25 | EDGERTON, CITY OF | 4483-18 | Construct Stormwater Pond - Ladd Ln | 1000000 | SC | Zettl | No
25 | MILWAUKEE MSD | 3335-01 | Extend Oak Creek SW MIS - C02013C01 | 19000000 | SE | Binder | Yes
25 | OGEMA SD #1 | 4098-03 | Sanitary Sewer Extension | 150000 | NO | Andruczyk | No
25 | RAYMOND, VILLAGE OF | 5665-01 | Construct New SS Along I-94 - Interceptor Phase 1 | 14000000 | SE | Binder | No
25 | RICHLAND CENTER, CITY OF | 4060-10 | Install Gravity Sewer East Side | 1800000 | SC | Zettl | No
25 | RICHLAND CENTER, CITY OF | 4060-09 | Install Lift Station - East Side | 1000000 | SC | Zettl | No
1 If the municipality submits an application for funding, 2% of the municipality's principal forgiveness (PF) points will be added to the PERF Score to take into account financial need. These additional points will be reflected on the funding list.
2 Any municipality with a population of 20,000 or greater will have all of its projects designated as federal equivalency in State Fiscal Year 2026. In addition, all emerging contaminants projects must comply with equivalency requirements, regardless of population size. Visit https://dnr.wisconsin.gov/aid/federalEquivalency for information on federal equivalency requirements.
Emerging Contaminants Project Types
EC1 = Sanitary Sewer Rehab to Reduce I/I of PFAS Contaminated Groundwater or Stormwater
EC2 = PFAS Treatment – Groundwater Dewatering Discharges
EC3 = Landfill Leachate Treatment for PFAS
Pilot Projects
| Municpality | Project Number | Project Description | Est. Project Costs | Region | CME
| ARGYLE, VILLAGE OF | 4090-05 | Pilot - WQT for P | 500000 | SC | Zettl
| AVOCA, VILLAGE OF | 4152-06 | Pilot - WQT for P - Streambank Stabilization | 550000 | SC | Zettl
| BAGLEY, VILLAGE OF | 4401-04 | Pilot - WQT for P - Streambank Stabilization | 350000 | SC | Zettl
| BOAZ, VILLAGE OF | 4065-04 | Pilot - WQT for P | 125000 | SC | Zettl
| CASSVILLE, VILLAGE OF | 4095-11 | Pilot - WQT for P - Streambank Stabilization | 605000 | SC | Zettl
| CAZENOVIA, VILLAGE OF | 5417-05 | Pilot - WQT for P | 650000 | SC | Zettl
| CHELSEA SD | 4291-03 | Pilot - WQT for P | 150000 | NO | Andruczyk
| CUBA CITY, CITY OF | 4420-05 | Pilot - WQT for P - Streambank Improvements | 500000 | SC | Zettl
| DE SOTO, VILLAGE OF | 4434-05 | Pilot - WQT for P - Streambank Stabilization | 300000 | WC | Cameron
| ELK MOUND, VILLAGE OF | 4041-05 | Pilot - WQT for P | 2000000 | WC | Cameron
| ELLSWORTH, VILLAGE OF | 4170-06 | Pilot - WQT for P - Streambank Stabilization | 500000 | WC | Cameron
| ETTRICK, VILLAGE OF | 4701-04 | Pilot - WQ Trading | 150000 | WC | Cameron
| FARMINGTON SD TOWN OF (FORMER MINDORO) | 4506-09 | Pilot - WQT for P | 300000 | WC | Cameron
| GAYS MILLS, VILLAGE OF | 4172-09 | Pilot - WQT for P - Streambank Stabilization | 500000 | WC | Zettl
| GRATIOT, VILLAGE OF | 4359-06 | Pilot - WQT for P - Streambank Stabilization | 500000 | SC | Zettl
| HAZEL GREEN, VILLAGE OF | 4421-03 | Pilot - WQT for P - Streambank Stabilization | 550000 | SC | Zettl
| HOLLANDALE, VILLAGE OF | 4044-05 | Pilot - WQT for P | 650000 | SC | Zettl
| ONTARIO, VILLAGE OF | 4423-03 | Pilot - WQT for P | 250000 | WC | Cameron
| PEPIN, VILLAGE OF | 4111-04 | Pilot - WQ Trading | 600000 | WC | Cameron
| PRAIRIE DU CHIEN, CITY OF | 4174-09 | Pilot - WQT for P - Streambank Stabilization | 1980000 | WC | Zettl
| READSTOWN, VILLAGE OF | 4713-05 | Pilot - WQT for P - Streambank Stabilization | 550000 | WC | Cameron
| ROZELLVILLE SD #1 | 5615-01 | Pilot - WQT for P | 300000 | WC | Andruczyk
| SOLDIERS GROVE, VILLAGE OF | 4360-09 | Pilot - WQT for P - Streambank Stabilization | 550000 | WC | Zettl
| STITZER SD | 5561-02 | Pilot - WQT for P - Streambank Stabilization | 550000 | SC | Zettl
| STODDARD, VILLAGE OF | 4043-09 | Pilot - WQT for P - Streambank Stabilization | 300000 | WC | Cameron
| UNITY, VILLAGE OF | 4623-03 | Pilot - WQT for P | 650000 | WC | Andruczyk
| WAUMANDEE SD #1 | 4670-03 | Pilot - WQT for P - Streambank Stabilization | 100000 | WC | Cameron
Eligibility Undetermined - Refer to the comments within the PERF for an explanation.
| Municipality | Project Number | Project Description | Est. Project Costs | Region | CME
| GREEN BAY MSD | 4198U78 | Undetermined - Extend Interplant Force Main | 1100000 | NE | Hannes
| TAYLOR, VILLAGE OF | 4715U05 | Undetermined - Pilot - WQT for P | 500000 | WC | Cameron
| TWIN LAKES, VILLAGE OF | 4675U07 | Undetermined - Line Main East Side Interceptor & Repair Manholes | 500000 | SE | Binder
| NESHKORO, VILLAGE OF | 4040U04 | Undetermined - Replace Main Lift Station | 800000 | NE | Hannes