## Eligible Projects
PERF Score 1 | Municipality | Project Number | Project Description | Est. Project Costs | Region | CME | Federal Equivalency 2
165 | STETSONVILLE, VILLAGE OF | 4145-09 | Regionalization - Upgrade Lift Station, New Forcemain, Abandon WWTP | 6686000 | NO | Andruczyk
150 | ABRAMS SD #1 | 4488-05 | Construct Force Main & Regionalize with Neighboring Municipality | 7500000 | NE | Hannes
150 | ARKANSAW SD #1 | 5614-02 | New Lift Station and Forcemain to pump to Village of Durand WWTP | 3504000 | WC | TBA
150 | ARLINGTON, VILLAGE OF | 4519-04 | Regionalize with MMSD - Force Main & Pump Station | 4500000 | SC | Zettl
150 | ARLINGTON, VILLAGE OF | 4519-06 | Regionalize with Poynette - Force Main & Pump Station | 4500000 | SC | Zettl
150 | BEAR CREEK, VILLAGE OF | 4520-03 | Construct Forcemain and Pump Station to Regionalize with New London | 6000000 | NE | Hannes
150 | BUTTE DES MORTS CONSOLIDATED SD #1 | 2004-02 | Regionalization: Lift Station Improvements, Sampler, New Forcemain | 4500000 | NE | Hannes
150 | CAMP DOUGLAS, VILLAGE OF | 4586-05 | Construct Lift Station & Forcemain - Regionalize with New Lisbon | 5100000 | WC | TBA
150 | DEKORRA, TOWN OF | 4616-03 | Install Pumping Station & Force Main to Regionalize w/Poynette | 4000000 | SC | Zettl
150 | GRAND VIEW SD #1 | 5294-02 | Regionalize with Drummond SD via Trucking | 3000000 | NO | Andruczyk
150 | KINGSTON, VILLAGE OF | 5271-04 | Construct Force Main & Pumping Stations to Regionalize with Markesan | 8909000 | NE | Hannes
150 | KOSSUTH SD #2 | 5639-02 | Construct Force Main - Regionalize with Manitowoc | 4300000 | NE | Hannes
150 | MAPLEWOOD SD | 5099-05 | Regionalization with Forestville - Lift Station & Force Main | 6500000 | NE | Hannes
150 | MARIBEL, VILLAGE OF | 4615-07 | Construct Pump Station & Force Main to Regionalize with Denmark | 4708000 | NE | Hannes
150 | POTTER, VILLAGE OF | 5102-04 | Regionalization with the Village of Hilbert | 5000000 | NE | Hannes
150 | ROCKDALE, VILLAGE OF | 5163-05 | Install Pump Station & Force Main to Regionalize w/Cambridge | 3400000 | SC | Zettl
119 | MADISON MSD | 4010-95 | Improve/Stabilize Dikes In & Around Lagoons - Phase 2 | 4000000 | SC | Zettl | Yes
119 | MADISON MSD | 4010-96 | Improve Liquid Processing (Phase 2) | 92000000 | SC | Zettl | Yes
119 | MADISON MSD | 4010-97 | Remodel Laboratory | 4800000 | SC | Zettl | Yes
119 | MADISON MSD | 4010-98 | Improve WWTP HVAC | 4000000 | SC | Zettl | Yes
119 | MADISON MSD | 4010-72 | Improve/Stabilize Dikes In & Around Lagoons - Phase 1 | 4000000 | SC | Zettl | Yes
117 | LAKE MILLS, CITY OF | 4828-10 | Upgrade WWTP - Phase 1 | 28600000 | SC | Zettl
116 | JACKSON, VILLAGE OF | 4266-05 | Upgrade WWTP - Phase 1 & 2a | 7000000 | SE | Binder
115 | RIPON, CITY OF | 4539-11 | WWTF Upgrades | 10000000 | NE | Hannes
115 | WALWORTH COUNTY MSD | 4288-13 | Water Reclamation Facility HVAC and Roof Improvements | 1500000 | SE | Binder
115 | WALWORTH COUNTY MSD | 4288-14 | Upgrade WWTP - Electrical and Control System Replacements | 6400000 | SE | Binder
112 | MEDFORD, CITY OF | 4575-06 | Improve WWTP | 4200000 | NO | Andruczyk
109 | SHULLSBURG, CITY OF | 4604-11 | WWTP Upgrade | 6200000 | SC | Zettl
105 | MARSHALL, VILLAGE OF | 4234-05 | Upgrade WWTF | 11000000 | SC | Zettl
105 | RANDOM LAKE, VILLAGE OF | 4456-04 | Reconstruct WWTP | 15000000 | SE | Binder
105 | WARRENS, VILLAGE OF | 5140-04 | WWTP Improvements | 1000000 | WC | TBA
104 | GRANTON, VILLAGE OF | 5518-06 | Construct New Disinfection System and Chemical Phosphorus Treatment | 3088000 | WC | TBA
103 | LOMIRA, VILLAGE OF | 4349-08 | Improve WWTP | 2100000 | SC | Zettl
102 | MINERAL POINT, CITY OF | 4513-11 | Upgrade WWTP | 1500000 | SC | Zettl
102 | MINERAL POINT, CITY OF | 4513-14 | Rehab WWTF | 4700000 | SC | Zettl
100 | CAMP DOUGLAS, VILLAGE OF | 4586-04 | Construct New WWTP | 10000000 | WC | TBA
100 | JUNEAU, CITY OF | 4629-07 | Upgrade and Rehabilitate WWTP | 2000000 | SC | Zettl
99 | CEDARBURG, CITY OF | 4559-02 | Upgrade Lift Station & Water Recycling Center | 24840000 | SE | Binder
99 | EAST TROY, VILLAGE OF | 4278-01 | Upgrade WWTP | 16100000 | SE | Binder
99 | LIVINGSTON, VILLAGE OF | 4673-07 | Upgrade WWTP | 4100000 | SC | Zettl
99 | SUPERIOR, VILLAGE OF | 4515-03 | Relocate Outfall Piping for WWTP | 5736058 | NO | Andruczyk
98 | BIRNAMWOOD, VILLAGE OF | 4191-04 | Construct New Seepage Pond for WWTP | 2701405 | NE | Hannes
98 | MONROE, CITY OF | 4852-18 | Improve WWTP | 50000000 | SC | Zettl
98 | ROSENDALE, VILLAGE OF | 4150-04 | Upgrade WWTP - Disinfection System, SCADA, Electricals, HVAC | 460000 | NE | Hannes
97 | NEW GLARUS, VILLAGE OF | 4092-05 | Upgrade WWTF | 5000000 | SC | Zettl
97 | RIB LAKE, VILLAGE OF | 4438-08 | Upgrade WWTP - Disinfection System, SCADA, Electricals, HVAC | 500000 | NO | Andruczyk
96 | RIO, VILLAGE OF | 5421-02 | Upgrade WWTP - Hydraulics; Pretreatment Grinder | 500000 | SC | Zettl
95 | DOUSMAN, VILLAGE OF | 4277-10 | Install New Concrete Circular Clarifier | 2500000 | SE | Binder
94 | VIROQUA, CITY OF | 4052-18 | Upgrade Blower Building | 500000 | WC | TBA
94 | WATERTOWN, CITY OF | 4145-07 | Improve WWTP - Biosolids, Pump Station, SCADA, Electricals | 4200000 | SC | Zettl | Yes
94 | WATERTOWN, CITY OF | 4145-06 | Biosolids Dryer Addition | 15000000 | SC | Zettl | Yes
93 | CHILI SD #1 | 5680-01 | Upgrade WWTP for Phosphorus Treatment | 254301 | WC | TBA
93 | KEWASKUM, VILLAGE OF | 4396-07 | Construct New Tertiary Filter System | 6550000 | SE | Binder
92 | FOX CROSSING, VILLAGE OF | 5694-01 | Upgrade NMSC WWTF - Tertiary Treatment, UV Disinfection, and Effluent | 5425682 | NE | Hannes
92 | FREDONIA, VILLAGE OF | 4104-12 | Upgrade WWTP | 8200000 | SE | Binder
92 | GREEN BAY MSD | 4198-98 | Improve Pumping & Headworks - DPF - Phase 2 | 24500000 | NE | Hannes | Yes
92 | GREEN BAY MSD | 4198-76 | Replace Primary & Secondary Clarifier Mechanisms - De Pere Facility | 10500000 | NE | Hannes | Yes
92 | HARRISON, VILLAGE OF | 5641-02 | Upgrade WWTP | 2633585 | NE | Hannes
92 | JAMESTOWN SD #2 | 5595-02 | Upgrade WWTP | 2000000 | SC | Zettl
92 | MENASHA, CITY OF | 5101-12 | Upgrade WWTP Tertiary Filters and Disinfection Process | 7704166 | NE | Hannes
92 | NEENAH SD #2 | 2005-04 | Upgrade WWTP - Tertiary Filters, Effluent flow, and Disinfection | 276665 | NE | Hannes
92 | NEENAH, CITY OF | 5307-05 | Upgrade WWTF for Phosphorus Compliance | 18959903 | NE | Hannes | Yes
91 | PLATTEVILLE, CITY OF | 4419-20 | Upgrade WWTP - Phosphorus, Pumps, Controls, SCADA, Electricals, HVAC | 4000000 | SC | Zettl
90 | ABRAMS SD #1 | 4488-04 | Construct New WWTP | 6400000 | NE | Hannes
90 | COLUMBUS, CITY OF | 4239-10 | Upgrade Biosolids Storage Building & Replace Biosolids Belt | 3930000 | SC | Zettl
90 | OCONOMOWOC, CITY OF | 4163-06 | Upgrade WWTP for Capacity & Replace Aging Equipment | 23360000 | SE | Binder
89 | BRISTOL, VILLAGE OF | 4334-04 | Upgrade WWTF - Construct New Disinfection Facilities | 4000000 | SE | Binder
89 | COLBY, CITY OF | 4137-03 | Upgrade WWTP | 1500000 | WC | TBA
88 | BLOOMER, CITY OF | 4317-08 | Upgrade WWTP and New Septage Receiving Station | 2893000 | WC | TBA
88 | BLOOMER, CITY OF | 4317-09 | Replace Lift Station #1 | 3000000 | WC | TBA
87 | AUGUSTA, CITY OF | 4545-08 | Automate Phosphorus Removal Processes | 300000 | WC | TBA
87 | ELLSWORTH, VILLAGE OF | 4170-05 | Upgrade WWTP for Phos Removal & Centrate Treatment | 4500000 | WC | TBA
87 | ST. JOSEPH SD #1 | 4954-02 | Update WWTP - Add Tertiary Treatment & Improve Sludge Storage | 3200000 | WC | TBA
87 | ST. JOSEPH SD #1 | 4954-03 | Install Chemical Feed System | 250000 | WC | TBA
87 | YORKVILLE, VILLAGE OF | 4470-06 | Install New UV Disinfection at WWTP | 593000 | SE | Binder
86 | HILLSBORO, CITY OF | 4549-07 | Upgrade WWTP | 11200000 | WC | TBA
86 | KIELER SD #1 | 4394-08 | Install New WWTF | 6650000 | SC | Zettl
85 | ELK MOUND, VILLAGE OF | 4041-06 | Upgrade WWTP for Phosphorus Compliance & Replace Aging Systems | 6000000 | WC | TBA
85 | ELK MOUND, VILLAGE OF | 4041-07 | Construct Chem Feed System for P Compliance | 600000 | WC | TBA
85 | FREEDOM SD #1 | 4487-06 | Upgrade WWTP - TSS Compliance & Sludge Handling | 11500000 | NE | Hannes
85 | GENOA CITY, VILLAGE OF | 4281-02 | Wastewater Treatment Plant Improvements | 10560000 | SE | Binder
84 | BLACK CREEK, VILLAGE OF | 4332-06 | Upgrade WWTP - Phosphorus Compliance | 25000000 | NE | Hannes
84 | BROOKLYN, VILLAGE OF | 4662-10 | Upgrade WWTF - Construct New Disinfection Facilities | 2000000 | SC | Zettl
84 | CASHTON, VILLAGE OF | 4548-09 | Upgrade WWTP | 6500000 | WC | TBA
84 | GREEN BAY MSD | 4198-65 | Replace Pump Station, Headworks & Grit Removal - GBF | 75000000 | NE | Hannes | Yes
84 | GREEN BAY MSD | 4198-69 | Construct Sludge Storage Tanks - GBF | 19000000 | NE | Hannes | Yes
84 | GREEN BAY MSD | 4198-10 | Replace South Plant RAS & WAS Pumps - Green Bay Facility | 6500000 | NE | Hannes | Yes
84 | HILBERT, VILLAGE OF | 4201-09 | Upgrade WWTP - Tertiary Treatment Building | 6650000 | NE | Hannes
84 | IRON RIDGE, VILLAGE OF | 4727-14 | Upgrade WWTP - Phase 3 | 3580000 | SC | Zettl
84 | JAMESTOWN SD #3 | 4257-03 | Upgrade WWTP | 2000000 | SC | Zettl
84 | ROXBURY SD #1 | 4418-04 | Upgrade WWTP- Rehab Septic Tanks; Install Non-Potable Well | 343700 | SC | Zettl
83 | CHELSEA SD | 4291-04 | Upgrade WWTP - Sand Filter, Pumps, Phosphorus Removal, etc. | 2446000 | NO | Andruczyk
83 | GRAFTON, VILLAGE OF | 4454-19 | Construct Upgrades to Biosolids Processing & WAS Processing/Storage | 7400000 | SE | Binder
83 | LODI, CITY OF | 4461-03 | WWTP Upgrade | 50000000 | SC | Zettl
83 | LODI, CITY OF | 4461-07 | Construct New WWTF | 60000000 | SC | Zettl
82 | GRESHAM, VILLAGE OF | 5501-05 | Upgrade WWTP - Phosphorus Compliance | 1500000 | NE | Hannes
82 | HEWITT, VILLAGE OF | 4097-05 | Upgrade WWTP for Phosphorus Treatment | 500000 | WC | TBA
82 | LA CROSSE, CITY OF | 4105-09 | Upgrade UV Disinfection System | 7000000 | WC | TBA | Yes
82 | POTTER, VILLAGE OF | 5102-03 | Upgrade WWTP - Construct Chemical Feed Facility/Phosphorus | 200000 | NE | Hannes
82 | POTTER, VILLAGE OF | 5102-05 | Upgrade WWTP - UV Disinfection, Automatic Sampler, Flow Meter | 750000 | NE | Hannes
81 | BEAR CREEK, VILLAGE OF | 4520-04 | Improve WWTF (Headworks & Secondary Treatment Facilities) | 10000000 | NE | Hannes
81 | POPLAR, VILLAGE OF | 4304-03 | Upgrade WWTP - New Permit Limits & Replace Aging Infrastructure | 4600000 | NO | Andruczyk
80 | BEAVER DAM, CITY OF | 4377-14 | WWTP Upgrade | 10000000 | SC | Zettl
80 | CATAWBA, VILLAGE OF | 4293-04 | Upgrade Wastewater Treatment System | 2303487 | NO | Andruczyk
80 | GERMANTOWN, VILLAGE OF | 5699-01 | Upgrade Lift Stations - Old Farm & Main St | 15267400 | SE | Binder | Yes
80 | KENNAN, VILLAGE OF | 4294-04 | Upgrade Wastewater Treatment System | 2303487 | NO | Andruczyk
80 | STITZER SD | 5561-01 | Upgrade WWTP – Phosphorus Removal, Effluent Valves | 2750000 | SC | Zettl
79 | BAGLEY, VILLAGE OF | 4401-03 | Upgrade WWTP for Phosphorus Removal & UV Disinfection | 5500000 | SC | Zettl
79 | JEFFERSON, CITY OF | 4510-20 | Construct New WWTP | 146500000 | SC | Zettl
79 | JEFFERSON, CITY OF | 4510-14 | Upgrade WWTP Unit Processes | 151000000 | SC | Zettl
79 | JEFFERSON, CITY OF | 4510-15 | Upgrade WWTP - Biosolids & Unit Processes | 17500000 | SC | Zettl
79 | JEFFERSON, CITY OF | 4510-13 | Upgrade Biosolids Treatment and Processing | 30000000 | SC | Zettl
79 | JEFFERSON, CITY OF | 4510-17 | Upgrade WWTP for Phosphorus Compliance | 40000000 | SC | Zettl
79 | MARIBEL, VILLAGE OF | 4615-04 | Rehab WWTP & Upgrade Primary Treatment | 4595000 | NE | Hannes
79 | MARIBEL, VILLAGE OF | 4615-05 | Rehab WWTP & Add Tertiary Treatment | 4068000 | NE | Hannes
79 | MARIBEL, VILLAGE OF | 4615-06 | Construct New WWTP with Tertiary Treatment | 5433000 | NE | Hannes
79 | PHELPS SD NO. 1 | 4489-04 | Upgrade WWTP | 2480100 | NO | Andruczyk
79 | VIROQUA, CITY OF | 4052-13 | Upgrade WWTP | 500000 | WC | TBA
78 | BENTON, VILLAGE OF | 4254-05 | WWTP Improvements | 5000000 | SC | Zettl
78 | DEERFIELD, VILLAGE OF | 4743-02 | WWTP Improvements | 5250000 | SC | Zettl
78 | INDEPENDENCE, CITY OF | 5106-07 | Construct New WWTP at Existing Site | 10000000 | WC | TBA
78 | MORRISON SD #1 | 4116-03 | Install Chemical Feed System for Phosphorus Removal | 300000 | NE | Hannes
78 | RICE LAKE, CITY OF | 4451-03 | Construct Stormwater Infiltration Basin - Coleman St | 575700 | NO | Andruczyk
77 | ELROY, CITY OF | 4369-13 | Upgrade WWTP | 9000000 | WC | TBA
77 | FRIESLAND, VILLAGE OF | 5105-02 | Upgrade WWTF - Aeration and Phosphorus Reduction | 4200000 | SC | Zettl
77 | MERCER SD #1 | 4302-02 | Upgrade WWTP | 5000000 | NO | Andruczyk
77 | NEW LISBON, CITY OF | 4036-07 | Upgrade WWTP | 1500000 | WC | TBA
77 | POTOSI, VILLAGE OF | 4140-04 | WWTP Upgrade | 11800000 | SC | Zettl
77 | TENNYSON, VILLAGE OF | 4605-05 | WWTP Upgrade | 3800000 | SC | Zettl
76 | CURTISS, VILLAGE OF | 4099-10 | Upgrade Aging WWTP | 14405500 | WC | TBA
76 | HIGHLAND, VILLAGE OF | 4390-06 | Upgrade WWTP for Phosphorus Compliance/Add Sludge Storage System | 4500000 | SC | Zettl
76 | OSHKOSH, CITY OF | 4130-17 | Upgrade WWTP - Construct Tertiary Filtration for Phosphorus | 44380005 | NE | Hannes | Yes
76 | REEDSVILLE, VILLAGE OF | 4512-06 | Upgrade WWTP - Entire Treatment Train | 3500000 | NE | Hannes
75 | BARRON, CITY OF | 4013-11 | Upgrade WWTF - Phase 2 | 700000 | NO | TBA
75 | BLUFFVIEW SD | 5348-03 | Upgrade WWTF | 2000000 | SC | Zettl
75 | CAMERON, VILLAGE OF | 4216-12 | Upgrade WWTP - Phase 2 | 700000 | NO | TBA
75 | HAMMOND, VILLAGE OF | 4346-02 | Upgrade WWTP | 8718090 | WC | TBA
75 | HEART OF THE VALLEY MSD | 4380-10 | Rehabilitate Headworks Facility | 4000000 | NE | Hannes | Yes
75 | HORICON, CITY OF | 4628-22 | Upgrade WWTF | 39837280 | SC | Zettl
75 | IRON RIVER SD #1 | 4296-04 | Upgrade WWTP and Main Lift Station | 6000000 | NO | Andruczyk
74 | ARENA, VILLAGE OF | 4599-06 | Upgrade WWTP | 2200000 | SC | Zettl
74 | BARNEVELD, VILLAGE OF | 4763-04 | Upgrade UV System | 1000000 | SC | Zettl
74 | BLACK EARTH, VILLAGE OF | 4358-07 | Upgrade Dane-Iowa WWTP | 2900000 | SC | Zettl
74 | LAKE DELTON, VILLAGE OF | 5036-21 | Upgrade WWTP | 7118362 | SC | Zettl
74 | MAZOMANIE, VILLAGE OF | 4144-06 | Upgrade WWTP | 1000000 | SC | Zettl
74 | PLOVER, VILLAGE OF | 4720-04 | WWTP Upgrade | 27300000 | WC | Andruczyk
74 | STURGEON BAY, CITY OF | 4027-10 | Improve Hauled-in Waste Acceptance & Treatment | 4000000 | NE | Hannes
74 | STURGEON BAY, CITY OF | 4027-11 | Constr Biosolids Receiving Holding Tank,Sludge Pumping,Clarifier Rehab | 4000000 | NE | Hannes
74 | STURGEON BAY, CITY OF | 4027-08 | Aeration System Improvements | 6009871 | NE | Hannes
74 | WISCONSIN DELLS, CITY OF | 4151-12 | Upgrade WWTP | 4179686 | SC | Zettl
73 | BLOOMINGTON, VILLAGE OF | 4601-08 | WWTP Improvements | 5500000 | SC | Zettl
72 | ADAMS, CITY OF | 4211-06 | Upgrade WWTP | 25000000 | WC | TBA
72 | ARLINGTON, VILLAGE OF | 4519-02 | Upgrade WWTP - Septic Tanks, Electrical, Process Equip, etc | 1500000 | SC | Zettl
72 | ARLINGTON, VILLAGE OF | 4519-05 | Replace/Upgrade WWTP | 4500000 | SC | Zettl
72 | FOND DU LAC, CITY OF | 4028-23 | Fond du Lac WTRRF Admin Building Renovation | 7000000 | NE | Hannes | Yes
72 | FOND DU LAC, CITY OF | 4028-21 | Install Pressure Wing Adsorption (PSA) System | 13000000 | NE | Hannes | Yes
72 | FOND DU LAC, CITY OF | 4028-20 | Upgrade WWTP - Add Biosolids Drying Equip & Storage | 17500000 | NE | Hannes | Yes
72 | LAKE TOMAHAWK SD #1 | 4414-01 | Upgrade WWTP - Chemical Feed | 3100000 | NO | Andruczyk
72 | OMRO, CITY OF | 5032-08 | Upgrade WWTP | 2000000 | NE | Hannes
72 | PORTAGE, CITY OF | 4248-14 | Upgrade WWTP - Phosphorus, Upgrade Equip, Add Biosolids Drying | 55000000 | SC | Zettl
71 | DORCHESTER, VILLAGE OF | 4020-09 | Upgrade WWTP | 5000000 | WC | TBA
71 | NORTH LAKE POYGAN SD | 5227-02 | Construct Chemical Feed Facilities for Phosphorus | 400000 | NE | Hannes
70 | ALBANY, VILLAGE OF | 4517-10 | Systemwide Sewer Rehabilitation (Lining and Manhole Replacement) | 699800 | SC | Zettl
70 | CATAWBA, VILLAGE OF | 4293-05 | Upgrade Wastewater Treatment System (Collection System Components) | 2303487 | NO | Andruczyk
70 | EVANSVILLE, CITY OF | 4739-08 | Upgrade WWTP for Aeration Capacity | 2500000 | SC | Andruczyk
70 | KELLY LAKE SD #1 | 4192-03 | Upgrade WWTP - Recirculating Sand Filter to Mechanical Process | 3445000 | NE | Hannes
70 | KENNAN, VILLAGE OF | 4294-05 | Upgrade Wastewater Treatment System (Collection System Components) | 2303487 | NO | Andruczyk
70 | RACINE, CITY OF | 4285-25 | Phase II WWTP Upgrade | 6825000 | SE | Binder | Yes
70 | TWO RIVERS, CITY OF | 4107-67 | 2027 Rehab Sanitary Sewer (Area South of 22nd St & East of Jackson St) | 375000 | NE | Hannes
70 | TWO RIVERS, CITY OF | 4107-68 | 2027 Replace Sanitary Sewer (25th St, River Place, School St) | 800000 | NE | Hannes
70 | WISCONSIN RAPIDS, CITY OF | 4076-09 | Rehab SS on 2nd Ave South and Gaynor Avenue to Lift Station | 6000000 | WC | TBA
69 | MONTELLO, CITY OF | 4089-07 | Rehab WWTF | 5000000 | NE | Hannes
68 | SPARTA, CITY OF | 4005-03 | Upgrade WWTP for Phosphorus Compliance | 17000000 | WC | TBA
68 | UNITY, VILLAGE OF | 4623-04 | Upgrade WWTP Lagoon System | 5000000 | WC | Andruczyk
68 | WHITEHALL, CITY OF | 5141-01 | Upgrade Existing WWTP | 17950000 | WC | TBA
67 | GILMAN, VILLAGE OF | 4752-03 | Upgrade WWTF - Phosphorus Compliance | 2800000 | NO | Andruczyk
67 | GILMAN, VILLAGE OF | 4752-04 | Rehab WWTF - Replace Aging Equipment | 60000 | NO | Andruczyk
67 | GILMAN, VILLAGE OF | 4752-05 | Construct New Land Application Effluent Disposal System | 5200000 | NO | Andruczyk
67 | MILWAUKEE MSD | 3326-01 | Replace SS Blower Branch Piping S02017C01 | 4000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3323-01 | Improve HVAC System - Buildings 378 & 380 (S06050) | 4000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3308-01 | Replace SS Bldg Roof PH V S06048C01 | 2006000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3303-01 | Replace SS Grit Equipment S01015C01 | 10000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3314-01 | Install SS Digester Mixing PH II - Digesters 9 & 11 | 25500000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3330-01 | Improve W3 Flushing Water System Fire Flow S06053C01 | 2200000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3319-01 | Rehab Walkways of Secondary Clarifiers 1,2,3,&4 (S06055) | 3000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3306-01 | Install SS Disinfection Process Improvements S03005C01 | 64000000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3337-01 | DAF and DAF Support Systems Rehabilitation at South Shore WRF (S04042) | 2500000 | SE | Binder | Yes
67 | MILWAUKEE MSD | 3327-01 | Gravity Thickening & Acid Phase Digestion S04039C01 | 25000000 | SE | Binder | Yes
67 | SUPERIOR, CITY OF | 4186-32 | Treat Landfill Leachate to Remove PFAS (EC2) | 5000000 | NO | Andruczyk | Yes
67 | TWO RIVERS, CITY OF | 4107-63 | Replace WWTP Utility Tunnel | 400000 | NE | Hannes
66 | JUNCTION CITY, VILLAGE OF | 4588-06 | Improve WWTP - New Equipment, Chem Storage/Dosing, SCADA | 3200000 | WC | Andruczyk
66 | MILLADORE, VILLAGE OF | 4723-04 | Upgrade WWTP - Chem Addition for Phosphorus Removal | 295590 | WC | TBA
66 | REWEY, VILLAGE OF | 5663-04 | WWTP Outfall Replacement | 212000 | SC | Zettl
66 | REWEY, VILLAGE OF | 5663-02 | WWTP Improvements | 2122000 | SC | Zettl
65 | BAGLEY, VILLAGE OF | 4401-05 | Replace SS - Jackley Lane, Walnut & Chicago Street | 935000 | SC | Zettl
65 | BENTON, VILLAGE OF | 4254-04 | WWTP Interceptor (Highway 11 to WWTF) | 300000 | SC | Zettl
65 | BROCKWAY SD #1 | 5636-01 | Replace Force Main - Lincoln Street | 511030 | WC | TBA
65 | BRODHEAD, CITY OF | 4141-13 | Upgrade WWTF | 2500000 | SC | Zettl
65 | CALEDONIA, VILLAGE OF | 4551-18 | Construct Attenuation Basin - Central Lift Station | 25460000 | SE | Binder | Yes
65 | CASCADE, VILLAGE OF | 4160-05 | Upgrade WWTP - Phase 2 | 6060000 | SE | Binder
65 | CASSVILLE, VILLAGE OF | 4095-13 | Replace Sanitary Sewer Bluff, Fredrick and Denniston Street | 1291200 | SC | Zettl
65 | CASSVILLE, VILLAGE OF | 4095-14 | Replace Sanitary Sewer along S.T.H. '133' (C.T.H. 'VV' to Forest Lane) | 5500000 | SC | Zettl
65 | DODGEVILLE, CITY OF | 4464-09 | Water Quality Trading - Streambank Restoration | 1000000 | SC | Zettl
65 | DUNN SD #1 | 4404-02 | Rehab Sanitary Sewer and Upgrade Lift Stations | 3098000 | SC | Zettl
65 | FERRYVILLE, VILLAGE OF | 4313-05 | Replace Sanitary Sewer - STH 35 | 1400000 | WC | Zettl
65 | LAKE PEWAUKEE SD | 4659-02 | Construct new LS#13 & Expand HQ Building | 13826306 | SE | Binder
65 | MARSHFIELD, CITY OF | 4053-08 | Install Redundant Force Main -Northeast Pump Station | 7910000 | WC | TBA
65 | MARSHFIELD, CITY OF | 4053-10 | Rehab/Replace Force Main - Northeast Pumping Station | 1000000 | WC | TBA
65 | MILWAUKEE MSD | 3290-01 | Install JI Aeration System Improvements J02012C01 | 4500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3329-01 | Replace Dryer Exhaust Duct Header J04057 | 14500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3325-01 | Replace Process Air Compressor (J02016) | 33000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3299-01 | Install JI HVAC Improvements-Bldgs 234, 235, 243 & 256 J06083C01 | 15000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3291-01 | Install JI Disinfection System Improvements J03006 | 36000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3331-01 | Upgrade D&D Ferric Chloride & Polymer System J04084C01 | 3400000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3310-01 | Install JI Preliminary Treatment Facility Odor Control J01030C01 | 10500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3340-01 | Rehabilitate Building 280 - J06099C01 | 9800000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3332-01 | Replace Feeder Cables J06094C01 | 13500000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3333-01 | Install JI Chaff System Improvements - Phase 2 J04064C02 | 20000000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3320-01 | Upgrade HVAC at D&D Facility | 18200000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3338-01 | ISS Pump VFD Replacements J01032 | 10600000 | SE | Binder | Yes
65 | MILWAUKEE MSD | 3339-01 | Primary Sludge Pumping and Scum Processing Equipment J01031 | 7300000 | SE | Binder | Yes
65 | MILWAUKEE, CITY OF | 4428-34 | Rehab or Replace Sanitary Sewers | 8737000 | SE | Binder | Yes
65 | PRAIRIE DU SAC, VILLAGE OF | 4885-04 | Upgrade WWTP | 360000 | SC | Zettl
65 | RACINE, CITY OF | 4285-28 | Install North Main and Goold Conveyance Facility | 36225000 | SE | Binder | Yes
65 | SALEM LAKES, VILLAGE OF | 5596-07 | Valmar Sewer Improvements Project (new grinders) | 6500000 | SE | Binder
65 | SAUK CITY, VILLAGE OF | 5696-02 | Upgrade WWTP - Emergency Generator, Influent Pumps, SCADA, Electrical | 360000 | SC | Zettl
65 | SEXTONVILLE SD | 4064-04 | Upgrade Lift Station - CTH BA and CTH B | 1250000 | SC | Zettl
65 | SOUTH MILWAUKEE, CITY OF | 4468-08 | Construct Ravine Lift Station Siphon | 4000000 | SE | Binder | Yes
65 | STITZER SD | 5561-03 | Rehab/Replace Sanitary Sewer & Manholes | 550000 | SC | Zettl
65 | TWO RIVERS, CITY OF | 4107-65 | Rehab Sanitary Sewer 2026 - Numerous Streets | 1000000 | NE | Hannes
65 | TWO RIVERS, CITY OF | 4107-64 | 2026 Replace Sanitary Sewer Laterals | 1600000 | NE | Hannes
65 | TWO RIVERS, CITY OF | 4107-66 | 2027 Replace Sanitary Sewer Laterals | 1180000 | NE | Hannes
65 | WALWORTH COUNTY MSD | 4288-15 | Rehabilitate Force Main - Phase 1 | 2200000 | SE | Binder
64 | CAZENOVIA, VILLAGE OF | 5417-03 | Modify WWTP for Capacity and Phosphorus | 8000000 | SC | Zettl
64 | CLARK COUNTY | 4167-04 | Upgrade Lagoon Treatment System and Construct MBBR | 4875000 | WC | TBA
64 | CLARK COUNTY | 4167-03 | Construct New Mechanical WWTF | 5460000 | WC | TBA
64 | COLFAX, VILLAGE OF | 5413-03 | Construct Chemical Storage Building | 510000 | WC | TBA
64 | DALLAS, VILLAGE OF | 4110-05 | WWTP Upgrade | 2500000 | NO | Andruczyk
64 | DALLAS, VILLAGE OF | 4110-08 | Upgrade WWTF - Phosphorus Compliance | 1617000 | NO | TBA
64 | EAU CLAIRE, CITY OF | 4176-07 | Upgrade Headworks and Preliminary Treatment | 21000000 | WC | TBA | Yes
64 | EPHRAIM, VILLAGE OF | 5216-05 | WWTP Improvements | 5628704 | NE | Hannes
64 | EPHRAIM, VILLAGE OF | 5216-06 | Upgrade WWTP - Phase 2 | 6000000 | NE | Hannes
64 | FARMINGTON SD TOWN OF (FORMER MINDORO) | 4506-08 | Upgrade WWTP for Phosphorus Compliance | 1400000 | WC | TBA
64 | GREENLEAF, VILLAGE OF | 5337-05 | Upgrade WWTP - Tertiary Treatment for P Compliance | 4900000 | NE | Hannes
64 | HAZEL GREEN, VILLAGE OF | 4421-05 | Upgrade WWTP | 5700000 | SC | Zettl
64 | SHEBOYGAN, CITY OF | 4019-24 | Upgrade WWTP - UV Disinfection | 7780000 | SE | Binder | Yes
64 | SISTER BAY, VILLAGE OF | 5415-05 | Upgrade WWTP - Oxidation Ditch, Sludge Pump, Effluent Reuse | 3000000 | NE | Hannes
64 | SISTER BAY, VILLAGE OF | 5415-06 | Upgrade WWTP - Reed Beds Addition | 5000000 | NE | Hannes
64 | SISTER BAY, VILLAGE OF | 5415-07 | Upgrade WWTP - Sludge Drying Facility | 17800000 | NE | Hannes
64 | TAYLOR, VILLAGE OF | 4715-07 | Replace Control Structures and Associated Piping/Valves | 224000 | WC | TBA
64 | WHEELER, VILLAGE OF | 4367-04 | Upgrade Aeration Equipment and Controls at WWTP | 2500000 | WC | TBA
63 | COON VALLEY, VILLAGE OF | 4722-08 | WWTP Upgrade | 1500000 | WC | TBA
63 | ONTARIO, VILLAGE OF | 4423-02 | Upgrade WWTP - Add Chem Phosphorus Removal; Sludge Handling | 500000 | WC | TBA
63 | PRESCOTT, CITY OF | 4061-13 | Construct New WWTP | 33000000 | WC | TBA
63 | TIGERTON, VILLAGE OF | 4716-07 | Upgrade WWTP - Final Clarifier, SCADA, HVAC, Electricals | 1500000 | NE | Hannes
63 | VALDERS, VILLAGE OF | 4327-02 | Upgrade to WWTP | 2800000 | NE | Hannes
62 | ASHLAND, CITY OF | 4525-28 | WWTP Solids Handling Improvements | 3000000 | NO | Andruczyk
62 | ASHLAND, CITY OF | 4525-27 | WWTP Improvements (Headworks and Oxidation Ditch) | 2000000 | NO | Andruczyk
62 | BAILEYS HARBOR, TOWN OF | 4193-03 | Upgrade WWTF | 1500000 | NE | Hannes
62 | LAKE WAPOGASSET / BEAR TRAP LAKE SD | 5698-01 | Upgrade WWTP | 5000000 | NO | Andruczyk
62 | MAIDEN ROCK, VILLAGE OF | 5681-01 | Improve WWTP and UV Disinfection | 593540 | WC | TBA
62 | PRESCOTT, CITY OF | 4061-14 | WWTP Improvements | 32000000 | WC | TBA
62 | ROCKLAND, VILLAGE OF | 4011-02 | Improvements - WWTP | 7000000 | WC | TBA
62 | SOUTH MILWAUKEE, CITY OF | 4468-11 | Upgrade Influent Lift Station (LS#6) & Fine Screening Building | 3050000 | SE | Binder | Yes
62 | TREMPEALEAU, VILLAGE OF | 4485-09 | Upgrade Phosphorus Chemical Treatment System | 170000 | WC | TBA
62 | TREMPEALEAU, VILLAGE OF | 4485-08 | Upgrade Biological Phosphorus Treatment System | 230000 | WC | TBA
61 | ARCADIA, CITY OF | 4667-15 | Upgrade Aeration System & Baffles - Ponds #1 & #2 | 3000000 | WC | TBA
61 | DARLINGTON, CITY OF | 4366-10 | WWTP Improvements | 6700000 | SC | Zettl
61 | DRUMMOND SD #1 | 5350-02 | Purchase WWTP Land from USDA-FS | 350000 | NO | Andruczyk
61 | FAIRCHILD, VILLAGE OF | 4388-06 | Replace Black Creek Lift Station (LS#6) | 800000 | WC | TBA
61 | GENOA, VILLAGE OF | 4672-06 | WWTP Improvements | 2750000 | WC | TBA
61 | HOLLANDALE, VILLAGE OF | 4044-06 | Upgrade WWTP | 6000000 | SC | Zettl
61 | OGEMA SD #1 | 4098-04 | Lagoon Cover Replacement Project | 750000 | NO | Andruczyk
61 | VIOLA, VILLAGE OF | 5293-04 | Install Phosphorus Removal System & Improve Lagoon Treatment | 3850000 | SC | Zettl
60 | ASHLAND, CITY OF | 4525-29 | Replace Sewer Jetter Truck | 750000 | NO | Andruczyk
60 | BUTTERNUT, VILLAGE OF | 5482-06 | Install Influent & Effluent Flow Meters | 190000 | NO | Andruczyk
60 | BUTTERNUT, VILLAGE OF | 5482-07 | Upgrade Influent & Effluent Lift Stations | 2050000 | NO | Andruczyk
60 | CENTURIA, VILLAGE OF | 4580-05 | Replace WWTF Lift Station | 650000 | NO | Andruczyk
60 | KINGSTON, VILLAGE OF | 5271-07 | Upgrade WWTP for Phosphorus Compliance | 2549000 | NE | Hannes
60 | MADELINE SD | 4578-03 | Upgrade WWTP | 4580000 | NO | Andruczyk
60 | NORTH BEND SD #1 | 5602-01 | Upgrade WWTP - Improve Stabilization Ponds | 275000 | WC | TBA
60 | NORTH BEND SD #1 | 5602-03 | Install New Generator at Main Lift Station | 250000 | WC | TBA
60 | PARDEEVILLE, VILLAGE OF | 4373-06 | Upgrade WWTP - Influent L.S., Lagoon Aeration System, SCADA | 1500000 | SC | Zettl
60 | PRAIRIE DU CHIEN, CITY OF | 4174-08 | Replace Aeration Piping & Upgrade for Phosphorus Removal | 12650000 | WC | Zettl
60 | RICHMOND SD #1 - ST CROIX | 4171-09 | Upgrade WWTP - New Liner for Pond & Flow Meters | 845500 | WC | TBA
60 | SCANDINAVIA, VILLAGE OF | 4711-13 | Upgrade Lagoon and Replace Lift Station | 2501000 | NE | Hannes
60 | WEBSTER, VILLAGE OF | 4004-02 | Upgrade WWTP - Phosphorus Removal | 2000000 | NO | TBA
60 | WOODVILLE, VILLAGE OF | 5222-02 | WWTP Improvements | 8000000 | WC | TBA
59 | BOSCOBEL, CITY OF | 4154-05 | Improve WWTP - Upgrade/Replace Aging Components | 4400000 | SC | Zettl
59 | MAINE, VILLAGE OF | 5669-04 | WWTP Upgrade | 4663000 | WC | Andruczyk
59 | NEILLSVILLE, CITY OF | 4169-04 | Rehab WWTP and Main Lift Station | 15000000 | WC | TBA
59 | NEW LONDON, CITY OF | 4704-05 | Upgrade WWTP to meet Phosphorus Limits | 66000000 | NE | Hannes
59 | PESHTIGO, CITY OF | 4122-08 | Upgrade WWTP - Screening, Grit, Clarifiers, Phosphorus & Sludge | 5600000 | NE | Hannes
59 | SPRING GREEN, VILLAGE OF | 4664-02 | Upgrade WWTP - Headworks, Final Clarifier, Digesters, Pumping, UV | 10000000 | SC | Zettl
59 | WESTFIELD, VILLAGE OF | 4002-11 | Improve Lift Station - Screening, Pumps, Valves, Electricals, HVAC | 1598000 | NE | Hannes
59 | WHITING, VILLAGE OF | 4676-04 | Upgrade Sludge Processing | 700000 | WC | Andruczyk
58 | BELL SD #1 | 5627-01 | Wastewater Receiving Station | 3800000 | NO | Andruczyk
58 | GIBBSVILLE SD | 4958-02 | Upgrade WWTP, Add Screening, & Achieve Phosphorus Compliance | 5000000 | SE | Binder
58 | GRATIOT, VILLAGE OF | 4359-05 | Upgrade WWTP for Phosphorus Compliance | 2600000 | SC | Zettl
58 | SOLDIERS GROVE, VILLAGE OF | 4360-11 | Upgrade WWTP - Phase 2 | 5500000 | WC | Zettl
57 | CRIVITZ, VILLAGE OF | 4086-08 | Upgrade WWTP | 9500000 | NE | Hannes
57 | ELK MOUND, VILLAGE OF | 4041-08 | Water Quality Trading - Streambank Restoration | 2000000 | WC | TBA
57 | ELLSWORTH, VILLAGE OF | 4170-12 | Water Quality Trading - Streambank Stabilization | 500000 | WC | TBA
57 | GAYS MILLS, VILLAGE OF | 4172-08 | Construct New Treatment Facility & Main Lift Station | 12000000 | WC | Zettl
56 | CASSVILLE, VILLAGE OF | 4095-16 | Upgrade WWTP - Recirculating Sand Filter, Effluent Filter, etc. | 3300000 | SC | Zettl
56 | DE SOTO, VILLAGE OF | 4434-04 | Replace Aging WWTP | 3553000 | WC | Zettl
56 | MARSHFIELD, CITY OF | 4053-07 | Construct Braem Park Wet Detention Basin | 1188500 | WC | TBA
56 | WHITEWATER, CITY OF | 4558-10 | Construct Underground Wet Detention Basin - Starin Park | 4092000 | SE | Binder
55 | ARGYLE, VILLAGE OF | 4090-04 | Install Chem Feed for Phosphorus Removal | 1000000 | SC | Zettl
55 | ASHLAND, CITY OF | 4525-30 | Replace Sanitary Sewer - 16th St E to 20th St E | 500000 | NO | Andruczyk
55 | BEAVER DAM, CITY OF | 4377-15 | Replace Sanitary Sewer - Front & Beaver Streets | 867584 | SC | Zettl
55 | BOSCOBEL, CITY OF | 4154-06 | Replace Sanitary Sewer - Wisconsin Ave, Parker and Brindley St | 3200000 | SC | Zettl
55 | BOYD, VILLAGE OF | 5097-02 | Replace SS - Patten & St John Street | 1258500 | WC | TBA
55 | CAMERON, VILLAGE OF | 4216-11 | Replace Sanitary Sewer - Sunnyside Ave and 1st St Alley | 1200000 | NO | TBA
55 | EDGERTON, CITY OF | 4483-20 | Replace Sanitary Sewer along Washington Street | 800000 | SC | Zettl
55 | FALL CREEK, VILLAGE OF | 4546-08 | Sewer Reconstruction on E.Tyler Ave, White St, and E Truman Ave | 800000 | WC | TBA
55 | HAYWARD, CITY OF | 4037-09 | Replace Sanitary Sewer - Beal Ave, Davis Ave, Railroad | 570000 | NO | Andruczyk
55 | PHILLIPS, CITY OF | 4436-06 | Replace Sanitary Sewer - Avon Ave | 1000000 | NO | Andruczyk
55 | PLYMOUTH SD #1 | 5592-01 | Upgrade Main Lift Station, Rehab Sanitary Sewers | 1471370 | SC | Zettl
55 | RICE LAKE, CITY OF | 4451-05 | Construct Wet Pond - Short Street | 275000 | NO | TBA
55 | SOUTH MILWAUKEE, CITY OF | 4468-12 | Rehab SS within District 3 | 1600000 | SE | Binder | Yes
55 | WAUZEKA, VILLAGE OF | 4361-07 | Replace Sanitary Sewer - S Dousman St | 847000 | WC | Zettl
53 | ROZELLVILLE SD #1 | 5615-02 | Water Quality Trading - Streambank Restoration | 500000 | WC | Andruczyk
52 | WESTON, VILLAGE OF | 5685-01 | Construct WisDOT ROW Wet Detention Basin | 3107400 | WC | Andruczyk
51 | BAGLEY, VILLAGE OF | 4401-06 | Water Quality Trading - Streambank Stabilization | 385000 | SC | Zettl
51 | CURTISS, VILLAGE OF | 4099-12 | Water Quality Trading - Streambank Stabilization | 500000 | WC | TBA
50 | ABBOTSFORD, CITY OF | 4505-10 | Replace Sanitary Sewer - N 5th Street | 550000 | WC | TBA
50 | ADAMS COUNTY | 5691-01 | Construct Landfill Leachate Treatment System to Remove PFAS (EC2) | 7000000 | WC | TBA | Yes
50 | ALMA, CITY OF | 5103-04 | Replace Sanitary Sewer - River Street | 480000 | WC | TBA
50 | ANTIGO, CITY OF | 4075-10 | Replace Sanitary Sewer - Hudson St & Pearl St | 607000 | NO | Andruczyk
50 | ARENA, VILLAGE OF | 4599-07 | Upgrade Main Lift Station | 615000 | SC | Zettl
50 | ARENA, VILLAGE OF | 4599-08 | Rehabiliate Sanitary Sewer and Primary Lift Station | 500000 | SC | Zettl
50 | ARLINGTON, VILLAGE OF | 4519-08 | Replace Sanitary Sewer Mains & Service Laterals - Reagles Street | 500000 | SC | Zettl
50 | ASHLAND, CITY OF | 4525-26 | Improve Main Lift Station & Turner Rd Lift Station | 526000 | NO | Andruczyk
50 | AUGUSTA, CITY OF | 4545-09 | Replace Sanitary Sewers - Baldwin St Area | 2125000 | WC | TBA
50 | AUGUSTA, CITY OF | 4545-10 | Construct New Lift Station - Spring St; Replace SS - Main St | 800000 | WC | TBA
50 | BARRON, CITY OF | 4013-08 | Improve Main Lift Station - 14th St | 5206790 | NO | Andruczyk
50 | BARRON, CITY OF | 4013-09 | Replace Lift Station - Lake St | 600000 | NO | Andruczyk
50 | BARRON, CITY OF | 4013-10 | Replace SS - LaSalle Ave, 3rd,4th,5th,6th Street | 1500000 | NO | TBA
50 | BAYFIELD, CITY OF | 4080-08 | Replace Sanitary Sewer-Manypenny, 9th, Rittenhouse, 7th, 6th, 5th, 4th | 2400000 | NO | Andruczyk
50 | BEAVER DAM, CITY OF | 4377-13 | Replace Sanitary Sewer - Madison St (Curie St to Chatam St) | 3190385 | SC | Zettl
50 | BEAVER DAM, CITY OF | 4377-16 | Replace Sanitary Sewer - Madison St (Chatham St to Rowell St) | 4200000 | SC | Zettl
50 | BEAVER DAM, CITY OF | 4377-17 | Rehab East Side Interceptor - MH X16 to MH T1 | 9000000 | SC | Zettl
50 | BIRNAMWOOD, VILLAGE OF | 4191-05 | Line and Replace Sanitary Sewer | 1395625 | NE | Hannes
50 | BLACK EARTH, VILLAGE OF | 4358-05 | Replace Sanitary Sewer - Multiple Streets | 2000000 | SC | Zettl
50 | BLACK EARTH, VILLAGE OF | 4358-09 | Upgrade Center Street Lift Station | 788000 | SC | Zettl
50 | BLACK EARTH, VILLAGE OF | 4358-08 | Upgrade Stephanie Court Lift Station | 788000 | SC | Zettl
50 | BLACK EARTH, VILLAGE OF | 4358-06 | Upgrade Main Lift Station | 750000 | SC | Zettl
50 | BLANCHARDVILLE, VILLAGE OF | 5578-05 | Replace Sanitary Sewer - State Highway 78 | 1000000 | SC | Zettl
50 | BLOOMER, CITY OF | 4317-07 | Replace Lift Station #2 | 2000000 | WC | TBA
50 | BLUE MOUNDS, VILLAGE OF | 4447-04 | Replace Sanitary Sewer - Mounds Rd | 1000000 | SC | Zettl
50 | BLUE RIVER, VILLAGE OF | 4374-05 | Replace Sanitary Sewer - Jay, Lake, and Main St | 857000 | SC | Zettl
50 | BLUFFVIEW SD | 5348-05 | Upgrade Lift Station #3 | 600000 | SC | Zettl
50 | BLUFFVIEW SD | 5348-04 | Rehabilitate Sanitary Sewer - District | 400000 | SC | Zettl
50 | BRAZEAU SD #1 | 4410-05 | Rehab Sanitary Sewer & Manholes | 2663010 | NE | Hannes
50 | BRODHEAD, CITY OF | 4141-12 | Upgrade Sanitary Sewer - 12th St Area | 1869702 | SC | Zettl
50 | BRULE SD | 4463-02 | Replace SS, Construct Lift Station & Forcemain on Highway 27 | 350000 | NO | Andruczyk
50 | CAMBRIA, VILLAGE OF | 4724-06 | Sewer Reconstruction on E. Edgewater St. (HWY P) | 2082300 | SC | Zettl
50 | CAMPBELL, TOWN OF | 5412-07 | Rehab Sanitary Sewer - 2025 Priority A | 560000 | WC | TBA
50 | CENTURIA, VILLAGE OF | 4580-04 | Replace 8th Street Lift Station | 500000 | NO | Andruczyk
50 | CHELSEA SD | 4291-05 | Improve Collection System - Manhole/Sewer Rehab, Replace Lift Station Pumps | 327000 | NO | Andruczyk
50 | CLARK COUNTY | 4167-05 | Rehab Collection System - Reduce I/I | 460000 | WC | TBA
50 | CLYMAN, VILLAGE OF | 4626-04 | Replace Sanitary Sewer - 1st Street | 350000 | SC | Zettl
50 | COLEMAN, VILLAGE OF | 4189-07 | Reconstruct Main Street Sanitary Sewers | 2262935 | NE | Hannes
50 | COLFAX, VILLAGE OF | 5413-04 | Sanitary Sewer Replacement - Cedar Street | 425000 | WC | TBA
50 | COON VALLEY, VILLAGE OF | 4722-07 | Sewer Replacement on HWY 14/61 | 778000 | WC | TBA
50 | COON VALLEY, VILLAGE OF | 4722-06 | Replace Sewer on Central/Church/Ander./Hiaw./David./Lier/Laff./Roosev. | 850000 | WC | TBA
50 | CRANDON, CITY OF | 4654-07 | Replace Sanitary Sewer - US Highway 8, Glen St to N Lake St | 2089703 | NO | Andruczyk
50 | CROSS PLAINS, VILLAGE OF | 4417-07 | Replace Sanitary Sewer - Park St (Water St to Wilson St) | 1094000 | SC | Zettl
50 | CUBA CITY, CITY OF | 4420-06 | Replace Sanitary Sewer - Main Street | 255450 | SC | Zettl
50 | CUMBERLAND, CITY OF | 4442-07 | Replace SS - Grove, Comstock, & Babcock Street | 2782000 | NO | TBA
50 | DALLAS, VILLAGE OF | 4110-07 | SS Replacement/Rehab Hardiman,Creek,Market,Lee,Russell,1st,2nd,2nd,4th | 750000 | NO | Andruczyk
50 | DALLAS, VILLAGE OF | 4110-06 | Lift Station Improvements including SCADA | 500000 | NO | Andruczyk
50 | DARIEN, VILLAGE OF | 4276-03 | Replace Sharon Street Lift Station | 1200000 | SE | Binder
50 | DEER PARK, VILLAGE OF | 4484-02 | Replace/Rehab Sanitary Sewers & Manholes | 1124134 | WC | TBA
50 | DICKEYVILLE, VILLAGE OF | 5418-07 | Replace Sanitary Sewer - N Church St | 650000 | SC | Zettl
50 | DODGEVILLE, CITY OF | 4464-05 | Replace Sanitary Sewer - W. Division St | 1990637 | SC | Zettl
50 | DOUSMAN, VILLAGE OF | 4277-09 | Replace SS - Edwards & Tabot St, Franklin, William, Bischel, and Graml | 3600000 | SE | Binder
50 | DURAND, CITY OF | 5638-01 | Replace Sanitary Sewer - Madison Street | 848933 | WC | TBA
50 | EAGLE RIVER, CITY OF | 4079-12 | Rehab Sanitary Sewer - South of the River and East of Railroad Street | 856800 | NO | Andruczyk
50 | EAST TROY, VILLAGE OF | 4278-04 | School Street Lift Station Improvements | 2050000 | SE | Binder
50 | ELKHORN, CITY OF | 4552-12 | Replace Sanitary Sewer - Jefferson Street | 953000 | SE | Binder
50 | ELROY, CITY OF | 4369-08 | Replace Sewers b'twn Western Ave & Wisconsin St under STH71 | 320000 | WC | TBA
50 | ELROY, CITY OF | 4369-14 | Interceptor | 2000000 | WC | TBA
50 | EMBARRASS, VILLAGE OF | 5215-02 | Replace Sanitary Sewer - WI DOT STH 22 | 1900000 | NE | Hannes
50 | EPHRAIM, VILLAGE OF | 5216-04 | Upgrade Lift Station #1 and Replace Lift Station #2 | 2372097 | NE | Hannes
50 | EVANSVILLE, CITY OF | 4739-07 | Replace Lincoln Lift Station | 1300000 | SC | Zettl
50 | FAIRCHILD, VILLAGE OF | 4388-05 | Replace Main Lift Station (LS#2) | 1200000 | WC | TBA
50 | FAIRCHILD, VILLAGE OF | 4388-04 | Upgrade Lift Stations #1, #3, #4, & #5 | 1500000 | WC | TBA
50 | FAIRWATER, VILLAGE OF | 4347-04 | Replace Sanitary Sewer - Main Street | 250000 | NE | Hannes
50 | FARMINGTON SD TOWN OF (FORMER MINDORO) | 4506-10 | Replace Sanitary Sewer - CTH 'DE' North Bound to Lift Station #2 | 35000 | WC | TBA
50 | FENNIMORE, CITY OF | 4702-05 | Replace Sanitary Sewer - 11th and Garfield Street | 400000 | SC | Zettl
50 | FENNIMORE, CITY OF | 4702-06 | Replace Sanitary Sewer - Eisenhower and 11th Street | 370000 | SC | Zettl
50 | FRIESLAND, VILLAGE OF | 5105-03 | Water Quality Trading - Streambank Stabilization | 100000 | SC | Zettl
50 | GALESVILLE, CITY OF | 4038-09 | Replace Sanitary Sewer - West Side - Clark Ave & 6th St | 238810 | WC | TBA
50 | GAYS MILLS, VILLAGE OF | 4172-10 | Expand Collection System from Existing WWTP to New WWTP | 1500000 | WC | Zettl
50 | GENOA, VILLAGE OF | 4672-05 | Replace Water Street Lift Station | 550000 | WC | TBA
50 | GILMAN, VILLAGE OF | 4752-02 | Rehab Collection System; Reduce I/I | 350000 | NO | Andruczyk
50 | GLIDDEN SD | 4577-05 | Replace Sanitary Sewer - STH 13 | 1411100 | NO | Andruczyk
50 | GRAFTON, VILLAGE OF | 4454-20 | Upgrade 9th Ave Lift Station, Interceptor, Forcemain | 2800000 | SE | Binder
50 | GRAND VIEW SD #1 | 5294-03 | Rehab Collection System | 1000000 | NO | Andruczyk
50 | GRATIOT, VILLAGE OF | 4359-09 | Replace SS - Noble, Cole, & Gratiot Street | 1685000 | SC | Zettl
50 | GREEN BAY MSD | 4198-80 | Relay Ninth Street Interceptor (Manhole NSI-045 to Manhole NSI-031) | 5242000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-74 | Rehab East Bayshore & Old Plank Lift Stations | 6200000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-79 | Rehab West Fox River Interceptor | 13100000 | NE | Hannes | Yes
50 | GREEN BAY MSD | 4198-70 | Upgrade East River Lift Station & Force Main | 14352925 | NE | Hannes | Yes
50 | GRESHAM, VILLAGE OF | 5501-06 | Replace Sanitary Sewer - Bartelt St & Park St | 700000 | NE | Hannes
50 | HAWKINS, VILLAGE OF | 4573-06 | Replace Lift Station | 750000 | NO | Andruczyk
50 | HAWKINS, VILLAGE OF | 4573-07 | Replace Sanitary Sewers on Birch Ave and Chestnut Ave | 600000 | NO | Andruczyk
50 | HAZEL GREEN, VILLAGE OF | 4421-04 | Replace Sanitary Sewer - Oak, Elm, and Maple St | 2310000 | SC | Zettl
50 | HEART OF THE VALLEY MSD | 4380-11 | Rehabilitate Interceptor | 1500000 | NE | Hannes | Yes
50 | HIGHLAND, VILLAGE OF | 4390-05 | Replace Sanitary Sewers - Isabell Street | 620000 | SC | Zettl
50 | HIGHLAND, VILLAGE OF | 4390-07 | Rehab/Replace Sanitary Sewer & Manholes | 500000 | SC | Zettl
50 | HILLSBORO, CITY OF | 4549-06 | Rehab Collection System; Reduce I/I | 500000 | WC | TBA
50 | HUDSON, CITY OF | 4112-14 | Construct New WWTP Satellite System | 30000000 | WC | TBA
50 | HUDSON, CITY OF | 4112-15 | Upsize South and Southeast Sanitary Sewer | 3500000 | WC | TBA
50 | IRON RIDGE, VILLAGE OF | 4727-13 | Reconstruct Park Street - Replace Sanitary Sewers | 400000 | SC | Zettl
50 | JACOBS, TOWN OF | 5693-01 | Replace/Upgrade Sanitary Sewer Utilities on STH 13 | 2363365 | NO | Andruczyk
50 | JEFFERSON, CITY OF | 4510-18 | Upgrade Lift Stations | 2700000 | SC | Zettl
50 | JEFFERSON, CITY OF | 4510-19 | Construct New Forcemain - Between Existing WWTP & New WWTP | 16000000 | SC | Zettl
50 | JUNCTION CITY, VILLAGE OF | 4588-05 | Line Sanitary Sewers; Reroute Section of Sewer | 797800 | WC | Andruczyk
50 | KEWASKUM, VILLAGE OF | 4396-09 | Improve Knights Ave Lift Station | 925000 | SE | Binder
50 | KEWAUNEE, CITY OF | 4462-08 | Replace Sanitary Sewer - Dodge St | 1500000 | NE | Hannes
50 | KEWAUNEE, CITY OF | 4462-10 | Replace Sanitary Sewer - Main Street | 320000 | NE | Hannes
50 | KIELER SD #1 | 4394-05 | Replace/Rehab Sanitary Sewers along County Highway HHH | 550000 | SC | Zettl
50 | KRAKOW SD #1 | 4445-04 | Replace Lift Station | 1625000 | NE | Hannes
50 | KRAKOW SD #1 | 4445-05 | Replace Lift Station #3 | 875000 | NE | Hannes
50 | KRONENWETTER, VILLAGE OF | 5695-01 | Abandon Lift Station #3 - Upgrade Lift Station #1 | 1143000 | WC | Andruczyk
50 | LA CROSSE, CITY OF | 4105-07 | Construct New Parallel Isle La Plume Siphon and Line Existing One | 5161000 | WC | TBA | Yes
50 | LA CROSSE, CITY OF | 4105-08 | Upgrade Hagar and Pammel Lift Stations | 2170625 | WC | TBA | Yes
50 | LA FARGE, VILLAGE OF | 5324-08 | Replace Sanitary Sewer - Penn St, Highland St, Oak St, Pine St | 1500000 | WC | TBA
50 | LA FARGE, VILLAGE OF | 5324-09 | Replace Sanitary Sewer - Adams St | 850000 | WC | TBA
50 | LA POINTE, TOWN OF | 5667-01 | Relocate RV Disposal Station & Connect to Madeline SD Sewer | 500000 | NO | Andruczyk
50 | LADYSMITH, CITY OF | 4574-20 | Replace Sanitary Sewer on Miner Avenue W and E 6th Street | 4376715 | NO | Andruczyk
50 | LADYSMITH, CITY OF | 4574-19 | Replace Sanitary Sewer - Corbett Ave, E 4th St to E 6th St | 951548 | NO | Andruczyk
50 | LADYSMITH, CITY OF | 4574-14 | Replace Sanitary Sewer - Lindoo Ave | 1096770 | NO | Andruczyk
50 | LAKE DELTON, VILLAGE OF | 5036-14 | Upgrade PS #10 & New Collection System | 850000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-15 | Upgrade Pump Station #2 | 700000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-12 | Upgrade/Replace Pump Stations #12, 13, & 15 | 1000000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-08 | Upgrade Pump Station #3 | 1000000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-22 | Replace Lift Station #3 | 2500000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-23 | Upgrade Lift Station 3 | 1500000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-24 | Upgrade Lift Station 3 Collection System | 2000000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-25 | Upgrade Lift Station 14 | 2000000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-26 | Upgrade Lift Stations 1 and 7 | 1500000 | SC | Zettl
50 | LAKE DELTON, VILLAGE OF | 5036-27 | Upgrade Lift Station 7 | 2000000 | SC | Zettl
50 | LAKE GENEVA, CITY OF | 5613-03 | Reconstruct SS Relay w/Reconstruction of Main Street (STH 50) | 500000 | SE | Binder
50 | LAKE GENEVA, CITY OF | 5613-02 | Upgrade Lift Station/Force Main - SE area | 4000000 | SE | Binder
50 | LAONA SD #1 | 4073-03 | Replace Sanitary Sewers along USH 8 | 300000 | NO | Andruczyk
50 | LINCOLN COUNTY | 5692-01 | Pretreat or Treat Landfill Leachate to Remove PFAS (EC2) | 8000000 | NO | Andruczyk | Yes
50 | LODI, CITY OF | 4461-04 | Replace Sanitary Sewer - Fair Street | 1520000 | SC | Zettl
50 | LODI, CITY OF | 4461-06 | Replace Sewer Main on HWY 60 | 1500000 | SC | Zettl
50 | LODI, CITY OF | 4461-08 | Construct New Interceptor, Force Main and Outfall for New WWTF | 15000000 | SC | Zettl
50 | LOMIRA, VILLAGE OF | 4349-07 | Replace Sanitary Sewer on Church St | 2383900 | SC | Zettl
50 | LONE ROCK, VILLAGE OF | 4534-06 | Replace Lift Station #2 | 700000 | SC | Zettl
50 | MADISON MSD | 4010-66 | Rehab Northeast Interceptor - Truax Extension | 10200000 | SC | Zettl | Yes
50 | MADISON MSD | 4010-93 | West Interceptor Rehabilitation - Babcock Hall to Dayton Street | 1875000 | SC | Zettl | Yes
50 | MADISON MSD | 4010-92 | West Interceptor Rehabilitation - Farley Avenue to Marshall Court | 1055000 | SC | Zettl | Yes
50 | MAPLE BLUFF, VILLAGE OF | 5642-01 | Upgrade Marina Pump Station | 600000 | SC | Zettl
50 | MAPLEWOOD SD | 5099-03 | Rehab Collection System | 2130000 | NE | Hannes
50 | MARATHON COUNTY | 5668-01 | Construct On-Site Leachate RO Treatment System for PFAS (EC2) | 15400000 | WC | Andruczyk | Yes
50 | MARINETTE, CITY OF | 4699-18 | Replace Sanitary Sewer - Several Alleys (EC1) | 770000 | NE | Hannes | Yes
50 | MARINETTE, CITY OF | 4699-19 | Replace Sanitary Sewer - Multiple Locations (EC1) | 3700000 | NE | Hannes | Yes
50 | MARKESAN, CITY OF | 5100-08 | Replace Sanitary Sewer – Grand,W.Caroline,W.Charles,S.Bridge,Millard | 1300000 | NE | Hannes
50 | MARSHALL, VILLAGE OF | 4234-04 | Replace Sanitary Sewer - Various Streets | 500000 | SC | Zettl
50 | MARSHALL, VILLAGE OF | 4234-06 | Rehabilitate Lift Station #1 | 1000000 | SC | Zettl
50 | MARSHALL, VILLAGE OF | 4234-07 | Rehabilitate Lift Station #2 | 1000000 | SC | Zettl
50 | MARSHALL, VILLAGE OF | 4234-08 | Rehabilitate Lift Station #3 | 1000000 | SC | Zettl
50 | MARSHALL, VILLAGE OF | 4234-09 | Replace Lift Stations #2 and #3 | 2000000 | SC | Zettl
50 | MARSHFIELD, CITY OF | 4053-09 | Rehabilitation of Lincoln Avenue Lift Station | 1200000 | WC | TBA
50 | MAUSTON, CITY OF | 4413-12 | Upgrade Lift Stations & SCADA - Phase 2 | 2500000 | WC | TBA
50 | MAYVILLE, CITY OF | 4012-12 | Replace Sanitary Sewer - Muzzy & Allen St | 369055 | SC | Zettl
50 | MAYVILLE, CITY OF | 4012-14 | Replace Sanitary Sewer - Grove St | 246013 | SC | Zettl
50 | MAZOMANIE, VILLAGE OF | 4144-07 | Replace Sanitary Sewer - Crescent Street | 200000 | SC | Zettl
50 | MAZOMANIE, VILLAGE OF | 4144-05 | Upgrade Main Lift Station | 750000 | SC | Zettl
50 | MAZOMANIE, VILLAGE OF | 4144-04 | Replace Sanitary Sewer - State St | 1236000 | SC | Zettl
50 | MEDFORD, CITY OF | 4575-05 | Line Interceptor along Black River with CIPP | 550000 | NO | Andruczyk
50 | MEDFORD, CITY OF | 4575-07 | Improve Industrial Drive Lift Station | 450000 | NO | Andruczyk
50 | MENASHA, CITY OF | 5101-07 | Rehab Sanitary Sewer System - Phase 4-1 | 1600000 | NE | Hannes
50 | MENASHA, CITY OF | 5101-05 | Rehab Sanitary Sewer - Phase 5 | 1800000 | NE | Hannes
50 | MENASHA, CITY OF | 5101-08 | Replace Fox River Crossing and Connecting Interceptor Sewers | 3000000 | NE | Hannes
50 | MENASHA, CITY OF | 5101-09 | Replace Sanitary Sewer - Garfield Ave | 1750000 | NE | Hannes
50 | MENASHA, CITY OF | 5101-11 | Replace Sanitary Sewer - Lakecrest Drive Trunk | 3000000 | NE | Hannes
50 | MENASHA, CITY OF | 5101-10 | Replace Sanitary Sewer - River Walkway | 1750000 | NE | Hannes
50 | MERCER SD #1 | 4302-03 | Upgrade Lift Stations | 4500000 | NO | Andruczyk
50 | MERRILLAN, VILLAGE OF | 4087-05 | Replace Sanitary Sewer - Mill St, Hayden St, Center St | 416537 | WC | TBA
50 | MILWAUKEE MSD | 3324-01 | Upgrade Greenfield Park & Underwood Creek Pump Stations (C03014) | 14000000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3284-01 | Install Oklahoma Avenue MIS Capacity Improvements C03013C01 | 26000000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3289-01 | Rehab Martha Washington/Highlands Area MIS C04005C01 | 6250000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3286-01 | Rehab Franklin Muskego Force Main - C02010C01 | 1800000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3288-01 | Construct Mill Rd Relief Sewer C04010C01 | 90000000 | SE | Binder | Yes
50 | MILWAUKEE MSD | 3282-02 | Basin H MIS Remed and Sewer Rehab - Phase 2 - C05041C04 | 2000000 | SE | Binder | Yes
50 | MINERAL POINT, CITY OF | 4513-13 | Replace Sanitary Sewer - South St and Commerce St | 2247000 | SC | Zettl
50 | MINERAL POINT, CITY OF | 4513-15 | Replace Sanitary Sewer on Commerce St | 1230000 | SC | Zettl
50 | MINERAL POINT, CITY OF | 4513-12 | Rehab Lift Stations | 1500000 | SC | Zettl
50 | MINERAL POINT, CITY OF | 4513-16 | Replace Sanitary Sewer on Doty and Iowa St | 1858000 | SC | Zettl
50 | MISHICOT, VILLAGE OF | 4015-10 | Replace/CIPP Sanitary Sewer - South Rockway Street | 500000 | NE | Hannes
50 | MISHICOT, VILLAGE OF | 4015-11 | Replace/CIPP Sanitary Sewer - South Main Street | 700000 | NE | Hannes
50 | MONTELLO, CITY OF | 4089-04 | Upgrade Mill Street Lift Station | 920000 | NE | Hannes
50 | MONTELLO, CITY OF | 4089-06 | Improve or replace manholes and SS Inter between STH 22 & Mill St. LS | 720000 | NE | Hannes
50 | MUSCODA, VILLAGE OF | 4258-05 | Replace Sanitary Sewer - Iowa St and Elm St | 2310000 | SC | Zettl
50 | NECEDAH, VILLAGE OF | 4212-06 | Upgrade Lift Stations | 1000000 | WC | TBA
50 | NECEDAH, VILLAGE OF | 4212-07 | Rehab STH 80 Sewer | 250000 | WC | TBA
50 | NEKOOSA, CITY OF | 4042-06 | Replace Sanitary Sewer - Fairview Ln | 299947 | WC | TBA
50 | NESHKORO, VILLAGE OF | 4040-03 | Rehab SS - Park, State, Spring & Pearl Streets | 1000000 | NE | Hannes
50 | NESHKORO, VILLAGE OF | 4040-04 | Replace Lift Stations #2 and #3 | 800000 | NE | Hannes
50 | NIAGARA, CITY OF | 4120-07 | Replace Sanitary Sewer and Laterals - Hill Street and Forest Street | 1286773 | NE | Hannes
50 | NIAGARA, CITY OF | 4120-09 | Replace Sanitary Sewer on Mill St | 641108 | NE | Hannes
50 | NORTH BEND SD #1 | 5602-02 | Improvements of Lift Station | 250000 | WC | TBA
50 | NORTH FREEDOM, VILLAGE OF | 4156-05 | Relocate Sanitary Sewer | 500000 | SC | Zettl
50 | NORWALK, VILLAGE OF | 4068-07 | Sewer Replacement on McGary, North, Wisc., Roosevelt, South, Main Sts. | 2960000 | WC | TBA
50 | NORWAY SD #1 | 4082-07 | Lift Station No. 12 and 14 Improvements | 3600000 | SE | Binder
50 | NORWAY SD #1 | 4082-06 | Replace Lift Station 5 | 3300000 | SE | Binder
50 | OAKFIELD, VILLAGE OF | 4148-06 | Replace Sanitary Sewer - CTH Y (Main St) | 750000 | NE | Hannes
50 | OCONTO, CITY OF | 4000-08 | Replace/Rehabilitate Sanitary Sewer- First St, Brazeau Ave, Pecor St | 1052336 | NE | Hannes
50 | OCONTO, CITY OF | 4000-09 | Lift Station Improvements for Backup Power | 425040 | NE | Hannes
50 | OGEMA SD #1 | 4098-05 | Improve Main Lift Station, Force Main, & Metering Vaults | 1104400 | NO | Andruczyk
50 | OGEMA SD #1 | 4098-06 | Improve Collection System | 500000 | NO | Andruczyk
50 | OREGON, VILLAGE OF | 4324-09 | Replace Sanitary Sewer - North Oak St | 1900000 | SC | Zettl
50 | OREGON, VILLAGE OF | 4324-08 | Rehab Lift Station - Richards Rd | 1500000 | SC | Zettl
50 | ORFORDVILLE, VILLAGE OF | 5291-03 | Replace Sanitary Sewers - S Wright St (Olson Dr to Beloit St) | 919000 | SC | Zettl
50 | OSSEO, CITY OF | 4734-09 | Sewer Rehab on West Street and Elevator Street | 520000 | WC | TBA
50 | PESHTIGO, CITY OF | 4122-06 | Rehab Sanitary Sewer - West of Peshtigo River | 1800000 | NE | Hannes
50 | PESHTIGO, CITY OF | 4122-10 | Improve East Drainage District Wastewater Collection System | 1200000 | NE | Hannes
50 | PESHTIGO, CITY OF | 4122-07 | Upgrade Lift Stations at Chicago Ct & Oak St | 1000000 | NE | Hannes
50 | PITTSVILLE, CITY OF | 5135-06 | Rehab/Relay Cat Creek Interceptor Sewer | 997165 | WC | TBA
50 | PLUM CITY, VILLAGE OF | 4426-05 | Maple Street Sanitary Sewer Reconstruction | 665000 | WC | TBA
50 | POPLAR, VILLAGE OF | 4304-04 | Upgrade Collection System & Lift Stations | 1500000 | NO | Andruczyk
50 | PORT EDWARDS, VILLAGE OF | 4135-04 | Replace Sanitary Sewer - 2nd St | 819744 | WC | TBA
50 | POTOSI, VILLAGE OF | 4140-05 | Replace Outfall Pipe | 2800000 | SC | Zettl
50 | POUND, VILLAGE OF | 5259-03 | Reconstruct Colburn Street | 429035 | NE | Hannes
50 | PRAIRIE DU SAC, VILLAGE OF | 4885-05 | Repair Water Street SS Interceptors | 400000 | SC | Zettl
50 | PRINCETON, CITY OF | 4149-06 | Replace Sanitary Sewer - S Clinton St, S Howard St, Howard St, WI St | 737238 | NE | Hannes
50 | PULASKI, VILLAGE OF | 4126-11 | Replace Sanitary Sewer - Lincoln St, W Pulaski St, Memorial Park | 540000 | NE | Hannes
50 | PULASKI, VILLAGE OF | 4126-10 | Replace Sanitary Sewer - Johnson St and W Pulaski St | 800000 | NE | Hannes
50 | RACINE, CITY OF | 4285-30 | Upgrade Lift Station No. 1 - Pumps, Valves, Vacuum Systems | 6500000 | SE | Binder | Yes
50 | RANDOLPH, VILLAGE OF | 5219-08 | Replace SS - 1st St (Randolph to Huron), 2nd St (W. Stroud to Huron) | 4000000 | SC | Zettl
50 | REEDSVILLE, VILLAGE OF | 4512-08 | Replace Sanitary Sewer, Laterals, Manholes - 6th St and USH 10 | 310000 | NE | Hannes
50 | REESEVILLE, VILLAGE OF | 4249-07 | Replace SS - Dewey St, Sharp Ave, Washington St | 1749000 | SC | Zettl
50 | REWEY, VILLAGE OF | 5663-03 | Sewer Replacement/Rehab - C.T.H. 'G' (Reid Street - Lift Station A) | 212000 | SC | Zettl
50 | REWEY, VILLAGE OF | 5663-05 | Replace SS - Welch St and CTH A | 530000 | SC | Zettl
50 | RHINELANDER, CITY OF | 4132-18 | Replace SS - Shepard St & Coolidge Ave (Lincoln St to Timber Dr) | 450000 | NO | Andruczyk
50 | RHINELANDER, CITY OF | 4132-11 | Replace Sanitary on Phillips from (Thayer to Lennox)&(Dave to Pelican) | 1613000 | NO | Andruczyk
50 | RHINELANDER, CITY OF | 4132-15 | Replace Sanitary Sewer - Balsam, Spruce, Birch, Sanns, & Hemlock Strs | 2806900 | NO | Andruczyk
50 | RHINELANDER, CITY OF | 4132-13 | Replace SS - Lincoln, Shepard, Carr, & Newell Strs | 2656000 | NO | Andruczyk
50 | RHINELANDER, CITY OF | 4132-14 | Replace Sanitary Sewer - Highland Area | 5412900 | NO | Andruczyk
50 | RIB LAKE, VILLAGE OF | 4438-07 | Replace Sanitary Sewer - 2nd Street, 3rd Street, and Church Street | 1700000 | NO | Andruczyk
50 | RICE LAKE, CITY OF | 4451-04 | Replace Sanitary Sewer - Phipps Avenue (Allen St to W Messenger St) | 620000 | NO | Andruczyk
50 | RICHLAND CENTER, CITY OF | 4060-11 | Replace Force Main - Alison Park Lift Station | 450000 | SC | Zettl
50 | RICHLAND CENTER, CITY OF | 4060-12 | Rehab Lift Station - West Side | 1000000 | SC | Zettl
50 | RICHLAND CENTER, CITY OF | 4060-13 | Rehab Square Lift Station | 1000000 | SC | Zettl
50 | RIDGEWAY, VILLAGE OF | 4706-08 | Replace Sanitary Sewer - Main St | 1760000 | SC | Zettl
50 | RIDGEWAY, VILLAGE OF | 4706-06 | Replace Sanitary Sewer - Meudt Ct & Richards St | 765850 | SC | Zettl
50 | RIDGEWAY, VILLAGE OF | 4706-09 | Rehab/Replace Sanitary Sewer & Manholes | 500000 | SC | Zettl
50 | RIO, VILLAGE OF | 5421-03 | Replace Sanitary Sewer - Lincoln Avenue | 2452000 | SC | Zettl
50 | RIPON, CITY OF | 4539-09 | Replace Sanitary Sewer - Hamburg Street | 250000 | NE | Hannes
50 | RIPON, CITY OF | 4539-10 | Replace Sanitary Sewer - Griswold Street | 450000 | NE | Hannes
50 | RIPON, CITY OF | 4539-05 | Replace Sanitary Sewer - Pacific St | 1000000 | NE | Hannes
50 | RIPON, CITY OF | 4539-04 | Replace Sanitary Sewer - Houston St | 300000 | NE | Hannes
50 | ROTHSCHILD, VILLAGE OF | 5531-04 | Replace SS - Military Road between Pflieger St & Urban St | 1168550 | WC | Andruczyk
50 | SALEM LAKES, VILLAGE OF | 5596-06 | Yaws Sewer Improvements Project (new grinders) | 800000 | SE | Binder
50 | SALEM LAKES, VILLAGE OF | 5596-05 | Rehabilitate Sanitary LS 201 and 203 | 2500000 | SE | Binder
50 | SAUK CITY, VILLAGE OF | 5696-01 | Repair Water Street SS Interceptors | 400000 | SC | Zettl
50 | SCANDINAVIA, VILLAGE OF | 4711-12 | Replace Sewage Lift Station | 800000 | NE | Hannes
50 | SEXTONVILLE SD | 4064-05 | Replace Ithaca Lift Station and Sanitary Forcemain | 2900000 | SC | Zettl
50 | SHAWANO LAKE SD #1 | 5683-01 | Upgrade/Rehab Lift Stations & Collection System | 1100000 | NE | Hannes
50 | SHEBOYGAN FALLS, CITY OF | 5408-02 | Replace Sanitary Sewer - Fond Du Lac Ave from Main St to Oak St | 872120 | SE | Binder
50 | SHEBOYGAN, CITY OF | 4019-22 | Southside Sanitary Interceptor Sewer System - Phases 1 & 2 | 31715000 | SE | Binder | Yes
50 | SHEBOYGAN, CITY OF | 4019-23 | Replace Lift Station Kentucky Ave - HVAC, Generator System, Electrical | 1700000 | SE | Binder | Yes
50 | SHELL LAKE, CITY OF | 4712-10 | Replace West Lake Drive Lift Station | 850000 | NO | Andruczyk
50 | SHELL LAKE, CITY OF | 4712-11 | Replace SS - Donovan Cove Rd | 700000 | NO | Andruczyk
50 | SHULLSBURG, CITY OF | 4604-10 | Replace Sanitary Sewer - S. Henry, S. Lafayette, & E. Church St | 1663320 | SC | Zettl
50 | SOLON SPRINGS, VILLAGE OF | 4440-03 | Replace SS - E Nelson Ave, S Railroad St, Ash St, & S Beech St | 320000 | NO | Andruczyk
50 | SOUTH WAYNE, VILLAGE OF | 4059-10 | Replace Sanitary Sewer - Prospect, High, & Division St | 2156000 | SC | Zettl
50 | STANLEY, CITY OF | 4507-05 | W. 8th Avenue Forcemain Replacement | 1587000 | WC | TBA
50 | STANLEY, CITY OF | 4507-04 | West Maple St. and South McKnight St. Sanitary Sewer Reconstruction | 1563928 | WC | TBA
50 | STODDARD, VILLAGE OF | 4043-10 | Sewer Replacement on Division Street | 170700 | WC | TBA
50 | STOUGHTON, CITY OF | 4078-26 | Replace SS - Forrest St & Washington St | 251000 | SC | Zettl
50 | STOUGHTON, CITY OF | 4078-24 | Replace SS - Hwy 51 from Page St to Harrison St | 540000 | SC | Zettl
50 | STOUGHTON, CITY OF | 4078-27 | Replace SS - Harrison St from Main St to Jefferson St | 120000 | SC | Zettl
50 | STOUGHTON, CITY OF | 4078-18 | Replace SS - North St from Division St to Forrest St | 150000 | SC | Zettl
50 | STRATFORD, VILLAGE OF | 4622-04 | Replace Sanitary Sewer - Legacy St | 423674 | WC | Andruczyk
50 | STRATFORD, VILLAGE OF | 4622-05 | Replace Sanitary Sewer - Legion St | 382378 | WC | Andruczyk
50 | STRUM, VILLAGE OF | 4528-04 | Replace Collection System on Elm Street from N 5th Ave | 1260000 | WC | TBA
50 | STURGEON BAY, CITY OF | 4027-07 | Rehabilitate Collection System | 700000 | NE | Hannes
50 | SULLIVAN, VILLAGE OF | 4235-02 | Upgrade Lift Station - Palmyra St | 750000 | SC | Zettl
50 | SUPERIOR, CITY OF | 4186-33 | Replace SS - Faxon Interceptor | 900900 | NO | Andruczyk | Yes
50 | TAYLOR, VILLAGE OF | 4715-05 | Repair Sanitary Sewer and Relocate Lift Station Wet Well | 1560000 | WC | TBA
50 | TENNYSON, VILLAGE OF | 4605-06 | Replace WWTP Outfall | 900000 | SC | Zettl
50 | THERESA, VILLAGE OF | 4633-05 | Replace SS - Milwaukee St from Menomonee St to Depot St | 847438 | SC | Zettl
50 | THORP, CITY OF | 4669-12 | Replace SS - Main, Thorp, & Clark Streets | 850000 | WC | TBA
50 | TOMAHAWK, CITY OF | 4051-07 | Replace Sanitary Sewer - Nelson Drive | 300000 | NO | Andruczyk
50 | TOMAHAWK, CITY OF | 4051-08 | Replace Sanitary Sewer - Spirit Avenue | 500000 | NO | Andruczyk
50 | TREMPEALEAU, VILLAGE OF | 4485-10 | 2nd St. Sanitary Sewer Replacement | 870000 | WC | TBA
50 | UPPER ST CROIX LAKE SD | 4460-02 | Upgrade Wastewater Collection System | 541881 | NO | Andruczyk
50 | WALWORTH COUNTY MSD | 4288-11 | Construct Williams Bay No. 2 Force Main | 7000000 | SE | Binder
50 | WALWORTH COUNTY MSD | 4288-16 | Replace Lift Stations - Inspiration Ministries & Pioneer Estates | 3200000 | SE | Binder
50 | WASHBURN, CITY OF | 4187-05 | Replace Sanitary Sewer - STH 13, 8th Ave, 4th St, Washington Ave | 2698850 | NO | Andruczyk
50 | WATERLOO, CITY OF | 4682-07 | Replace Sanitary Sewer - E. Madison St/STH 89 | 1743000 | SC | Zettl
50 | WATERLOO, CITY OF | 4682-08 | Replace Sanitary Sewer - Van Buren St from Knowlton St to Polk St | 572000 | SC | Zettl
50 | WATERTOWN, CITY OF | 4145-04 | Replace Allerman Lift Station Including Forcemain | 4810000 | SC | Zettl | Yes
50 | WAUSAU, CITY OF | 4138-18 | Rehabilitate 32nd Ave Lift Station | 370000 | WC | Andruczyk | Yes
50 | WAUSAU, CITY OF | 4138-19 | Rehabilitate Airport Lift Station | 900000 | WC | Andruczyk | Yes
50 | WAUTOMA, CITY OF | 4205-04 | Replace Sanitary Sewer - Oxford Street (Division to Elm Street) | 610000 | NE | Hannes
50 | WESTBY, CITY OF | 4550-11 | Replace Sanitary Sewer - Prairie, Oak, Melby, Park, West Ave, Central | 2500000 | WC | TBA
50 | WEYERHAEUSER, VILLAGE OF | 5567-04 | Rehab Sanitary Sewer - Alleys 1 to 6 | 978669 | NO | Andruczyk
50 | WHITE RIVER, TOWN OF | 5697-02 | Construct New WWTP - Marengo | 1550000 | NO | Andruczyk
50 | WILSON SD #1 | 5666-02 | Replace Lakeshore Lift Station | 2000000 | SE | Binder
50 | WILSON SD #1 | 5666-03 | Rehab Sanitary Sewer - Indian Mound Rd & Black River | 1500000 | SE | Binder
50 | WISCONSIN DELLS, CITY OF | 4151-10 | Install Utility Building & SCADA System | 4105000 | SC | Zettl
47 | ST. NAZIANZ, VILLAGE OF | 4007-07 | Relocate Existing WWTP Outfall | 5000000 | NE | Hannes
46 | EDGERTON, CITY OF | 4483-18 | Construct Stormwater Pond - Ladd Ln | 1000000 | SC | Zettl
43 | UNITY, VILLAGE OF | 4623-05 | Water Quality Trading - Streambank Erosion BMP | 650000 | WC | Andruczyk
39 | ETTRICK, VILLAGE OF | 4701-05 | Water Quality Trading - Streambank Restoration | 500000 | WC | TBA
36 | CAZENOVIA, VILLAGE OF | 5417-06 | Water Quality Trading - Streambank BMP | 650000 | SC | Zettl
36 | FARMINGTON SD TOWN OF (FORMER MINDORO) | 4506-11 | Water Quality Trading - Streambank Restoration | 500000 | WC | TBA
36 | HAZEL GREEN, VILLAGE OF | 4421-06 | Water Quality Trading - Streambank Stabilization | 200000 | SC | Zettl
36 | HOLLANDALE, VILLAGE OF | 4044-07 | Water Quality Trading - Streambank Erosion BMP | 650000 | SC | Zettl
36 | WAUMANDEE SD #1 | 4670-04 | Water Quality Trading - Streambank Restoration | 100000 | WC | TBA
35 | BUFFALO CITY, CITY OF | 4671-01 | Construct New Wastewater Collection System | 15000000 | WC | TBA
35 | ONTARIO, VILLAGE OF | 4423-04 | Water Quality Trading - Streambank Restoration | 500000 | WC | TBA
35 | WHITE RIVER, TOWN OF | 5697-01 | Construct New Collection System - SS & Lift Station | 1500000 | NO | Andruczyk
34 | TAYLOR, VILLAGE OF | 4715-08 | Water Quality Trading - Streambank Stabilization | 500000 | WC | TBA
32 | DALLAS, VILLAGE OF | 4110-09 | Water Quality Trading - Streambank Stabilization | 700000 | NO | TBA
32 | PRAIRIE DU CHIEN, CITY OF | 4174-11 | Water Quality Trading - Streambank Stabilization | 2180000 | WC | Zettl
31 | CASSVILLE, VILLAGE OF | 4095-17 | Water Quality Trading - Streambank Stabilization | 670000 | SC | Zettl
30 | ARGYLE, VILLAGE OF | 4090-06 | Water Quality Trading - Streambank Restoration | 500000 | SC | Zettl
30 | BOAZ, VILLAGE OF | 4065-05 | Water Quality Trading - Streambank Restoration | 750000 | SC | Zettl
30 | GRATIOT, VILLAGE OF | 4359-10 | Water Quality Trading - Streambank Stabilization | 225000 | SC | Zettl
30 | GREEN LAKE SD | 4370-03 | Sanitary Sewer Extension - Area 9 | 2591242 | NE | Hannes
29 | GAYS MILLS, VILLAGE OF | 4172-11 | Water Quality Trading - Streambank Stabilization | 500000 | WC | Zettl
25 | AVOCA, VILLAGE OF | 4152-07 | Extend Sanitary Sewer - Clyde Street | 878000 | SC | Zettl
25 | DARLINGTON, CITY OF | 4366-09 | Sewer Extension for New Municipal Well | 3070000 | SC | Zettl
25 | LAKE DELTON, VILLAGE OF | 5036-28 | Extend Sanitary Sewer - County Highway A | 750000 | SC | Zettl
25 | LAKE DELTON, VILLAGE OF | 5036-29 | Extend Sanitary Sewer - Xanadu Rd | 1000000 | SC | Zettl
25 | LAKE DELTON, VILLAGE OF | 5036-30 | Extend Sanitary Sewer - Clara Ave & Trout Rd | 1000000 | SC | Zettl
25 | MILWAUKEE MSD | 3335-01 | Extend Oak Creek SW MIS - C02013C01 | 55000000 | SE | Binder | Yes
25 | MILWAUKEE MSD | 3341-01 | Kinnickinnic River Naturalization – Jackson Park | 50000000 | SE | Binder | Yes
25 | OGEMA SD #1 | 4098-03 | Sanitary Sewer Extension | 150000 | NO | Andruczyk
25 | PITTSFIELD, TOWN OF | 4509-02 | Replace SS - CTH C to Anston Rd | 1450000 | NE | Hannes
25 | RAYMOND, VILLAGE OF | 5665-01 | Construct New SS Along I-94 - Interceptor Phase 1 | 14000000 | SE | Binder
25 | RICHLAND CENTER, CITY OF | 4060-09 | Install Lift Station - East Side | 1000000 | SC | Zettl
25 | RICHLAND CENTER, CITY OF | 4060-10 | Install Gravity Sewer East Side | 1800000 | SC | Zettl
1 If the municipality submits an application for funding, 2% of the municipality's principal forgiveness (PF) points will be added to the PERF Score to take into account financial need.
These additional points will be reflected on the funding list.
2 Any municipality with a population of 20,000 or greater will have all of its projects designated as federal equivalency in State Fiscal Year 2027.
In addition, all emerging contaminants projects must comply with equivalency requirements, regardless of population size.
Visit https://dnr.wisconsin.gov/aid/federalEquivalency for information on federal equivalency requirements.
Emerging Contaminants Project Types
EC1 = Sanitary Sewer Rehab to Reduce I/I of PFAS Contaminated Groundwater or Stormwater
EC2 = Landfill Leachate Treatment for PFAS
Pilot Projects
| Municipality | Project Number | Project Description | Est. Project Costs | Region | CME
| MILWAUKEE MSD | 3342-01 | Pilot – Green Infrastructure – Phase 2 | 12000000 | SE | Binder

## Undetermined Projects
Eligibility Undetermined - Refer to the comments within the PERF for an explanation.
Municipality | Project Number | Project Description | Est. Project Costs | Region | CME
CHELSEA SD | 4291U06 | Undetermined - Water Quality Trading | 865000 | NO | Andruczyk
CLARK COUNTY | 4167U02 | Undetermined - Construct FM & Lift Station to Regionalize with Owens | 1460000 | WC | TBA
CLEVELAND, VILLAGE OF | 4385U02 | Undetermined - Treatment at Wells to Remove Arsenic -WPDES compliance | 2800000 | NE | Hannes
GILMAN, VILLAGE OF | 4752U06 | Undetermined - Water Quality Trading | 700000 | NO | Andruczyk
LAKE DELTON, VILLAGE OF | 5036U31 | Undetermined - Extend Sanitary Sewer South of I-39 to Municipal Airport | 1000000 | SC | Zettl
ST. JOSEPH SD #1 | 4954U04 | Undetermined - Water Quality Trading | 650000 | WC | TBA
WALWORTH COUNTY MSD | 4288U17 | Undetermined - Replace/Rehab HVAC Systems at Lift Stations | 5000000 | SE | Binder

## Ineligible Projects
Ineligible - Refer to the comments within the PERF for an explanation.
Municipality | Project Number | Project Description | Est. Project Costs | Region | CME
BRODHEAD, CITY OF | 4141I11 | Ineligible - Upgrade Sanitary Sewer - W 3rd Ave & 13th St | 1869702 | SC | Zettl
STITZER SD | 5561I04 | Ineligible WQT - WWTF Improvements | 1800000 | SC | Zettl