## Initial LOD
Use this form if: |  | a new method is implemented.
a significant change has occurred and an initial LOD must be performed again.
the spiked blank concentration is changed.
Initial LOD/LOQ Calculation and Validation Worksheet (Single Instrument) [Version 6/30/23]
Facility:
Analytical Method: |  |  |  |  | Calculation Date:
Matrix: |  | Wastewater |  |  | Calculation Analyst:
Spiked Blanks |  |  |  |  | Yes | Method Blanks
| Date Prepped | Date Analyzed | Result | % Recovery | No |  | Date Analyzed |  | Result
1 | [5 empty] | 1
2 | [5 empty] | 2
3 | [5 empty] | 3
4 | [5 empty] | 4
5 | [5 empty] | 5 |  |  |  | 0
6 | [5 empty] | 6
7 | [5 empty] | 7
8 | [5 empty] | 8
Spike Level: |  |  |  | mg/L |  |  |  | All text | 0
Average: | [5 empty] | Average:
Standard Deviation: | [5 empty] | Standard Deviation:
Student's t-value to use: |  |  |  | 0 |  | Student's t-value to use: |  |  |  | 0
Calculated LODs: |  |  | <7 Spk Blks | mg/L |  | Calculated LODb: |  |  | <7 MBs | mg/L
|  |  | Calculated LOD: |  | NA | mg/L | (calculated from the greater of LODs and LODb)
|  |  | Calculated LOQ*: |  | NA | mg/L | ( = 10/3 x LOD)
0 | 0 |  |  |  |  | 0
Were outliers rejected? |  |  | (only obvious failures may be excluded)
If so, explain:
NOTES:
Only use data associated with passing calibrations and passing batch QC (reported data).
*The 2019 NR 149 code requires the LOQ be 10/3 the LOD or at the concentration of the lowest standard in the initial calibration.
LAB NOTES:
LOD Checks
OPTIONAL CHECK - not required Low Spike Check - Did you spike too low? - - LOD < Spike Concentration - |  |  | LOD | [spike] |  |  |  | If fails, you should spike at a higher concentration | Variability is too high, so the standard deviation is too close to the LOD
|  |  | NA | 0
OPTIONAL CHECK - not required High Spike Check - Did you spike too high? - - Spike Concentration < 10 x LOD - |  |  | [Spike] | LOD x 10 |  |  |  | If fails, you should spike at a lower concentration | LOD is unrealistically low
|  |  | 0 | NA
Regulatory Limit Check - LOD < Permit Limit? - |  |  | LOD | Permit Limit | Enter permit limit |  |  | If fails, the method must be optimized to be able to meet permit or regulatory limits
NA
OPTIONAL CHECK - not required - Is average recovery reasonable? - |  |  | Lower Limit | Upper Limit |  |  |  | General guidelines, don't need to re-run study if outside limits
|  |  | 80% | 120%

## Ongoing Year 1 (Initial+Year1)
Ongoing LOD/LOQ Calculation and Verification Worksheet (Single Instrument) [Version 8/21/23] | [10 empty] | Yes | Method Blank Data |  | Include method blank data generated within the last 2 years (but no more than 2 years). The lab has the option to use only the last 6 months or the 50 most recent method blanks, whichever yeilds the greater number of blanks.
Facility: | [10 empty] | No | Date | Result
Analytical Method: |  |  |  |  | Calculation Date (Annual LOD): | [5 empty] | No
Matrix: |  | Wastewater |  |  | Calculation by Analyst: | [5 empty] | No
| 0 | 0
Spiked Blanks (include all LOD data generated within the last 2 years) | [5 empty] | Method Blanks (see data to the right) |  |  |  |  | Standard Deviation
| Date Prepped | Date Analyzed | Result | % Recovery |  | About how often do you normally run this method?
Initial LOD 1 | [5 empty] | Select:
Initial LOD 2 | [13 empty] | (this spreadsheet can calculate up to 220 method blanks)
Initial LOD 3 | [9 empty] | 0
Initial LOD 4 | [5 empty] | Enter the method blank data in the columns to the right.
Initial LOD 5 | [5 empty] | if 1/month | 6/6 mo | 12/year | 24/2year | 2 years
Initial LOD 6 | [5 empty] | if 2/month | 12/6 mo | 24/year | 48/2year | 2 years |  |  |  | <1/month
Initial LOD 7 | [5 empty] | if 1/week | 26/6 mo | 52/year | 104/2year | 50 most recent |  |  |  | 1/month
Initial LOD 8 | [5 empty] | if 2/week | 52/6 mo | 104/year | 208/2year | last 6 months |  |  |  | 2/month
Q1 A | [5 empty] | if 3/week | 78/6 mo | 156/year | 312/2year | last 6 months |  |  |  | 1/week
Q1 B | [5 empty] | if 4/week | 104/6 mo | 208/year | >400/2 year | last 6 months |  |  |  | 2/week
Q2 A | [5 empty] | if 5/week | 130/6 mo | 260/year | >500/2year | last 6 months |  |  |  | 3/week
Q2 B | [5 empty] | Number of method blanks entered: |  |  | 0 |  |  |  |  | 4/week
Q3 A | [13 empty] | daily (5/week)
Q3 B | [5 empty] | LODb if standard deviation is used: |  |  | #DIV/0! | mg/L
Q4 A | [5 empty] | LODb if 99th percentile is used: |  |  | NA | mg/L
Q4 B | [5 empty] | (can only use 99th Percentile if more than 100 method blanks)
Spike Level (same as initial): |  |  | 0 | mg/L |  | Select which option to use: |  |  | Standard Deviation
Average: |  |  | #DIV/0! | #DIV/0! |  | Average: |  |  | #DIV/0!
Standard Deviation: |  |  | #DIV/0! |  |  | Standard Deviation: |  |  | #DIV/0!
Student's t-value to use: |  |  | #NUM! | 0 |  | Student's t-value : |  |  | #NUM!
Calculated LODs: |  |  | <7 Spk Blks | mg/L |  | Calculated LODb: |  |  | <7 MBs | mg/L
0
|  |  | Calculated LOD: |  | NA | mg/L | (calculated from the greater of LODs and LODb)
| 0 | 0 | Calculated LOQ*: |  | NA | mg/L | ( = 10/3 x LOD)
[7 empty] | #VALUE! | #VALUE! | #VALUE!
0 | 0 | NA | Existing LOD: |  |  | mg/L | 0 | 0 | #DIV/0! | #DIV/0!
| Can the existing LOD be left unchanged? | [5 empty] | Enter exisiting LOD.
Is spike level okay (<5% spiked blanks <0)?
Were outliers rejected? |  |  | (only gross failures may be excluded)
If so, explain:
NOTES:
Recalculate LODs and LODb at least every 13 months.
Include spiked blank data generated within the last 2 years as long as the data all used the same spike level (if the initial LOD results are within 2 years of the recalculation date, use the tab "Ongoing LOD (2nd year)")
If the lab thinks the sensitivity of the method has changed significantly, then the most recent data may be used (min. of 7 reps, 3 batches, over 3 days).
Include method blank data generated within the last 2 years (but no more than 2 years). The lab has the option to use only the last 6 months or the 50 most recent method blanks, whichever yeilds the greater number of blanks. ALL SPREADSHEET LINES DO NOT HAVE TO BE FILLED IN.
The existing LOD can be left unchanged if the calculated LOD is within 0.5 - 2 times the existing LOD AND less than 3% of the method blanks are greater than the existing LOD.
If sample analysis is not performed often for a given test, only quarters with actual sample analysis (do not include PT samples) need to have the spiked blanks analyzed. Take the last 24 months of data to generate the LOD.
If the method is altered in a way that could be expected to change its sensitivity, then re-determine the initial LOD and restart the ongoing data collection.
Only use data associated with passing calibrations and passing batch QC (reported data).
*The 2019 NR 149 code requires the LOQ be 10/3 the LOD or at the concentration of the lowest standard in the initial calibration.

## Ongoing Year 2 (and beyond)
Ongoing LOD/LOQ Calculation and Verification Worksheet (Single Instrument) [Version 8/21/23] | [10 empty] | Yes | Method Blank Data |  | Include method blank data generated within the last 2 years (but no more than 2 years). The lab has the option to use only the last 6 months or the 50 most recent method blanks, whichever yeilds the greater number of blanks.
Facility: | [10 empty] | No | Date | Result
Analytical Method: |  |  |  |  | Calculation Date (Annual LOD): | [5 empty] | No
Matrix: |  | Wastewater |  |  | Calculation by Analyst: | [5 empty] | No
| 0 | 0
Spiked Blanks (include all LOD data generated within the last 2 years) | [5 empty] | Method Blanks (see data to the right) |  |  |  |  | Standard Deviation
| Date Prepped | Date Analyzed | Result | % Recovery |  | About how often do you normally run this method?
Q1 A | [5 empty] | Select:
Q1 B | [13 empty] | (this spreadsheet can calculate up to 220 method blanks)
Q2 A | [9 empty] | 0
Q2 B | [5 empty] | Enter the method blank data in the columns to the right. | [7 empty] | 4/week
Q3 A | [5 empty] | if 1/month | 6/6 mo | 12/year | 24/2year | 2 years
Q3 B | [5 empty] | if 2/month | 12/6 mo | 24/year | 48/2year | 2 years |  |  |  | <1/month
Q4 A | [5 empty] | if 1/week | 26/6 mo | 52/year | 104/2year | 50 most recent |  |  |  | 1/month
Q4 B | [5 empty] | if 2/week | 52/6 mo | 104/year | 208/2year | last 6 months |  |  |  | 2/month
Q1 A | [5 empty] | if 3/week | 78/6 mo | 156/year | 312/2year | last 6 months |  |  |  | 1/week
Q1 B | [5 empty] | if 4/week | 104/6 mo | 208/year | >400/2 year | last 6 months |  |  |  | 2/week
Q2 A | [5 empty] | if 5/week | 130/6 mo | 260/year | >500/2year | last 6 months |  |  |  | 3/week
Q2 B | [5 empty] | Number of method blanks entered: |  |  | 0 |  |  |  |  | 4/week
Q3 A | [13 empty] | daily (5/week)
Q3 B | [5 empty] | LODb if standard deviation is used: |  |  | #DIV/0! | mg/L
Q4 A | [5 empty] | LODb if 99th percentile is used: |  |  | NA | mg/L
Q4 B | [5 empty] | (can only use 99th Percentile if more than 100 method blanks)
Spike Level (same as initial): |  |  | 0 | mg/L |  | Select which option to use: |  |  | Standard Deviation
Average: |  |  | #DIV/0! | #DIV/0! |  | Average: |  |  | #DIV/0!
Standard Deviation: |  |  | #DIV/0! |  |  | Standard Deviation: |  |  | #DIV/0!
Student's t-value to use: |  |  | #NUM! | 0 |  | Student's t-value : |  |  | #NUM!
Calculated LODs: |  |  | <7 Spk Blks | mg/L |  | Calculated LODb: |  |  | <7 MBs | mg/L
0
|  |  | Calculated LOD: |  | NA | mg/L | (calculated from the greater of LODs and LODb)
| 0 | 0 | Calculated LOQ*: |  | NA | mg/L | ( = 10/3 x LOD)
[7 empty] | 0 | 0 | NO
0 | 0 | NA | Existing LOD: |  |  | mg/L | 0 | 0 | #DIV/0! | #DIV/0!
| Can the existing LOD be left unchanged? | [5 empty] | Enter exisiting LOD.
Is spike level okay (<5% spiked blanks <0)?
Were outliers rejected? |  |  | (only gross failures may be excluded)
If so, explain:
NOTES:
Recalculate LODs and LODb at least every 13 months.
Include spiked blank data generated within the last 2 years as long as the data all used the same spike level (if the initial LOD results are within 2 years of the recalculation date, use the tab "Ongoing LOD (2nd year)")
If the lab thinks the sensitivity of the method has changed significantly, then the most recent data may be used (min. of 7 reps, 3 batches, over 3 days).
Include method blank data generated within the last 2 years (but no more than 2 years). The lab has the option to use only the last 6 months or the 50 most recent method blanks, whichever yeilds the greater number of blanks. ALL SPREADSHEET LINES DO NOT HAVE TO BE FILLED IN.
The existing LOD can be left unchanged if the calculated LOD is within 0.5 - 2 times the existing LOD AND less than 3% of the method blanks are greater than the existing LOD.
If sample analysis is not performed often for a given test, only quarters with actual sample analysis (do not include PT samples) need to have the spiked blanks analyzed. Take the last 24 months of data to generate the LOD.
If the method is altered in a way that could be expected to change its sensitivity, then re-determine the initial LOD and restart the ongoing data collection.
Only use data associated with passing calibrations and passing batch QC (reported data).
*The 2019 NR 149 code requires the LOQ be 10/3 the LOD or at the concentration of the lowest standard in the initial calibration.

## NOTES
Ongoing LOD/LOQ Calculation and Verification Worksheet (Single Instrument) [Version 6/30/23] | [10 empty] | Yes | Method Blank Data |  | (this spreadsheet can calculate up to 220 method blanks)
Facility: |  | 0 | [8 empty] | No | Date | Result
Analytical Method: |  | 0 |  |  | Calculation Date: |  |  | 2019-02-21 |  |  | No
Matrix: |  | Wastewater |  |  | Calculation by Analyst: |  |  | ARF |  |  | No
| 8 | 8 | [8 empty] | 99th Percentile |  |  | <1/month
Spiked Blanks (include all data generated within the last 2 years) | [5 empty] | Method Blanks (see data to the right) |  |  |  |  | Standard Deviation |  |  | 1/month
| Date Prepped | Date Analyzed | Result | % Recovery |  | About how often do you normally run this method? | [7 empty] | 2/month
Initial LOD 1 | [5 empty] | Select: | 4/week | [6 empty] | 1/week
Initial LOD 2 | [5 empty] | Use at least the last 6 months of method blanks. | [7 empty] | 2/week
Initial LOD 3 | [13 empty] | 3/week
Initial LOD 4 | [5 empty] | Enter the method blank data in the columns to the right. | [5 empty] | 2017-12-22 | 0.0777 | 4/week
Initial LOD 5 | [11 empty] | 2017-12-29 | 0.081 | daily (5/week)
Initial LOD 6 | [5 empty] | if 1/month | 6/6 mo | 12/year | 24/2year | 2 years |  | 2018-01-06 | 0.069
Initial LOD 7 | [5 empty] | if 2/month | 12/6 mo | 24/year | 48/2year | 2 years |  | 2018-01-13 | 0.08
Initial LOD 8 | [5 empty] | if 1/week | 26/6 mo | 52/year | 104/2year | 50 most recent |  | 2018-01-20 | 0.099
Q1 A | 2019-01-06 | 2019-01-06 | 0.991 | 99.1% | [7 empty] | 2018-03-24 | 0.0497
Q1 B | 2019-01-07 | 2019-01-07 | 0.997 | 99.7% | [7 empty] | 2018-03-31 | 0.0791
Q2 A | 2019-04-02 | 2019-04-02 | 0.877 | 87.7% | [7 empty] | 2018-04-07 | 0.096
Q2 B | 2019-04-08 | 2019-04-08 | 0.951 | 95.1% |  | Number of method blanks entered: |  |  | 105 |  |  | 2018-04-14 | 0.0777
Q3 A | 2019-07-04 | 2019-07-04 | 0.967 | 96.7% | [7 empty] | 2018-04-21 | 0.081
Q3 B | 2019-07-11 | 2019-07-11 | 1.002 | 100.2% |  | LODb if standard deviation is used: |  |  | 0.11308 | mg/L |  | 2018-04-28 | 0.069
Q4 A | 2019-10-02 | 2019-10-02 | 1.006 | 100.6% |  | LODb if 99th percentile is used: |  |  | 0.099 | mg/L |  | 2018-05-05 | 0.08
Q4 B | 2019-10-05 | 2019-10-05 | 0.995 | 99.5% |  | (can only use 99th Percentile if more than 100 method blanks) | [5 empty] | 2018-05-12 | 0.099
[12 empty] | 2018-05-19 | 0.0497
Spike Level (same as initial): |  |  | 1 | mg/L |  | Select which option to use: |  |  | Standard Deviation |  |  | 2018-05-26 | 0.0791
Average: |  |  | 0.97325 | 97.33% |  | Average: |  |  | 0.07962 |  |  | 2018-06-02 | 0.096
Standard Deviation: |  |  | 0.043177 |  |  | Standard Deviation: |  |  | 0.01416 |  |  | 2018-06-09 | 0.0777
Student's t-value to use: |  |  | 2.998 | 8 |  | Student's t-value : |  |  | 2.363 |  |  | 2018-06-16 | 0.081
Calculated LODs: |  |  | 0.12944 | mg/L |  | Calculated LODb: |  |  | 0.11308 | mg/L |  | 2018-06-23 | 0.069
[12 empty] | 2018-06-30 | 0.08
|  |  | Calculated LOD: |  | 0.12944 | mg/L | (calculated from the greater of LODs and LODb) |  |  |  |  | 2018-07-07 | 0.099
|  |  | Calculated LOQ*: |  | 0.43148 | mg/L | ( = 10/3 x LOD) |  |  |  |  | 2018-07-14 | 0.0497
[7 empty] | #VALUE! | #VALUE! | #VALUE! |  |  | 2018-07-21 | 0.0791
8 | 0 | 0% | Existing LOD: |  |  | mg/L | 105 | 0 | 0% | YES |  | 2018-07-28 | 0.096
| Can the existing LOD be left unchanged? | [5 empty] | Enter exisiting LOD. |  |  |  |  | 2018-08-04 | 0.0777
|  |  |  | Is spike level okay (<5% spiked blanks <0)? | YES | [6 empty] | 2018-08-11 | 0.081
[12 empty] | 2018-08-18 | 0.069
Were outliers rejected? |  | Yes | (only gross failures may be excluded) | [8 empty] | 2018-08-25 | 0.08
If so, explain: | [11 empty] | 2018-09-01 | 0.099
[12 empty] | 2018-09-08 | 0.0497
NOTES: | [11 empty] | 2018-09-15 | 0.0791
Recalculate LODs and LODb at least every 13 months. | [11 empty] | 2018-09-22 | 0.096
Include spiked blank data generated within the last 2 years as long as the data all used the same spike level (include initial results if within 2 years). ALL LINES DO NOT HAVE TO BE FILLED IN. | [11 empty] | 2018-09-29 | 0.0777
[12 empty] | 2018-10-06 | 0.081
If the lab thinks the sensitivity of the method has changed significantly, then the most recent data may be used (min. of 7 reps, 3 batches, over 3 days). | [11 empty] | 2018-10-13 | 0.069
Include method blank data generated within the last 2 years. The lab has the option to use only the last 6 months or the 50 most recent method blanks, whichever yeilds the greater number of blanks. | [11 empty] | 2018-10-20 | 0.08
[12 empty] | 2018-10-27 | 0.099
The existing LOD can be left unchanged if the calculated LOD is within 0.5 - 2 times the existing LOD AND less than 3% of the method blanks are greater than the existing LOD. | [11 empty] | 2018-11-03 | 0.0497
[12 empty] | 2018-11-10 | 0.0791
If sample analysis is not performed often for a given test, only quarters with actual sample analysis (do not include PT samples) need to have the spiked blanks analyzed. Take the last 24 months of data to generate the LOD. | [11 empty] | 2018-11-17 | 0.096
[12 empty] | 2018-11-24 | 0.0777
If the method is altered in a way that could be expected to change its sensitivity, then re-determine the initial LOD and restart the ongoing data collection. | [11 empty] | 2018-12-01 | 0.081
Only use data associated with passing calibrations and passing batch QC (reported data). | [11 empty] | 2018-12-08 | 0.069
*The 2019 NR 149 code requires the LOQ be 10/3 the LOD or at the concentration of the lowest standard in the initial calibration. | [11 empty] | 2018-12-15 | 0.08
[12 empty] | 2018-12-22 | 0.099
[12 empty] | 2018-12-29 | 0.0497
[12 empty] | 2019-01-05 | 0.0791
[12 empty] | 2019-01-12 | 0.096
[12 empty] | 2019-01-19 | 0.076
[12 empty] | 2019-01-26 | 0.0889
[12 empty] | 2019-02-02 | 0.0921
[12 empty] | 2019-02-09 | 0.0695
[12 empty] | 2019-02-16 | 0.086
0.08
0.099
0.0497
0.0791
0.096
0.0777
0.081
0.069
0.08
0.099
0.0497
0.0791
0.096
0.0777
0.081
0.069
0.08
0.099
0.0497
0.0791
0.096
0.076
0.0889
0.0921
0.0695
0.086
0.08
0.099
0.0497
0.0791
0.096
0.0777
0.081
0.069
0.08
0.099
0.0497
0.0791
0.096
0.0777
0.081
0.069
0.08
0.099
0.0497
0.0791
0.096
0.076
0.0889
0.0921
0.0695
0.086
*The 2019 NR 149 code requires the LOQ be 10/3 the LOD or at the concentration of the lowest standard in the initial calibration.
Fill in the white (or empty) spots as needed.
A spiked blank may be prepped and analyzed the same day.
For the intial LOD, there must be at least three different preparation dates and at least three different analysis dates.
Click on the cell and select either "99th percentile" (if more than 100 method blanks are entered) or "Standard Deviation."
It is up to the lab how they want to populate the method blank data (fill it in with each method blank analyzed, fill it in quarterly, upload from WIMS, etc.).
For the initial LODs only, the message, "repeat at a higher spike concentration," will appear if a result is negative.
Click on the cell and select either "Yes" or "No." If yes, you must explain why the data was rejected.
The lab should idealy use all method blank data from the last 2 years. The lab does have the option to use the 50 most recent or the last 6 months of data--whichever yields more. This box will indicate the minimum to use. Do not use more than 2 years of data.
It is acceptable to have a "NO" in this cell--that just means the new on-going LOD must be used instead of the existing (old) LOD.
The two spiked blanks per quarter must be prepared and analyzed in separate batches.
Only include the Inital LOD data if analyzed within the last 2 years.
A message, "Use only the last 2 years of data," will appear if more than that is entered.
A message, "Only numeric values can be used in this spreadsheet," will appear if any text or symbols are entered for method blanks.

## Rev Record (hidden)
Revision Record
Date | Initials | Changes
2023-06-30 | ARF | Added tab for revision record. Added alert if more than 2 years of method blank data is entered. Added equations to copy all dates from Initial LOD to Ongoing LOD. Updated notes that not all lines need to be filled in and to use 2 years of method blank data. Removed footers and changed header to include info that this is only a guide. Editorial revisions.