## Benchsheet
Oil and Grease, HEM-SPE Bench Sheet [version 6/30/23]
Laboratory: |  |  |  | Method: | EPA 1664 B, February 2010 |  |  |  | Analysis Date:
Instrument method: |  |  |  | Permit Limit: |  |  | mg/L |  | Analyst:
Balance Calibration Check (Before) |  |  | Balance Calibration Check (After) | [5 empty] | QC Item | Limits
0.0020 g (±0.0002 g) | 0.0023 | Pass/Fail | 0.0020 g (±0.0002 g) |  |  | Pass/Fail |  |  | OPR | 78-114% Recovery
1.0000 g (± 0.005 g) | 1.0051 | Pass/Fail | 1.0000 g (± 0.005 g) |  |  | Pass/Fail |  |  | Method Blank | ≤ ML of 5 mg/L
[9 empty] | MS | 78-114% Recovery
Item |  | Code or Lot # |  | Item |  | Code or Lot # | Conc'n (mg/L) |  | MSD or Dup | 18% RPD
Hexane |  |  |  | Stearic Acid-Hexadecane (OPR) |  |  | 40 |  | Max weight | 1000 mg
Methanol |  |  |  | Matrix Spike (MS) Solution |  |  | 40 |  | Reweigh | <4% or 0.5 mg whichever is less
SPE Disks
HCl or H2SO4 |  |  |  | LOD (mg/L) | 2 | LOD calc'n Date |  |  | IPR | 11% (s), 83-101% (X)
Sample ID # or Location | Sample Date | Pan # | pH <2 Verified | Pan Tare Wt. (g) | Gross Pan Wt. (g) | Gross Pan Wt. Re-weigh (g) | If needed, Gross pan Wt. Re-weigh (g) | Net Wt. of HEM (g) | Sample Volume (mL) | HEM (mg/L) | QC Assessment
Blank | NA
OPR | NA
Matrix Spike of:
Comments:
Re-weigh cells will turn red if re-weigh is >4% or 0.5 mg; desiccate again and weigh again.
Net Wt. of HEM cells will turn red max weight is over 1.000 g.
The LOD calculation date will turn red as a warning if it is more than one year past the analysis date. Make sure LODs are calculated every 13 months.

## Rev Record (hidden)
Revision Record
Date | Initials | Changes
2023-06-30 | ARF | Added tab for revision record. Added LOD calculation date. Added IPR limits. Added a column for another re-weigh. Changed equations to allow rounding. Editorial revisions.