| TEMPERATURE LOG [Version 6/30/23] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FREQUENCY: EACH USE |  |  |  |  |  |  |  |  |
| Date | Initials | Sampler 1 (0°C - 6°C) | Sampler 2 (0°C - 6°C) | Sample Refrigerator (0°C - 6°C) | Standard and Reagent Refrigerator (0°C - 6°C) | BOD Incubator (19°C - 21°C) | TSS Oven (103°C - 105°C) | Total Phosphorus Digestion Block (150°C) |
| This form is just one example of how to document equipment temperatures. This form is only a guide, and it is the lab’s responsibility to ensure that requirements are met. Some temperatures may be documented on test benchsheets. If you have any questions on this form, contact the Laboratory Certification and Registration Program. |  |  |  |  |  |  |  |  |